## 4Litho
Bulk rock: 4Litho - Lithium Metaborate/Tetraborate Fusion - ICP and ICP/MS method |  |  |  |  | DL = Detection Limit
On calcite carbonatites, mafic dyke and fluorite-rich samples
Method from Activations Laboratories Ltd.
A combination of packages Code 4B (lithium metaborate/tetraborate fusion ICP whole rock) and Code 4B2 (trace element ICP/MS)Fused sample is diluted and analyzed by Perkin Elmer Sciex ELAN 6000, 6100 or 9000 ICP/MS. Three blanks and five controls (three before sample group and two after) are analyzed per group of samples. Duplicates are fused and analyzed every 15 samples. The instrument is recalibrated every 40 samples.
| Oxide | DL (%)
| Al2O3 | 0.01
| CaO | 0.01
| Fe2O3 | 0.01
| K2O | 0.01
| MgO | 0.01
| MnO | 0.001
| Na2O | 0.01
| P2O5 | 0.01
| SiO2 | 0.01
| TiO2 | 0.001
| Loss on Ignition | 0.01
| Element | DL (ppm) | Upper Limit (ppm) | Reported By
| Ag | 0.5 | 100 | ICP/MS
| As | 5 | 2000 | ICP/MS
| Ba | 2 | 500000 | ICP
| Be | 1 |  | ICP
| Bi | 0.4 | 2000 | ICP/MS
| Ce | 0.1 | 3000 | ICP/MS
| Co | 1 | 1000 | ICP/MS
| Cr | 20 | 10000 | ICP/MS
| Cs | 0.5 | 1000 | ICP/MS
| Cu | 10 | 10000 | ICP/MS
| Dy | 0.1 | 1000 | ICP/MS
| Er | 0.1 | 1000 | ICP/MS
| Eu | 0.05 | 1000 | ICP/MS
| Ga | 1 | 500 | ICP/MS
| Gd | 0.1 | 1000 | ICP/MS
| Ge | 1 | 500 | ICP/MS
| Hf | 0.2 | 1000 | ICP/MS
| Ho | 0.1 | 1000 | ICP/MS
| In | 0.2 | 200 | ICP/MS
| La | 0.1 | 2000 | ICP/MS
| Lu | 0.01 | 1000 | ICP/MS
| Mo | 2 | 100 | ICP/MS
| Nb | 1 | 1000 | ICP/MS
| Nd | 0.1 | 2000 | ICP/MS
| Ni | 20 | 10000 | ICP/MS
| Pb | 5 | 10000 | ICP/MS
| Pr | 0.05 | 1000 | ICP/MS
| Rb | 2 | 1000 | ICP/MS
| Sb | 0.5 | 200 | ICP/MS
| Sc | 1 |  | ICP
| Sm | 0.1 | 1000 | ICP/MS
| Sn | 1 | 1000 | ICP/MS
| Sr | 2 | 10000 | ICP
| Ta | 0.1 | 500 | ICP/MS
| Tb | 0.1 | 1000 | ICP/MS
| Th | 0.1 | 2000 | ICP/MS
| TI | 0.1 | 1000 | ICP/MS
| Tm | 0.05 | 1000 | ICP/MS
| U | 0.1 | 1000 | ICP/MS
| V | 5 | 10000 | ICP
| W | 1 | 5000 | ICP/MS
| Y | 1 | 10000 | ICP
| Yb | 0.1 | 1000 | ICP/MS
| Zn | 30 | 10000 | ICP/MS
| Zr | 2 | 10000 | ICP

## 4F-ISE
Bulk rock: 4F - F - ISE method |  |  |  | DL = Detection Limit
On calciocarbonatites and mafic dyke samples
Method from Activations Laboratories Ltd.
Samples 0.2 g in size are fused with a combination of lithium metaborate and lithium tetraborate in an induction furnace to release the fluoride ions from the sample matrix. The fuseate is dissolved in dilute nitric acid, prior to analysis the solution is complexed and the ionic strength adjusted with an ammonium citrate buffer. The fluoride ion electrode is immersed in this solution to measure the fluoride-ion activity directly. An automated fluoride analyzer from Mandel Scientific is used for the analysis.
| Analysis | Method | DL
| F | FUS-ISE | 0.01%