Table 2: Overview of the limits of quantification (LOQ, µg/100 g) for each vitamer, assuming 1 g of sample material and 0.5 mL of final solvent.

| Aliquota | Injection volumeb | MK-4 | MK-5 | K1 | ß, ϒ-2H-K1 | MK-6 | MK-7 | MK-8 | MK-9 | MK-10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1/3 | 2.5 | 0.12 | 0.18 | 0.18 | 0.10 | 0.30 | 0.12 | 0.18 | 0.24 | 0.42 |
| 1/3 | 5 | 0.060 | 0.090 | 0.090 | 0.090 | 0.15 | 0.060 | 0.090 | 0.120 | 0.21 |
| 1/3 | 10 | 0.030 | 0.045 | 0.045 | 0.045 | 0.075 | 0.030 | 0.045 | 0.060 | 0.11 |
| 2/3 | 2.5 | 0.060 | 0.090 | 0.090 | 0.090 | 0.15 | 0.060 | 0.090 | 0.12 | 0.21 |
| 2/3 | 5 | 0.030 | 0.045 | 0.045 | 0.045 | 0.075 | 0.030 | 0.045 | 0.060 | 0.11 |
| 2/3 | 10 | 0.015 | 0.023 | 0.023 | 0.023 | 0.038 | 0.015 | 0.023 | 0.030 | 0.053 |

a The aliquot refers to the amount of the hexane phase that is transferred, where either 1/3 or 2/3 of the hexane phase is transferred depending on the expected vitamin K content in the sample. 
b The injection volume refers to the quantity of the sample that is injected (µl) by the autosampler into the HPLC-FLD system. Samples are injected with volumes ranging from 1 to 20 µl, depending on the expected concentration of the highest vitamer in the sample. In this study, samples were only injected with volumes ranging from 2.5 to 10 µl. 
Abbreviations: ß, ϒ-2H-K1: beta, gamma-dihydrophylloquinone; HPLC-FLD: high pressure liquid chromatography with fluorescence detector; LOQ: limit of quantification; MK: menaquinone.