*Supplemental Table : List of endoscope procedures with common devices among patients who tested positive for NDM-KP.*

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient | Date of Scope | Date of Positive Culture | Type of scope | Elevator Channel | Scope model | Scope ID | Indication for scope | Source of culture |
| C1 | 02/14/2022 | 03/01/2022 | Gastroscope | N | GIF 1TH190 | A | Pancreatic necrosis | Abdominal Abscess |
| C1 | 03/02/2022 | 03/01/2022 | Duodenoscope | Y | TJF Q180 | B | Pancreatitis | Abdominal Abscess |
| C1 | 08/04/2022 | 03/01/2022 | Gastroscope | N | GIF H190 | C | Pancreatitis | Abdominal Abscess |
| C2 | 03/01/2022 | 03/08/2022 | Gastroscope | N | GIF 1TH190 | A | Pancreatic necrosis | Abdominal Abscess |
| C2 | 03/04/2022 | 03/08/2022 | Gastroscope | N | GIF 1TH190 | A | Pancreatic necrosis | Abdominal Abscess |
| C2 | 03/08/2022 | 03/08/2022 | Gastroscope | N | GIF 1TH190 | A | Pancreatic necrosis | Abdominal Abscess |
| C2 | 03/16/2022 | 03/08/2022 | Gastroscope | N | GIF H190 | C | Pancreatic necrosis | Abdominal Abscess |
| C3 | 03/07/2022 | 03/10/2022 | Duodenoscope | Y | TJF Q180 | B | Pancreatic fistula | Abdominal abscess, Blood |
| S1 | 03/08/2022 | 04/05/2022 | Duodenoscope | Y | TJF Q180 | B | Choledocolethiasis | Abdominal Abscess, Rectal screen |
| C4 | NA | 04/16/2022 | NA | NA | NA | NA | NA | Urine |
| S2 | NA | 05/09/2022 | NA | NA | NA | NA | NA | Asymptomatic screen |
| S3 | 03/09/2022 | 06/13/2022 | Duodenoscope | Y | TJF Q180 | B | Pancreatic tumor | Asymptomatic screen |
| C5 | 09/01/2022 | 09/09/2022 | Gastroscope | N | GIF H190 | C | Pancreatic duct leak | Pleural and peritoneal cavity |
| S4 | 08/15/2022 | 12/05/2022 | Gastroscope | N | GIF H190 | C | Ascending cholangitis | Asymptomatic screen |