Table S5 GRADE quality assessment by therapeutic strategy and study design for the outcomes.

| Primary outcomes | No. of Studies | No. of Participants |  | Differences (95%CI) a | Quality Assessment |  |  |  |  | Quality |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | PICC | MC |  | Risk of Biasb | Inconsistency | Indirectness | Imprecision | Publication Biasc |  |
| Complications assessed according to patients |  |  |  |  |  |  |  |  |  |  |
| Total | 14 | 1753/10834 | 1221/9841 | 1.00 [0.70, 1.41] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Catheter-related Thrombosis (DVT+SVT) | 14 | 349/10834 | 313/9841 | 1.06 [0.69, 1.61] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Catheter-related DVT | 11 | 290/9783 | 239/8889 | 1.09 [0.71, 1.68] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Catheter-related SVT | 3 | 34/1713 | 58/1233 | 0.42 [0.28, 0.64] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Contralateral Thrombosis (DVT+SVT) | 1 | 33/1483 | 29/1094 | 0.84 [0.51, 1.37] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Contralateral DVT | 1 | 15/1483 | 13/1094 | 0.85 [0.41, 1.78] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Contralateral SVT | 1 | 18/1483 | 16/1094 | 0.83 [0.43, 1.62] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Contralateral/bilateral Thrombosis (DVT+SVT) | 1 | 62/1483 | 60/1094 | 0.76 [0.54, 1.08] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Contralateral/bilateral DVT | 1 | 25/1483 | 25/1094 | 0.74 [0.43, 1.28] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Contralateral/bilateral SVT | 1 | 42/1483 | 44/1094 | 0.70 [0.46, 1.07] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Pulmonary embolism | 3 | 40/7446 | 27/6309 | 1.15 [0.71, 1.86] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Bloodstream infection | 10 | 840/9037 | 591/8394 | 1.95 [1.15, 3.32] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Phlebitis | 5 | 9/667 | 9/863 | 1.22 [0.51, 2.92] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Infiltration | 6 | 3/521 | 24/646 | 0.27 [0.12, 0.62] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Catheter displacement | 6 | 15/699 | 22/903 | 0.84 [0.45, 1.58] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Leak | 5 | 2/509 | 28/634 | 0.16 [0.05, 0.53] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Catheter occlusion | 7 | 436/7225 | 128/6602 | 1.69 [0.81, 3.53] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Pain | 4 | 6/446 | 15/567 | 0.77 [0.35, 1.68] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Premature removal (all cause) | 5 | 66/1155 | 58/1106 | 0.81 [0.40, 1.62] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Complications assessed according to catheter days |  |  |  |  |  |  |  |  |  |  |
| Total | 9 | 749/221483 | 394/59123 | 0.51 [0.26, 0.99] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Catheter-related Thrombosis (DVT+SVT) | 9 | 120/221483 | 104/59123 | 0.41 [0.18, 0.95] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Catheter-related DVT | 6 | 95/100048 | 89/40184 | 0.40 [0.11, 1.41] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Pulmonary embolism | 1 | 14/80612 | 8/30630 | 0.66 [0.28, 1.58] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Bloodstream infection | 7 | 113/219984 | 29/53953 | 0.89 [0.35, 2.31] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Phlebitis | 4 | 6/5402 | 4/8359 | 1.82 [0.50, 6.56] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Infiltration | 5 | 3/5663 | 15/7993 | 0.29 [0.05, 1.81] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Catheter displacement | 6 | 15/22023 | 22/11334 | 0.52 [0.14, 1.89] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Leak | 4 | 2/5522 | 26/7905 | 0.17 [0.05, 0.64] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Catheter occlusion | 7 | 436/221166 | 128/58861 | 0.58 [0.23, 1.44] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Pain | 3 | 6/4063 | 12/7112 | 0.65 [0.08, 5.42] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Premature removal (all cause) | 4 | 62/124053 | 55/24802 | 0.30 [0.21, 0.45] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Cost | 2 | 233 | 308 | 63.00 [61.59, 64.41] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Satisfaction assessment |  |  |  |  |  |  |  |  |  |  |
| Satisfaction | 2 | 120/220 | 206/291 | 0.92 [0.56, 1.51] | Low | No inconsistency | No indirectness | No imprecision | Unlikely | Low |
| Needing improvement | 1 | 68/208 | 74/279 | 1.23 [0.94, 1.62] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |
| Dissatisfaction | 1 | 32/208 | 9/279 | 4.77 [2.33, 9.77] | Low | Serious (-1) | No indirectness | No imprecision | Unlikely | Very low |

Abbreviations: CI: Confidence interval; CT: Cohort study; CDs: Catheter days; CRBSIs: Catheter-related bloodstream infections; DVT: Deep vein thrombosis; GRADE: Grading of Recommendations Assessment, Development and Evaluation; MC: Midline catheters; MD: Mean difference; NOS: Newcastle-Ottawa Scale; PE: Pulmonary embolism; PICC: Peripherally inserted central catheters; RCT: Randomized clinical trial; RR: Risk ratio; SVT: Superficial venous thrombophlebitis.

a Differences: RR for complications and satisfaction assessment; MD for cost.

b Risk of bias assessed using the Jadad scale for RCTs and NOS for CTs.

c Publication bias was explored through visual inspection of the funnel plots.