**Supplemental Table 1: Safety checklist considerations prior to holding**

|  |
| --- |
| Artificial manual breathing unit (AMBU) bag with appropriate size mask within arm’s reach |
| Suction within reach |
| Alarm limits audible and appropriate - \*be sure to level pressure lines\* |
| Call light within caregiver’s reach |
| Ensure all lines, devices, and airway are intact: |
| * Endotracheal tube tape secure
 |
| * Arterial line with intact dressing
 |
| * Umbilical arterial/venous catheters with DuoDERM/Tegaderm and dependent loops
 |
| * Central line with intact dressing with blue Kelly clamp at bedside
 |
| * Chest tube with additional white securement device with chest tube clamp and emergency supplies at bedside
 |
| * Peritoneal dialysis catheter secured
 |
| * Temporary pacing wires coiled and taped securely to chest
 |
| * Back up tracheostomy tubes and emergency supplies in red bin within arm’s reach
 |