## Database
Paper | Year | Paper Type | Journal/Publication | Sample Composition | (NOT INCLUDED IN STANDARDS PAPER) Sample Geography | pXRF Model | Population Size (ideally, should include total number and number pxrf'd) | Selection Process (window) | Preparation Method (prepare, clean) | Size of Samples | Count Time | kV (plus other relevant pXRF information) (kv vs Kev) | Amperage (mA, μA) | Number of times scanned | Scan Location | Repositioning (no vs #) | Validation Run/Validated (go through and check if not standardized or no mentioned, aka # vs No) | Calibration (account for drift) | Software | Beam Diameter/Area | Plugged in/Power (command f for power, battery, plug, and in situ) | (Bruker) beam filter | Additional Info?
Abedi et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Iran | Niton XL3t | 1,218 obsidian artifacts, 126 analysed | Techno typological representivity | # | # |  | # | # | # | # | # | Yes | Custom | Mining mode | # | # | Not Bruker
Abedi et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Armenia | Thermo Scientific Niton XL3t 950-HE GOLDD+ | 32 artifacts | # | # | # | 360 | 50 | # | # | # | # | Yes | Factory calibration | TestAllGeo mode | # | # | Not Bruker
Ackerfeld et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Technological ceramics and slag | Israel | Thermo Scientific Niton XLt-900 GOLDD | 22 crucibles, 44 furnaces, 34 slag pieces | # | # | 20cm by 7cm | 150 | 50 | # | 5 | On inner and outer surfaces, on broken sections, on around or near rim, on distinct spots | Unclear | Yes | Silicate rock matrices | # | # | # | Not Bruker | Repositioning unclear
Adlington et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Glass mosaic tesserae | Israel | Innov-X Systems/Olympus Delta Premium DP-6000CC | 289 tesserae | # | Cleaned | # | 60, 20s each | 40, 40, 15 | 89, 52, 68 μA | # | # | # | Yes | Built-in calibration | Soil mode | # | # | Not Bruker
Ahern (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Lime plaster floors | Guatemala | Bruker Tracer 5i | 24 samples | # | 9 sections prepared on slides | 3cm x 3cm | 30 | 12 | # | # | # | # | # | # | Artax 7.4 software | # | # | No filter
Alizadeh et al. (2018) | 2018 | Experiment | Journal of Anthropological Archaeology | Assorted | Azerbaijan | # | # | # | # | # | # | # | 1.5μA | # | # | # | # | # | # | 8mm | # | No filter, 12mil Al & 1 ml Ti
Amicone et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Italy | Thermo Niton XL3t | 35 samples | # | # | # | 360 | # | # | 3 | Along the fresh fracture | Yes | No | Custom | # | # | # | Not Bruker | No vacuum
Andrade et al. (2020) | 2020 | Experiment | Geoderma | Soil | Brazil | Bruker S1 Titan LE | 285 samples | # | Air-dried and disaggregated to pass thru a 2mm sieve | # | 60 | 50 | 100μA | 3 | # | # | Yes | Trace mode (dual soil) | Geochem software | # | # | #
Aoyama et al. (2017) | 2017 | Experiment | Journal of Field Archaeology | Obsidian | Guatemala | # | 42 artifacts | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Argote et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Mural paintings | Mexico | Bruker TRACER III-SD | 76 assays | # | # | # | 120 | 40 | 36μA | # | # | # | Yes | # | Artax 7.4 software | # | # | No filter
Arnay-de-la-Rosa et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Portable querns | Spain (Canary Islands) | XRF Thermo Scientific Niton XL3t GOLDD+ | 60 samples | # | Cleaned with a brush | # | 125 | 50 | # | # | # | # | # | Mining mode calibration | SPSS 15.0 program | # | # | Not Bruker
Arroyo et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Primate stone tools | Brazil | # | 29 tools | Observed percussive behavior | Petrographic thin sections | # | # | # | # | # | # | # | # | # | # | # | # | Not Bruker | Primate archaeology
Asnelli & Martinón-Torres (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Copper-alloys | Italy | Olympus Innov-X Delta Premium | 159 artifacts | # | Unprepared | # | 40 | 40 | 100μA | 3 (at least) | Used a camera to choose the location | # | # | Alloy Plus | # | 3mm | # | Not Bruker
Attenbrow et al. (2017) | 2017 | Experiment | Journal of Field Archaeology | Mafic artifacts | Australia | Bruker III-V+ | 368 artifacts | # | # | # | 180 | # | # | 5 | # | # | # | Custom in relation to XRF results w/ 90 basalt specimens | # | # | # | #
Attenbrow et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Ground-edged artifacts | Australia | Bruker Tracer III-V+ | 86 artifacts | # | # | # | 180 | 40 | # | 2022-03-05 | Fresh surfaces | Yes | # | Uncalibrated | S1PXRF & Artax 7.1 | # | # | #
Belisle et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Peru | Bruker Tracer 5i | 463 pieces | # | # | # | 60 | # | # | # | # | # | Yes | Obsidian calibration provided by Bruker |  | # | # | #
Bernardini et al (2015) | 2015 | Experiment | Archaeometry | Whetstones | Italy | Amptek Mini X-ray tube | [6 empty] | 0.010mA | [6 empty] | 10mm | # | Not Bruker
Biagetti et al. (2021) | 2021 | Experiment | Plos One | Stone | Botswana | Thermo Niton Gold | 477 samples (45 control) | 10g every 2m | Sieved and ground | 10g | 120 | # | # | # | # | # | No | Cu/Zn mining calibration | # | # | # | Not Bruker
Boness et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Plaster | Greece (Crete) | Thermo Scientific Niton XLt-900 GOLDD | 14 samples | # | Cleaned in-situ and dry-cleaned before analysis | # | 120 | # | # | # | # | # | # | Mining' calibration | # | 8mm | # | Not Bruker
Bonsall et al. (2017) | 2017 | Experiment | Antiquity | Obsidian | Bulgaria | Niton XL3t Ultra | # | # | # | # | # | # | # | # | # | # | Yes | Calibrated with CRMs | # | # | # | Not Bruker
Boulanger et al. (2017) | 2017 | Experiment | American Antiquity | Mica source specimens | United States (NJ) | # | 40 specimens | # | # | # | 60s low energy 180s high energy | # | # | 3 | # | # | Yes "quality control" | Calibrated with SRMs | # | # | # | #
Boulanger et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Flaked stone crescents | USA (Northern Great Basin) | Bruker III-V | 2 crescents | 2 crescents in a collection | # | # | # | 40 | 25μA | # | # | # | # | Calibrated with obsidian specimens | # | # | # | #
Bradfield (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Bone | Southern Africa | Bruker Tracer III SD | # | # | Untreated | # | 240 | 40 | # | 1 if small, 2 otherwise | # | # | # | # | # | 5mm | # | #
Brite et al. (2021) | 2021 | Experiment | Antiquity | Pyrotechnology | Uzbekistan | Bruker Tracer III-SD | 6 samples | Varied material from slag mound surface | # | # | 100 | 40 | 10mA | 1 | # | N/A | # | # | # | # | # | No filter
Brorsson et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Pottery | Denmark & Sweden | Niton XRF-XL3t | 1,491 analyses | Data was used to select sherds for further analysis | # | # | 380 | # | # | 2022-02-03 | # | Yes | # | # | MVSP software & PCAs | 8mm | # | Not Bruker
Brown & Tykot (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Italy | Bruker Tracer | 111 artefacts | # | Clean surface | # | 120-180 | 40 | 10μA | # | # | # | # | Factory | Factory | 3x5mm | # | 12mil Al, 1mil Ti, and 6mil Cu filter | Factory calibration and software is implied
Bruni et al. (2020) | 2020 | Experiment | Archaeometry | Glass beads | Belgium | Thermo Fischer Niton L3t GOLDD | 400 jewels and beads | # | # | # | 75 | 50 | 200μA | # | # | # | No | # | # | 3mm | # | Not Bruker
Bruni et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Glass beads | Belgium | Thermo Fischer Niton L3t GOLDD | 39 glass beads | # | # | 1.2 x 1.7 cm | 75 | 50 | 200μA | # | # | # | # | # | Uses a Fundamental Parameters alg | 3mm | # | Not Bruker
Burley & Dickinson (2009) | 2009 | Experiment | Journal of Archaeological Science | Pottery | Polynesia | Thermo Scientific NITON XL3t | 29 sherds | # | Washed in fresh water, scrubbed with a toothbrush | # | 60 | 50 | # | # | Flat interior or exterior | # | # | # | # | # | # | Not Bruker
Burley et al. (2011) | 2011 | Experiment | Journal of Archaeological Science | Volcanic glass | Tonga | Innov-X (Alpha Series) | 75 samples | Grab sample | # | # | 360 | # | # | # | Clean, flat surface | # | Yes | Sheppard (2010) calibration method | # | # | # | Not Bruker | LEAP software
Burton et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Jordan | Olympus Innov-X Delta Premium and UCL | 38 sherds | # | # | # | 120 | 40 | # | 2 | Freshly cut surfaces | Yes | Yes | Custom calibration | Bruker ARTAX software | 9mm | # | Not Bruker
Byrnes & Bush (2016) | 2016 | Experiment | Journal of Forensic Sciences | Bone | United States (NY) | Innov-X Systems Alpha-2 | 33 samples | Equine cortical bone slices | Sanded with 600 grit SiC paper / nothing | # | 60 | 40 | # | Multiple times when possible | # | Yes if possible | # | Innov-X calibration | # | 8mm | External power source | Not Bruker
Campbell & Healey (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Turkey | Thermo Scientific Niton XL3t 980 GOLDD+ | 882 samples analyzed | # | Ultrasonic distilled water bath for 15mins | # | 90 | 50 | 200μA | 1 (occasionally 2 for replicability) and up to 5 for outlier artifacts | # | # | Yes | Custom calibration | JMP version 12 & PCA | # | # | Not Bruker
Campbell et al. (2020) | 2020 | Experiment | Antiquity | Obsidian | Various (Aztec origin) | Niton XL3T 980 GOLDD+ | 4 artefacts | Related objects in British Museum collection | No cleaning | 195mmx185mm, 240mm, 260mm, 225mmx190mm | 90, 3 times | # | # | 2022-05-06 | # | Yes | Yes | Instrumental fundametal paramters, linear calibration | # | # | # | Not Bruker
Campbell et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Turkey | Thermo Scientific Niton XL3t 980 GOLDD+ | 377 artifacts | Took readings from samples more than 2mm thick | Ultrasonic distilled water bath for 15mins | # | 90 | 50 | # | Multiple readings in many cases | # | # | Yes | Custom calibration | # | # | # | Not Bruker
Castañeda et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Painted pebbles | USA (TX) & Northern Mexico | Innov-X Systems Alpha Series | 55 painted pebbles (pXRF'd 28) | Did not analyze white/yellow paint | # | # | 60 | 40 | # | Replicate measurements conducted | # | Yes | # | Compton Normalization calibration, soil mode | # | # | Battery | Not Bruker
Castelle et al. (2019) | 2019 | Experiment | Journal of Archaeological Science | Seal matrices | Europe | Niton XL3t | 466 matrices | Did not analyze inhomogenous patinas or gilded artifacts | # | # | 60 | 50 | # | 3 | # | Yes | Yes | CHARMed-PyMca protocol | PyMca software | # | # | Not Bruker
Ceccarelli et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Italy | Bruker Tracer IIIDS | 38 samples | Picked artifacts not suitable for the wine trade (waste/discarded producta) | # | # | 30 | 40 | 10.7μA | 3 | # | # | "Several natural clay samples were identified...different commercial samples of feldspars and clays were collected, with a variable composition certified by two different producers, to be used as standards." | # | # | 8mm | # | # | "Fingerprinting?"
Ceccarelli et al. (2020) | 2020 | Experiment | Archaeometry | Ceramics | Italy | Bruker Tracer III-SD | 21 samples (based on Materials and Methods) | Most representative samples | Fresh break | # | 30 | 40 | 10.7μA | 6 | Different spots | Yes | # | Custom calibration | # | 8mm | # | #
Chanteraud et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Rock art | France | ELIO XGlab spectrometer | 66 analyses | # | # | # | 300 | 40 | 100μA | # | # | # | Yes | Custom calibration | PyMca software | 1.2mm | # | Not Bruker
Charalambous (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Copper-alloys | Cyprus | 2010 DP-6500C Delta analyser from Innov-X Systems | 785 artifacts | Advanced corroded state rejected | Removed 5x5mm square of patina | # | 70 | 50 | # | 2022-03-05 | Non corroded surface | # | Yes | # | Fundamental Parameters alg | 3mm | # | Not Bruker
Charalambous & Webb (2019) | 2019 | Experiment | Journal of Archaeological Science | Bronze | Cyprus | Innov-X Delta | 105 artifacts | Random | # | # | 70 | 50 | # | 2022-03-05 | Less visibly corroded areas | # | Yes | # | Alloy Plus mode | 3mm | # | Not Bruker
Charalambous et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Copper-alloys | Cyprus | HHpXRF Innov-X Delta | 206 artifacts | Advanced corroded state rejected | # | # | 70 | 50 | # | 2022-03-05 | # | # | Yes | # | Alloy Plus mode | 3mm | # | Not Bruker
Chaviara & Aloupi-Siotis (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Vases | Greece (Athens) | Bruker Tracer IV-SD | 102 samples |  |  |  | 90 | 15, 40 | 40mA, 38mA | 2022-02-03 | # | # | # | # | SE mode | # | # | 0.001" Ti/.012" Al | 15 kv low power w/ vacuum, 40 kv high power w/o vacuum
Chen et al. (2021) | 2021 | Experiment | Archaeometry | Metal items | China | ThermoFisher Niton XL3t | 182 items | Unearthed | # | # | 30 | # | # | # | Both sides | # | # | # | # | 8mm | # | Not Bruker
Chen et al. 2021 | 2021 | Experiment | Journal of Archaeological Science: Reports | Bronze dagger-axes | China | Niton XL3t 950He | 18 axes | # | Polished with sandpaper | # | 60 | 50 | 10μA | 3 | Polished surface | # | Yes | Factory for copper based artifacts | # | # | # | Not Bruker
Clark et al. (2014) | 2014 | Experiment | PNAS | Lithics | Tonga | # | 66 samples (Tongan State) /108 samples (Prestate Tongatapu) / 330 (Samoa) | Verified all prestate lithics | None ((Samoa) museum collection) | # | # | # | # | # | # | # | # | # | # | # | # | # | Used many other mechanisms(?)
Clark et al. (2020) | 2020 | Experiment | Journal of Anthropological Archaeology | Cultural materials | Tonga | Bruker Tracer III-V+ | 376 stones | # | # | # | 180 | 40 | 27μA | 2 | # | # | Yes | Custom calibration | Bruker ARTAX Spectra 8.0 | # | # | 12mil Al, 1mil Ti, 6 mil Ti
Cobb et al. 2021 | 2021 | Experiment | American Antiquity | Metal artifacts | United States (Mississippi) | # | 83 metal European artifacts | # | # | Varied, see photographs for measurements | # | # | # | # | # |  | # | # | # | # | # | Not Bruker
Cochrane et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Silcrete sources | Australia | Bruker Tracer III-V | 186 artifacts | Smooth/flat | # | # | 180 | 40 | 15mA | 5 | # | Yes if possible | Yes | Custom calibration | # | # | # | 0.006′′ Cu, 0.001′′ Ti and 0.012′′ Al
Cockrell et al (2015) | 2015 | Experiment | Archaeometry | Copper, copper alloy, and gold-copper alloy bells | Mexico | Bruker Tracer III-SD | 38 bells, 148 objects total | Selected for expected composition and morphological diversity | # | # | 180 | 40 | 12.3 μA | 2 | Faces | Yes | Yes | Fundamental Parameters | # | 5 x 6.75 mm | # | 12 mil Al + 1 mil Ti filter
Coffman & Rasic (2015) | 2015 | Experiment | Journal of Archaeological Science | Volcanic rocks | United States (AK) | Bruker Tracer III-V | 676 artifacts | 1cm in maximum dimension + 3mm thick for reliable results, avoided heavily weathered artifacts | # | # | 200 | 40 | 15μA | # | Fresh surfaces when possible | # | Yes | # | # | # | # | 0.076-mm copper filter and 0.0305 aluminum filter
Conrad et al. (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Oysters | United States (CA) | Bruker Tracer III V+ | 20 shells | # | Rinsed and scrubbed w/ deionized water, then dried in a 60C oven for 60 mins, powdered with a dremel | # | 180 | 40 | 18μA | 2 | Ventral and dorsal samples | # | # | # | S1PXRF software | # | # | 12milAl, 1milTi, 1milCu
Conrey et al. (2014) | 2014 | Calibration | Geochemistry: Exploration, Environment, Analysis | N/A | N/A | Bruker TracerIV Geo | # | # | Cut and ground one flat surface on a coarse diamond lap, loose ground powder in a cup with 1/4 mil polypropylene window | # | 240 | 45, 30 | 25μA | # | # | # | Yes | WDXRF obsidians reference materials, WDXRF mudbrick reference materials | S1PXRF software | # | # | Green filter | Calibration study
Coronel et al. (2015) | 2015 | Experiment | Journal of Field Archaeology | Floors | Mexico | Bruker S1 Tracer IV-SD | 124 surface samples | # | # | 2mm | 120 | 45 | 30μA | # | # | # | Yes | Bruker calibration "Soils with Calcium Carbonate" | Surfer software, ArcGIS, JMP | # | # | 25μm Ti, 300μmAl
Corral et al. (2021) | 2021 | Experiment | Journal of Field Archaeology | Obsidian | Mexico | Bruker Tracer III-SD | 409 artifacts | # | # | # | 60 | 40 | 30μA | # | # | # | Yes | Bruker calibration | JMP software | # | # | 12mil Al, 1 mil Ti, 6 mil Cu
Craig et al. (2007) | 2007 | Experiment | Journal of Archaeological Science | Obsidian | Peru | # | 68 artifacts | # | None | # | 200 | 30 | 0.14mA | # | Smoothest part of the sample |  | Yes | # | XRF-FP software | # | External power source | 0.05mm Pd beam filter | #
Craig et al. (2009) | 2009 | Experiment | Journal of Archaeological Science | Obsidian | Peru | Bruker Tracer III-V | 20 artifacts and pebbles | # | Unmodified | # | 200 | 40 | 15 mA | # | # | # | # | # | # | 4mm | # | 0.076mm copper filter, 0.0305 aluminum filter
Davis et al. (2011) | 2011 | Experiment | Journal of Archaeological Science | Sediments | United States (ID) | Thermo Scientific Niton XL3t | 151 readings | # | # | # | 180 | 20, 40, 50 | 40uA |  | # | # | Yes | Custom calibration | PASWStatistics, MDFA | 1cm^2 | # | Not Bruker
Davis et al. (2014) | 2014 | Experiment | American Antiquity | Artifact cache | United States (ID) | ThermoElectric Niton XL3t | 21 artifacts | # | # | # | # | # | # | # | # | # | # | # | # | # | # | Not Bruker
Dayet et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Mineral pigments | France | Ametek portable SPECTRO xSORT xrf | 39 samples | # | Fractured with a hammer, cleaned with an alcoholic solution | # | 120 | 40 | # | # | # | # | Yes | Custom calibration | # | # | # | Not Bruker
Deter-Wolf et al. 2021 | 2021 | Experiment | Journal of Archaeological Science: Reports | Bone tools | United States (Tennessee) | Bruker Tracer III-SD | 2 tools | Had macroscopically visible pigments | # | 101 & 107 mm in length | 30 | 40 | 10.7μA | # | Vertical instrument with artifacts in direct contact witht the sensor | # | # | # | # | 7mm^2 | # | #
Dumont et al. 2020 | 2020 | Experiment | Journal of Archaeological Science: Reports | Sword | France | Bruker Tracer III-SD | 1 sword | # | # | 74.6cm | 30 | 25 | 25mA | 16 | Blade, rives, hilt | Yes | No | No | # | 12mm^2 | # | # | 25kV tension?
Düring et al. (2020) | 2020 | Analysis | Antiquity | Copper | Cyprus | 2010 DP-6500C Delta analyser | 3 artifacts | # | No destruction/removal permitted | Yes, see diagram for more | # | 40, 10 | # | # | # | # | Yes | # | Alloy Plus analytical mode, Mining mode | # | # | Not Bruker
Dussubieux & Walder (2015) | 2015 | Experiment | Journal of Archaeological Science | Copper artifacts | US (Upper Great Lakes) | Innov-X (now Olympus) Alpha Series | 43 samples | # | # | # | 60 | 35 | 20μA | # | # | # | Yes | # | Instrument software | 80μm | # | Iron filter
Ebert el al (2015) | 2015 | Experiment | Archaeometry | Obsidian | Mexico | Bruker Tracer III-V+ SD | 456 artefacts | Selected based on minimum size | Water-screened | 10mm diameter & 1.5mm thick minimum | 200 | 40 | 12μA | # | Flattest surface | # | Yes | Factory calibration | # | # | External power source | 12 mil Al, 1 mil Ti and 6 mil Cu filter
El Halim et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Morocco | Bruker AXS & Thermo Fisher Scientific Niton XL3t GOLDD | 122 + 23 samples | # |  | # | 2022-10-15 | 50 | 20μA | 2022-03-05 | # | # | # | Universal mode | FactoMinR & Factoextr under R software | # | # | #
Emmitt et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Egypt | Bruker Tracer III-SD | 1,626 specimens | # | # | # | 100 | 40 | 12μA | 3 | Flattest surfaces | # | Yes | Custom | S1PXRF 3.8.30 software, Artax 7.4 software | # | # | 304.8μm Al, 25.4μm Ti
Erb-Satullo et al. (2017) | 2017 | Experiment | Journal of Anthropological Archaeology | Copper production | Georgia/Armenia/Azerbaijan (South Caucasus) | # | 691 slag samples | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Ferguson et al. (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Ceramic paints | United States (AZ) | Bruker Tracer III–V | 189 vessels | # | # | # | 10 | 40 | 15μA | # | Interior and exterior | # | Not feasible | # | # | # | # | 6mm Cu, 12mm Ti, 2mm Al
Fertelmes & Glascock (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Vesicular basalt | United States (AZ) | Bruker Tracer III–V | 900 samples | # | Wash in distilled water | # | 120 | 40 | 12μA | 6 | # | Yes | # | # | # | # | # | 304μm Al, 25μm Ti, 152μm Cu | XRF was validated, not pXRF
Fischer & Hsieh (2016) | 2016 | Experiment | Journal of Archaeological Science | Porcelain | China | Thermo Niton Xl3t GOLDD+ | 23 artifacts | # | # | # | 120, 90 | 50 | 200μA | # | # | # | Yes | Mining and soil mode | # | 3mm | # | Not Bruker | 120s for mining mode 90s for soil
Forouzan et al. (2012) | 2012 | Experiment | Journal of Archaeological Science | Assorted | Iran | InnovX-4000 | 87 artifacts | The small finds recovered from the Chogaha Gavaneh site | As-is | A few cm^2 | 60 | 40 | 50μA | 3 | # | # | Yes | # | # | # | # | Not Bruker
Forster & Grave (2011) | 2011 | Experiment | Journal of Archaeological Science | Obsidian | Turkey | Bruker Tracer III-V | 26 samples | 3mm thickness and 7mm^2 or greater area |  | # | 180, 240, 300 | 40 | 20μA, 13μA | 3 | # | # | # | Custom calibration | KTIS1Cal Process software | # | # | 0.006" Cu, 0.001" Ti, 0.012" Al
Frahm (2012) | 2012 | Analysis | Journal of Archaeological Science | Obsidian | Syria | Thermo Scientific NITON XLt | 50 artifacts | Flaking debris or non-diagnostic, less than 20mm | # | 20mm or less | 300 | 40 | # | # | # | # | Yes | Soils calibration | # | # | # | Not Bruker | Redirected to a protected disseration for the analytical procedures
Frahm (2014) | 2014 | Experiment | Journal of Archaeological Science | Obsidian | Armenia | Thermo Scientific Niton Xl3t GOLDD+ | 16 specimens | # | Drying and firing at 950C | Cut to 10x10x60 mm | 90/120s | 50 | # | 5 for handheld, 15 for test-stand | # | Yes | # | Factory calibration | Factory software | # | # | Not Bruker
Frahm (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Aegean Sea islands | Thermo Scientific Niton XL3t 950 GOLDD+ | 650 flakes | 3mm thickness, flat | # | 1-2mm+ | 30 | 40 | 50μA | # | Balanced over polypropene film | # | Yes | Custom calibration | Mining mode | 8-9mm | # | Not Bruker
Frahm (2018) | 2018 | Experiment | Journal of Archaeological Science | Ceramics | Syria | Olympus Vanta VMR | 48 sherds | # | # | # | # | 40 for heavy elements 10 for light | # | 6 | # | Yes | Experimental replicas | Customized Thermo calibration | GeoChem mode | 8mm | # | Not Bruker
Frahm (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Obsidian | N/A | Olympus Vanta M-series | More than 30 specimens | Mimicked a potential assemblage | Cut w/ a dsaw | 10-20mm diameter | # | 40, 10 | # | # | # | # | Custom standards | Factory calibration | GeoChem mode, Olympus software | # | # | Not Bruker | iPhone processing power adage
Frahm & Brody (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Syria | Olympus Vanta M-series | 4 artifacts | Many items discarded in the field or misplaces | # | # | # | 40, 10 | 50nA | # | # | # | Yes | Calibrated w/ EMPA data | GeoChem mode | 30μm | # | Not Bruker
Frahm & Carolus (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Syria | Olympus Vanta VMR | 14 artifacts | # | # | # | # | # | # | # | # | # | # | # | # | # | # | Not Bruker | pXRF details in another paper
Frahm & Doonan (2014) | 2014 | Analysis | Archaeometry | Obsidian | Greece | Niton XL3t & Niton XL3t GOLDD+ | 20 specimens | # | Washed in water | 2mm minimm thickness | 180-240 | 50 | # | # | # | # | # | Custom calibration | Compton Normalization, Fundamental Parameters | 5mm | # | Not Bruker
Frahm & Feinberg (2012) | 2012 | Experiment | Journal of Archaeological Science | Obsidian | Syria | # | 52 obsidian artifacts analyzed with pXRF | # | # | # | # | # | # | # | # | # | # | Calibrated with obsidian standards | # | # | # | #
Frahm & Feinberg (2013) | 2013 | Analysis | Journal of Archaeological Science | Obsidian | Syria | # | 97 artifacts | Non diagnostic chip debris | # | # | # | # | # | # | # | # | # | Calibrated with other specimens | # | # | # | Not Bruker | Does not explicitly state use of ThermoNiton
Frahm & Feinberg (2014) | 2014 | Experiment | Journal of Archaeological Science: Reports | Obsidian | United States (Oregon) | Thermo Scientific Niton XL3t-900 GOLDD | 337 artifacts | Weathered cobbles on the surface were collection | # | 10-20cm in diameter | 120, 3 beam scan | 40 | # | # | # | # | FP with standards (Heginbotham et al. 2010 approach) | Factory-set calibration | # | 8mm | # | Not Bruker
Frahm & Hauck (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Obsidian scraper | Syria | Thermo Scientific Niton XL3t-950 GOLDD | 1 scraper | # | # | 28x25x10mm | 60 | 40 | ≤50μA | # | # | # | FP with standards (Heginbotham et al. 2010 approach) | Factory calibration & further calibrated with a standard set | # | 8mm/3mm w/ collimator | # | Not Bruker
Frahm & Tryon (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Obsidian burin | Lebanon | Olympus Vanta M-series | 1 burin, 1 obsidian flake | Only artifact from Ksar Akil | # | 3cm (fig 2) | # | 40, 10 | # | # | # | # |  | PYRO scheme | GeoChem mode | # | # | Not Bruker
Frahm & Tryon (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Iraq | Olympus Vanta M-series | 13 scans (based on table) | # | # | # | 60 | 40, 10 | 50nA | # | # | # | Yes | Calibrated w/ EMPA data | Vanta software | 30μm | # | Not Bruker
Frahm & Tryon (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Kenya | Thermo Scientific Niton XL3t GOLDD+ | 239 artifacts | # | # | 8mm-34mm long | 30-45 | 40 | 50μA | # | # | # | Yes | Factory calibration | # | 8mm | # | Not Bruker
Frahm et al. (2013) | 2013 | Experiment | Journal of Archaeological Science | Obsidian | Armenia | Niton XL3t GOLDD+ | More than 500 specimens + 154 Palaeolithic artifacts | # | Unprepared | # | 10 | 50 | # | # | Surface least likely to puncture the film over the measurement window | # | # | Factory calibration | Mining mode, Spectral Fingerprint mode, etc | # | # | Not Bruker | Heavily implied that pXRF was run on batteries but if not explicitly stated, not mentioned.
Frahm et al. (2014) | 2014 | Experiment | Journal of Archaeological Science | Obsidian | Armenia | Niton XL3t GOLDD+ | 210 geological samples |  | Cut into cubic samples | 10x10x10,, | 120 | 40 | # | # | # | # | # | Linear regression calibration | Mining mode | # | # | Not Bruker
Frahm et al. (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Armenia | Thermo Scientific Niton XL3t GOLDD | 66 artifacts | # | # | # | 60 | 40 | # | # | # | # | Yes | # | # | 8mm | # | Not Bruker
Frahm et al. (2016) | 2016 | Experiment | Journal of Archaeological Science | Soil | United States (MN) | Thermo Scientific Niton XL3t GOLDD+ | 31 sediment specimens, 2 preparations each | # | Two preparation methods, sieving and washing | # | 180 | 40, 20, 6 | # | 5 | # | # | Yes | Mining calibration | # | # | # | Not Bruker | 3 different packages, 5 scans per package
Frahm et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Armenia | Thermo Scientific Niton XL3t GOLDD+ | 36 specimens | # | # | 32-256mm | 300 | 40, 50, 20, 6 | 50, 40, 100 200 μA | # | # | # | Yes | Used pXRF & obsidian standards | # | 8mm | # | Not Bruker
Frahm et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Kenya | Thermo Scientific Niton XL3t GOLDD | 27 obsidian specimens | # | # | # | 120, 90 | 40, 20, 50 | 50, 100, 40 μA | # | # | # | Yes | Used standards to create a calibration | # | # | # | Not Bruker
Frahm et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Amulets & cylinder seals | Anatolia & Egypt | Olympus Vanta M-series | 2 amulets & 2 seals | # | # | Various, per descriptions | 30 | 40, 10 | # | # | # | # | Yes | Calibrated w/ CRMs | GeoChem mode | # | # | Not Bruker
Frahm et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Lithics | Armenia | Olympus Vanta VMR | 500 fragments | # | Dry-sieved | 25mm+, 24-15mm, and 14mm-categories | 25 | 40, 10 | 70, 90 μA | 2 | # | Yes | Yes | # | GeoChem mode | # | # | Not Bruker
Frahm et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Armenia | Thermo Niton 950 XL3t GOLDD+ | 15 specimens | # | None | # | 180-300 | 40 | 50μA | # | # | # | Yes | Factory calibration | Proprietary software | 3-4mm | # | Not Bruker
Frankel & Webb (2012) | 2012 | Experiment | Journal of Archaeological Science | Pottery | Cyprus | Thermo Scientific Niton XL3t GOLDD | 391 items | # | # | # | 180 | 50 | # | # | Taken where the slip was worn away/gone | # | # | Used 'Mining Mode' | # | # | # | Not Bruker
Fugazzotto et al. (2020) | 2020 | Experiment | Archaeometry | Painted antefixes | Italy | Bruker Tracer IV-SD | 25 samples | # | # | # | 10 | 15 (Mg & Fe) & 40 (heavy element detection) | 35 mA (Mg & Fe) & 17 mA (heavy element) | 10 | # | # | # | # | S1pxrf & OyMCA software | # | # | No filter (Mg & Fe), Ti-Al filter (heavy elements)
Gauss (2013) | 2013 | Experiment | Journal of Archaeological Science | Sediments | Slovakia | Thermo Scientific Niton XL3t 900-series GOLDD+ | # | Every 30 cm | Auger | 16mm | 150 | # | # | # | # | # | Yes | Custom w/ CRMs | Fundamental parameter algorithm (mining Cu/Zn mode) | # | # | Not Bruker
Gay et al. (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Cave art | France & Spain | In house pXRF | # | # | # | # | 300 | 40 | # | # | # | # | # | # | PyMca software, MSIM software | 1mm^2 | # | Not Bruker
Gay et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Paleolithic drawings | France | "The primary spectrometer is a non-commercial device composed of a 40 kV MOXTEK X-ray tube with a palladium anode and a beam-spot size of approximately 1 mm2 on the sample achieved with a collimator." | 44 drawings | Selected due to accessibility | # | # | 300 | 30 | 300μA | 2022-03-05 | Pigment/bedrock | Yes | # | # | PyMca software | 1mm w/ collimator | # | Not Bruker
Gebremariam et al (2016) | 2016 | Experiment | Archaeometry | Murals | Ethiopia | Niton XL3t 900 | 15 locations sampled (Table 1) | # | # | # | # | # | 40μA | # | # | # | # | Factory set internal calibrations | Cu/Zn mining mode | 8mm collimator | # | Not Bruker | pXRF details in another paper
Gillreath-Brown et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Tattoo tool | United States (Utah) | Bruker Tracer IV GEO | 1 tool, 11 modern controls | # | # | 99.58mm |  | # | # | # | Tip of cactus spine, handle, unstained portions, wrapping, soil sample, transitional area | # | # | # | # | # | # | # | Had more information on use of EDX
Ginau et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Sediment | Egypt | Niton XL3t | # | Material retrieved in 2014 | # | # | # | # | # | # | # | # | # | # | # | # | # | Not Bruker
Gomes et al. (2021) | 2021 | Experiment | Journal of Archaeological Science | Bone | Portugal | Thermo Scientific Niton XL3t900 GOLDD+ | 45 crania | Skulls with anemia as a COD & unrelated COD as control | # | # | 120 | # | # | 5 | Frontal bone, bregma, right and left parietal, and occipital | # | Yes | Internal calibration | # | # | # | Not Bruker
Goodale et al. (2012) | 2012 | Analysis | Journal of Archaeological Science | Volcanic rock | N/A | Olympus Innov-X Delta & Omega | # | Fine grained samples | # | # | 120, 180 | 40 | # | # | # | # | Yes | Factory calibration | # | 1cm window, 8mm target circle | # | Not Bruker
Goren et al. (2010) | 2010 | Experiment | Journal of Archaeological Science | Cuneiform tablets | Turkey | Thermo Scientific Niton XLt-900 GOLDD | 81 tablets | # | # | # | 180 | 50 | # | 3 | # | Yes | # | Mining mode | Niton NDTr 6.5.2 software | 8mm | # | Not Bruker
Gorokhovich et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Mercury | Honduras | Bruker Titan 5i | # | # | # | # | # | # | 15nA | # | # | # | # | # | # | # | # | Cu25μm Ti25μm Al300μm
Grave et al. (2012) | 2012 | Experiment | Journal of Archaeological Science | Lithics | Australia | Bruker Tracer III-V | 76 hatchets and 40 rock samples | # | # | # | 300 | 40 | 15mA | # | # | # | # | # | Suite of Bruker pXRF software | # | # | 0.076mm Cu, 0.0305mm Al, 0.006mm Ti | #
Guagnin et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Rock art | North Arabia | Niton XL3 | 145 measurements | # | # | # | # | 50 | # | # | Varnish surfaces & rock art surfaces |  | Yes | Mining mode | # | 8mm | # | Not Bruker
Gurova & Bonsall (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Pitchstone artifacts | Scotland | Thermo Scientific Niton XL3t Ultra (portable) analyzer | 23 samples | # | # | # | # | # | 200μA | 2 | # | # | # | Mining/soil calibrations | PAST Statistical Software v3.26 | 8mm | # | Not Bruker
Harrison & Howe (2017) | 2017 | Experiment | Archaeometry | Darién pendants | Colombia | Bruker Tracer III-V | 13 soldered schematic pendants | # | # | # | 30 | 40 | # | 3+ | # | Yes | Yes (supp. material) | Linear regression based on gold alloy SRMs | # | # | # | 12 mil Al + 1 mil Ti
Hayes (2013) | 2013 | Parameters | Journal of Archaeological Science | Assorted | United States (MN) | Niton XL3t GOLDD | 148 surface samples, 48 subsurface samples | Grid location | As is, dried, and dried and ground, removal of coarser elements | 50g | 120 | # | # | 3 | Pressed firmly to surface | # | # | Factory mining mode | Compton normalization | # | # | Not Bruker
Hein et al. (2021) | 2021 | Experiment | Journal of Archaeological Science | Amphorae | Cyprus | Niton XL3t GOLDD+ | 291 ceramic fragments | # | Cleaned & polished | # | 120 | # | # | 3+ | Fresh breaks or areas with removed surface | Yes | # | # | # | 6mm | Handheld | Not Bruker
Holakooei et al. (2013) | 2013 | Experiment | Journal of Archaeological Science | Polychrome tiles | Iran | ARTAX 200 XRF | 43 sherds | # | Glazed the tiles | # | 120 | 50 | # | # | # | # | # | # | # | 1mm | # | Not Bruker
Holmquist et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Copper-based metal artifacts | Finland | Bruker S1 Titan | 8 artifacts | # | # | # | 120 | # | # | 2022-03-05 | # | # | # | Copper alloy calibration mode | Instrument software | # | # | #
Hsu & Martinón-Torres (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Cupels | Portugal | Olympus Innov-X Delta Premium | 28 cupels | Selected due to different chronologies | Cut cross-sections | 31-32mm around | 25 | # | # | 3 | # | # | # | Soil mode | # | 3mm | # | Not Bruker
Hunt & Speakman (2015) | 2015 | Analysis | Journal of Archaeological Science | Sediments & ceramics | N/A | Bruker Tracer III-V | 20 sediment/clay artifacts | # | Prepared as pressed pellets & dried | # | 200 | 15, 40 | 20μA, 30μA | 3 | # | # | Yes | Clay/sediment calibration | # | # | # | Al:Ti:Cu filter | Good source re. importance of calibration
Huntley et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Rock art | Australia | Olympus Delta Environmental analyzer | 17 (obtained from Table 2) | # | # | # | 180 | 40, 40-80, 15 | 100, 80, 80 μA | # | # | # | # | # | # | # | # | Not Bruker | Says that replicate assays were obtained but has no futher details
Ioannides et al. (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Cyprus | Innov-X Delta | 57 samples | Selected from store rooms of Larnarca District Museum & a donation |  | Few cm^2 | 70 | 40, 10 | # | 2022-03-06 | On fresh cut/metal rich surfaces | # | # | Based on SRMs | # | # | # | Not Bruker
Iserlis et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Egypt | Thermo Niton L3t GOLDD+ | 18 sherds | # | # | # | # | 50 | # | 3 (at least) | # | # | # | # | # | # | # | Not Bruker | Mean not calculated
Jia et al. (2010) | 2010 | Experiment | Journal of Archaeological Science | Volcanic glass | China | Bruker Tracer III | 440 artifacts | Random | # | # | 180 | 40 | 15mA | 1 | # | # | # | Volcanic glass analysis | SPSS 16 software | # | # | 0.006" Cu, 0.001" Ti & 0.012" Al | #
Jia et al. (2012) | 2012 | Experiment | Journal of Archaeological Science | Volcanic glass | China | Bruker Tracer III | 93 artifacts | Arbitrary | # | # | 180 | 40 | 15mA | # | # | # | Yes | Custom based on standard | # | # | # | 0.006" Cu, 0.001" Ti & 0.012" Al
Johnson (2012) | 2012 | Analysis | Journal of Archaeological Method and Theory | Ceramics | N/A | Bruker Tracer III-V | 71 field samples (51 beach/flood sediments, 20 archaeological ceramics) | Collected and loaned | Dried at 50C for 24h, pulverized, sealed in sample bottles | # | 60/varied | 15 | 20μA | 10 | # | # | Yes | Custom calibration | S1PXRF software | # | # | 25μm Ti filter
Jones et al. (2019) | 2019 | Analysis | Journal of Archaeological Science: Reports | Grooved ware sherds | Scotland | Niton XL3t 900 SHE GOLDD | 23 samples (based on table) | # | Non-destructive | 7-18mm thick | # | 50 | # | # | # | # | # | TestAllGeo calibration | Soils and Minerals mode | # | # | Not Bruker
Kaufman et al. (2016) | 2016 | Experiment | Journal of Archaeological Science | Slag | Tunisia (Carthage) | Thermo Niton XL3t GOLDD+ | 14 slag, 54 slagged tuyeres | Artifacts that could be dated definitively | Brushed clean | 4cm^2 | 120 | # | 200μA | Multiple when possible | # | When possible | Yes | Mining Cu/Zn mode/Mining mode | # | # | # | Not Bruker
Kellett et al. (2012) | 2012 | Experiment | Journal of Archaeological Science | Obsidian | Peru | Innov-X Systems Alpha | 94 artifacts | Did not include obsidian collected at sites with multiple occupational phases | Removed adhering soil | # | 90 | 40 | # | 3 | # | # | Yes | # | # | # | # | Not Bruker | Scans were averaged
Kelloway et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Olive jars | Peru | Olympus Delta Premium | 70 tinajas | # | Tungsten carbide burr, washed with water | # | 240 | 40, 10 | 0.074mA, 0.04mA | 3 | Flattest sample areas | # | Yes | Factory Geochem calibration | Olympus Innov-X software | # | # | Not Bruker
Kennedy & Kelloway (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Soil | Peru | Olympus Delta Premium | 100 samples | 5m grid, samples taken w/ 3-5cm cleared | Vegetation cleared, sieved and riffle split, and various preparations | # | 30 | 40, 40, 15 | 72μA, 73μA, 132μA | # | # | # | Yes | Soil Mode | ArcGIS & ArcMap | # | # | Not Bruker | Total station? to record sample locations
Kennedy et al. (2013) | 2013 | Experiment | Archaeometry | Window glass | Scotland | Niton XL3t with GOLLD detector | 238 panes | Representative sample | # | # | 50 | # | # | # | # | # | # | Cu/Zn mining mode | Fundamental parameters algorithm | 8mm | # | Not Bruker | Flushed with helium
Kilburn et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Bone | England | Thermo Niton XL3t GOLDD+ | 73 femora | # | Gentle cleaning | # | 150 | 50, 20, 50, at 30s then 6 for 60s | 50, 100, 40, 200 μA | 3 | Anterior midshaft of the bone | Same location | Yes | Mining Mode | Past3 software | # | # | Not Bruker | #
Koenig et al (2014) | 2014 | Experiment | Archaeometry | Pictographs | United States (TX) | Innov-X Systems Alpha Series | 258 measurements | Unpainted limestone & paintings | # | # | 30 | 40 | # | # | # | Replicate on 22 paintings |  | Soil mode | Analyzer software | 1cm | Battery | Not Bruker | "However, researchers must be wary: pXRF is not a magic gun that can provide answers to any and all research questions related to elemental composition."
Koleini et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Glass beads | Southern Africa | Thermo Scientific Niton XL3t GOLDD | 28 beads | # | Deionized water and dried | # | 240 | # | # | # | # | # | # | Mining Cu/Zn mode | # | # | # | Not Bruker
Koleini et al. (2017) | 2017 | Experiment | Antiquity | Glass beads | Zimbabwe | Thermo Scientific Niton XL3t GOLDD | 42 beads | Representative samples, omitted the black beads | Ultrasonic bath w/ deionized water and dried | 2-4mm, 4-6mm, 6-10mm, or less than 2mm | 240 | # | # | # | # | # | # | Mining Cu/Zn mode | # | 8mm | # | Not Bruker
Koleini et al. (2019) | 2019 | Experiment | Archaeometry | Glass | Zimbabwe | Niton Thermo Scientific XL3t GOLDD | 15 artifacts | # | # | # | 240 | # | # | # | # | # | Yes | Cu/Zn mining mode | # | # | # | Not Bruker
Koleini et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Glass beads | Southern Africa | Niton Thermo Scientific XL3t GOLDD | 127 beads | # | # | # | # | # | # | # | # | # | Yes | Mining Cu/Zn mode | # | # | # | Not Bruker | #
Kooiman & Walder (2019) | 2019 | Experiment | American Antiquity | Carbonized food residue | United States (MI) | Bruker Tracer III-SD | 2 pieces | # | # | # | 120 | 40 | 9.6μA | # | # | # | # | # | Bruker’s S1PXRF & ARTAX 7.4.0 software | # | # | 12 mil Al, 1 mil Ti | No vacuum
Kristensen et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Pyrometamorphic rocks | Canada | Bruker AXS Tracer III-SD | 139 artifacts (added up) | # | # | # | 300 | 40 | 30μA | # | # | # | Yes | Proprietary obsidian calibration | Bruker S1PXRF software | # | # | AXS excitation filter
Le Meur et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Copper-base drums | Vietnam | Niton XL3t GOLDD+ | # | # | # | # | # | 40 | # | 3 | # | # | Yes | Alloys mode | # | 3mm | # | Not Bruker
LeMoine & Halperin (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Guatemala | Bruker Tracer VI | 76 sherds | # | Powdered/flattened with dwheel |  | 60 | # | 21μA, 19μA | 3 (at a minimum) | Cross section, interior, exterior | Yes | No | Mudrock setting/Mudrock dual setting | # | # | # | Ti/Al filter
Lewis et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Material culture | Kurdistan | Innov-X Delta Premium | 38 sherds | # | Sections removed, polished w a machine then handpolished, abraded with a dtool | # | 25, 25, 50 | 40, 40, 15 | # | # | Abraded surfaces | # | Yes | Soil mode | # | # | # | Not Bruker
Li et al (2014) | 2014 | Experiment | Archaeometry | Glass beads | China | Outstex 100FA type pXRF spectrometer | 33 beads | # | # | # | 300 | 40, 15 | 0.5-1.0 mA | # | # | # | Yes | # | # | 2.5mm | # | Not Bruker
Licenziati & Calligaro (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Mosaic glass tesserae | Greece (Delos) | NITON XL3t GOLDD | 270 tesserae | Avoided deeply weathered and picked colorful tesserae | Gently cleaned to remove dust | # | # | 6.4, 15, 40, 45 | # | # | # | # | Yes | Custom calibration w/ standards | PyMca software | 3mm | Battery operated | Not Bruker
Liebmann (2017) | 2017 | Experiment | American Antiquity | Obsidian | United States (NM) | Bruker Tracer III-V | 2,222 obsidian artifacts | Selected from the early stages of production, and midden contexts | # | # | 180 | 40 | # | # | # | # | Yes | Bruker factory calibration | # | # | # | 12 mil Al, 1 mil Ti, 6 mil Cu
Liu et al. (2021) | 2021 | Experiment | Archaeometry | Ornaments | China | Niton X13t950 | 30 gold and silver artifacts | # | # | # | # | # | # | # | # | # | # | Precious Metals mode | # | # | # | Not Bruker
López-García et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Mexico | Bruker Tracer III-SD | 112 ceramic samples | Randomly selected | # | # | 120 | 40 | 30 μA | # | # | # | # | # | # | # | # | # | No vacuum
López-García et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Mexico | Bruker Tracer III-SD | 77 artifacts | # | # | # | 200 | 40 | 30 μA | # | # | # | # | Factory calibration | # | # | # | 6 μm Cu, 1μm Tl, 12μm | No vacuum
Lorenzon & Iacovou (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Architecture | Cyprus | Innov-X DELTA Premium | 34 samples | # | Cut | # | 80 | # | # | Multiple | # | # | Yes | Soil mode, calibration with SRMs | R software 3.3.2 | # | # | Not Bruker
Lubos et al. (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Soils & sediments | Germany & Turkey | Thermo Scientific NITON XL3t 900-series | # | # | Ground with a ball mill and transferred into xrf sample cells | # | 240 | 40, 50, 20, 6 | 50, 40, 100, 100 μA | # | # | # | Yes | Mining Cu/Zn mode | # | # | # | Not Bruker | No data calibration performed
Lynch et al. (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Japan (Rebun Island) | Bruker AXS Tracer III-SD | 133 obsidian artifacts | # | # | # | 300 | 40 | 30 μA | # | # | # | Yes | Bruker Obsidian calibration | # | # | # | 0.3047-mm aluminum, 0.0254-mm titanium, 0.1523-mm copper
Martinón-Torres & Uribe-Villegas (2015) | 2015 | Experiment | Journal of Archaeological Science | Goldwork | Colombia | Olympus Innov-X Delta Premium | 61 artifacts + hundreds of stone beads + several bone fragments | # | # | 5mm, 3cm | 30-40 | 40 | # | At least 3 | # | # | # | # | # | 3-10mm | # | Not Bruker
Martinón-Torres et al. (2012) | 2012 | Experiment | Journal of Archaeological Method and Theory | Bronze | China (Terracotta Army) | Innov-X Alpha | 278 bundles | Random | # | 2.7 cm by 7-15cm | 25 | 40 | 30.5μA | 3, sometimes 1 | # | # | # | # | # | # | # | 2mm Al filter | averages calculated
Martinón-Torres et al. (2012) | 2012 | Experiment | Journal of Anthropological Archaeology | Metals | Cuba | Innov-X Alpha 8000 LZX | 40 artifacts | # | # | Less than 1g | 25 | 40 | # | At least 3 | # | # | Yes | Factor built Alloys method | # | # | # | Not Bruker | averages calculated
May et al. (2020) | 2020 | Experiment | Journal of Field Archaeology | Rock art | Australia | Bruker Tracer 5i | 187 rock art figures | # | # | # | 90 | 15, 40 | 120μA | # | # | # | # | # | Bruker software and Artax version 8.0.0.433 | 8mm | # | 200μm Ti filter | Under vacuum for light assay
McGladdery et al. (2018) | 2018 | Experiment | Journal of Environmental Management | Vegetation | Romania | Olympus DP-6000 | # | # | Field moist (from the field) / Oven dried (70c) / Powdered (dried at 70c and ground thru 2mm sieve) | # | 90 | 10-40 sequence | # | 1, 1 and 3 (averaged) for powdered | # | # | Yes | Soil Mode/custom calibration | # | # | Line power | Not Bruker | #
McMillan et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Canada (British Columbia) | Olympus Vanta C-Series | 14 obsidian artifacts | Provided for the study | Unmodified | # | 90 | # | # | 2022-03-10 | # | # | Yes | GeoChem mode | # | # | # | Not Bruker
Meanwell et al. (2013) | 2013 | Experiment | Journal of Archaeological Science | Ceramics | Mexico | Bruker Tracer III-SD | 4 artifacts | # | # | # | # | 15, 40 | # | # | Various on the crucible | Yes on the crucible | # | # | # | # | # | Blue & green filters
Mehta et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Chert | United States (MS) | Olympus InnovaX Delta | 100 samples | Wide variety of contexts | Cleaned with distilled water and air-dried | # | 90 | # | # | # | # | # | Yes | Custom calibration | Olympus software package | # | # | Not Bruker | #
Milic (2013) | 2013 | Experiment | Journal of Archaeological Science | Obsidian | Anatolia | Innov-X Delta | 52 samples | # | Simple cleaning | # | 10 | # | # | # | Positioned to cover as much of the screen as possible, read most flat surface | # | # | # | 3 beam soil mode | 8mm | # | Not Bruker | 3 beam mode, unspecified kv
Millhauser et al. (2011) | 2011 | Experiment | Journal of Archaeological Science | Obsidian | Mexico | Innov-X Alpha series | 103 samples | Early stages of production, all phases of occupation | Cleaned with distilled water and acetone |  | 60, 60 | # | 20μA | Multiple if heavily curved | Cleanest, flattest surface | Yes if heavily curved | Yes | Soil mode | Innov-X software | # | # | Not Bruker | Light and heavy element beams, unspecified kV
Millhauser et al. (2015) | 2015 | Experiment | Journal of Archaeological Science | Obsidian | Mexico | Innov-X Alpha series | 80 samples | Restricted with visual characteristics | Cleaned with distilled water |  | 60, 60 | 40, 15 | # | # | Convex side over detector | # | Yes (reanalyzed 6 samples and 2 specimens from an inter-lab study) | Soil mode | Innov-X software | # | # | Not Bruker | Light and heavy element beams
Millhauser et al. (2018) | 2018 | Analysis | Archaeometry | Geological specimens | Mexico | Innov X- Alpha, Niton XL3t GOLDD+, Bruker Tracer III-SD, Bruker III-V | 16 geological specimens | # | Washed in distilled water and air dried | 10mm, greater than 2mm thick | 180, 90,240 | 40, 40, 40 | 17, 200, 20, 30μA | 5 | # | Yes | Yes | Test all geo mode, custom calibration | JMP Pro 12 | # | # | 12mil Al, 1 mil Ti, 6mil Cu filter | Multiple pXRF machines
Mira & Gallello (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Terracotta | Spain | Bruker S1 Titan | 174 samples | # | Cleared dust | # | # | # | # | 3 | # | # | Yes | (Probable) custom calibration using PCA | S1RemoteCtrl, S1Sync software, and ARTAX software | # | # | #
Misarti & Maschner (2015) | 2015 | Experiment | Journal of Anthropological Archaeology | Human remains | United States (AK) | Bruker | 183 slate artifacts | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Mitchell et al. (2012) | 2012 | Experiment | Journal of Archaeological Science | Stoneware | North-east Asia | Bruker Tracer III-V | 27 samples | Selected irregularity-free samples | # | # | 300 | 40 | 15 mA | 5 | Minimal airspace | # | Yes | # | Several Bruker software packages | # | # | 150 micron Cu, 25 micron Ti, 300 micron Al
Moník et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Flints | Czech Republic | Olympus Innov-X DELTA | 60 samples | # | Cut and ground | # | 120 | 10-40kV | # | # | # | # | # | Geochem mode | # | # | # | Not Bruker
Moutsiou & Kassianidou (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Carnelian beads | Cyprus | Innov-X Delta | 31 beads | # | # | 1cm | 80 | 40 | # | 2022-03-05 | Over detector window | # | Yes | # | # | 3mm | # | Not Bruker
Muskara & Konak (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Turkey | Hitachi X-Met8000 Expert | 50 artifacts | Represent a variety of contexts, colors, debitage, and technology | Cleaned with distilled water in an ultrasonic bath for 15 mins |  | 90 | 40 | # | # | Minimal airspace | # | Yes | Factory calibration | Adjusted Hitachi software | # | # | Not Bruker
Nazaroff et al. (2009) | 2009 | Experiment | Journal of Archaeological Science | Obsidian | Belize | Bruker AXS III-V portable EDXRF | 68 artifacts | Samples large enough to cover window & 3mm thick | # | # | 300 | 40 | # | # | # | # | Yes | Bruker calibration | # | # | External power source | Pd beam filter
Neri et al. (2015) | 2015 | Experiment | Journal of Archaeological Science | Obsidian | Philippines | Bruker AXS Tracer III-V portable XRF | 5 artifacts + 7 flakes | # | # | Under 10mm | 180 | 40 | # | # | # | # | Yes | Calibration used | PCA w/ JMP software | # | # | 6 mil Cu, 1 mil Ti, 12 mil Al
Newlander & Lin (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Chert | United States (Great Basin) | Olympus Delta Premium series | 264 artifacts | Samples large enough to cover window | # | # | 180 | 40, 40, 15 | 100, 100, 200μA | 2 | # | # | Yes | Obsidian soil mode | # | # | # | Not Bruker
Newlander et al. (2015) | 2015 | Study | Journal of Archaeological Science: Reports | Obsidian | N/A | Olympus Delta Premium Series | # | # | Powdered | # | Study on count times | 40, 40, 15 | 100, 100, 200 | # | # | # | Yes | Obsidian soil mode | # | # | # | Not Bruker
Nishiaki et al. (2019) | 2019 | Experiment | Archaeometry | Obsidian | Azerbaijan | Thermo Scientific Niton XL3t 980 GOLDD+ | 213 artifacts | Randomly selected | # | # | 90 | 50 | 200 μA | 1 | # | No (scanned once) | Yes | Calibrated to standards | # | 15mm | # | Not Bruker
O'Regan et al. (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Rock art | New Zealand | Bruker Tracer III | # | # | # | # | 60 | 40 | 12 μA | # | # | # | # | # | # | # | # | 12mil Al, 1 mil To
Ogburn et al. (2012) | 2012 | Experiment | Journal of Archaeological Science | Building stones | Peru | Innov-X Delta DP4000 | 29 samples | Flat & smooth | Cleaned in various ways (experiment on cleaning w/ pxrf) | # | 60 | 50 | # | # | # | # | Yes | 3 beam soil mode, factory calibration | # | # | # | Not Bruker
Orange et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Mediterranean area | Niton XL3 Series | 41 geological samples | Flat surface and at least 3mm thick | # | # | # | 50 | # | # | # | # | # | # | PCA w/ JMP software | 3mm | # | Not Bruker
Palumbo et al. (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Basalt | Panama | Bruker Tracer III | 35 basalt artifacts + 17 basalt nodules + 30 basalt nodules | # | # | # | 300 | 40 | 10ua | # | # | # | Yes | Obsidian calibration | # | # | # | 12mil Al, 1 mil Ti, 6 mil Cu
Panich (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Obsidian | United States (CA) | Bruker AXS Tracer III-SD | 1,020 obsidian artifacts | 0.3-1cm+ included, everything else excluded | Wet-screened | Varied | 180 | 40 | 30μA | 1 | # | # | Yes | Factory calibration | JMP software | # | # | Cu-Ti-Al filter
Panich et al. (2018) | 2018 | Experiment | Journal of Anthropological Archaeology | Obsidian | United States (CA) | Bruker AXS Tracer III-SD | 1,107 obsidian artifacts | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Papakosta et al. (2020) | 2020 | Experiment | Archaeometry | Clay objects | Sweden | Olympus Delta Premium DP-6000-CC | 28 potsherds | Selected from unusual aromatic compound sites | Powdered | # | 30, 30 | 40, 10 | # | 3 | Different spot on surface each time | Yes | Yes | # | Innov-X Delta software, Statistica 13 software | # | # | Not Bruker
Phillipps et al. (2016) | 2016 | Experiment | Journal of Anthropological Archaeology | Stone artifacts | New Zealand | Bruker Tracer III-SD | 27 obsidian artifacts | # | # | # | 200 | 40 | 30μA | 5 | # | # | Yes | Obsidian factory calibration | Bruker S1CalProcess | # | # | 12mil Al, 1 mil Ti | Averaged results
Pierce (2016) | 2016 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Mexico | Bruker Tracer III-SD | 740 artifacts | Attempted to represent internal variability | # | 2-30cm+ | 30 | 40 | # | # | # | # | Yes | Obsdian calibration | # | # | # | #
Pilloud et al. (2017) | 2017 | Experiment | Journal of Archaeological Science: Reports | Obsidian | United States (Great Basin) | Olympus Delta DP-6000 GeoChem analyzer | 677 obsidian artifacts | # | # | # | 60 | 10, 40 | # | # | # | # | Yes (cross-validated) | Innov-X calibration | PCA, DFA, SPSS 23.0 | # | # | Not Bruker
Quinn et al. (2021) | 2021 | Experiment | Archaeometry | Terracotta warriors | China | Olympus Innox-X Delta Premium | 28 statues | # | Cleaned with ethanol and a cotton swab |  | 120 | 40 | # | Several | In contact with object | Yes | Yes | Custom calibration | Bruker Artax software | # | # | Not Bruker
Rademakers & Rehren (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Crucibles | Egypt & Turkey | Innov-X Systems, DP 4000 | 95 samples | # | Cut from crucibles, mounted in epoxy, ground with diamond paste | # | 15 | 40 | # | 3 | Cleaned surfaces | # | # | # | # | # | # | Not Bruker
Reimer (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Canada | Bruker AXS Tracer III-V+ | 367 artifacts | Freshly broken | Cleaned with fresh water and dried | # | 180 | 40 | 13μA | # | # | # | Yes | Bruker calibration | S1CalProcess | # | External power source | 6mm Cu, 1mm Ti, 12 mm Al filter
Reimer (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Lithics | Canada (British Columbia) | Bruker AXS Tracer III-V+ | 885 samples | Association with 14C dates | # | # | 200 | 40 | 15μA | # | Clean and flat surface | # | Yes | S1PXRF | Bruker S1CalProcess | # | External power source | 6mm Cu, 1mm Ti, 12 mm Al filter
Richter et al. (2019) | 2019 | Experiment | Journal of Field Archaeology | Assorted | Jordan | NITON XL3 GOLDD+ | 23 minimum individuals | # | # | # | 120 | # |  | Multiple | # | Yes | Yes | Test all Geo | Standard Thermo Scientific Niton Data Transfer PC software suite set |  | # | Not Bruker | Averages
Rifkin et al. (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Stone plaques | Namibia (Apollo 11 Cave) | Bruker Tracer III SD portable ED-XRF | 7 plaques, 37 points | # | Removed dust | # | 120 | 15, 40 | 55μA, 10μA | # | # | # | Yes | # | Bruker & ARTAX software | # | # | No filter for first keV, 1mmAl & 1mm Ti filter for 2nd | Vacuum used, "this data was not obtained in controlled and reproducible conditions"
Rodríguez-Alegría et al. (2013) | 2013 | Experiment | Journal of Anthropological Archaeology | Ceramics & obsidian | Mexico | # | 103 samples | Stratified random sample | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Rouillon & Taylor (2016) | 2016 | Experiment | Environmental Pollution | Soil | Australia | Olympus Delta Premium XRF Analyzer | 75 samples | # | # | # | 60 | 50 | # | 5 | # | # | Yes | Custom calibration | # | # | # | Not Bruker
Roxburgh et al. (2019) | 2019 | Experiment | Archaeometry | Copper-alloy brooches | The Netherlands | Niton XL3t GOLDD | 187 brooches | # | Varied, cleaned some (testing efficacy) | # | 70 | 50, 10 | # | 1 | Front center or where fragment was used | No (scanned once) | Yes | Factory calibrated | # | 8mm | # | Not Bruker
Ruka et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Albania | Bruker Tracer III-V+ | 16 artifacts | # | # | # | 300 | 40 | 33μA | # | Flat, clean faces | # | # | Bruker calibration | Bruker software | # | # | 76μm Cu, 25μm Ti, 305μm Al
Saage & Wärmländer (2018) | 2018 | Experiment | Journal of Archaeological Science: Reports | Tools | Estonia | Bruker Tracer III-SD | 175 artifacts | # | # | # | 60+ | 40 | 10.7μA | # | Close to detector window/exterior side & rim | # | # | # | # | # | # | 305μm Al + 25 μm Ti
Sampietro-Vattuone et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Lithics | Argentina | Thermo Scientific Niton XL3t GOLDD | # | # | # | # | # | # | # | # | # | # | # | # | # | # | # | #
Scharlotta & Daniels (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Shell artifacts | United States (CA) | Bruker Tracer III-V | 17 samples | # | # | # | 180 | 40 | 18 micro amps | 3 | # | # | Yes | # | # | # | # | 50μm Al, 150μm Cu, 300μm Ti
Scharlotta & Quach (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Volcanic rocks | United States (CA) | Bruker Tracer III-V | 132 samples | # | # | # | 180 | 40 | 18 micro amps | # | # | # | Yes | Bruker calibration | # | # | # | 50μm Al, 150μm Cu, 300μm Ti
Scott et al. (2018) | 2018 | Experiment | Archaeometry | Cayo pottery | Grenada | Bruker Tracer III SD | 98 fragments | # | Not permitted to clean | # | 60 | 40 | 30μA | 2+ | Flat or convex surface | # | Yes | Bruker S1PXRF | Bruker Artax software | # | # | No filter
Serra et al. (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Menhirs (stone monoliths) | Italy | ASSING LITHOS 3000 spectrophotometer | 30 samples, 34 menhirs | 50cm^2 surface area and 3cm thick | Preparation forbidden by Superintendency | 50cm^2 surface area and 3cm thick | 600 | 25 | 150μA | 3 | Inner part of the lithic portion | # | # | # | ASSING LITHOS software, PyMCA 4.6.0 software | 5mm | # | Not Bruker | Averaged
Shalvi et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Pottery | Israel | Bruker Tracer III-V | 23 specimens | # | # | # | # | # | # | # | # | # | # | Bruker metals calibration | Rowe software | 4mm | # | #
Sheppard et al. (2010) | 2010 | Experiment | Journal of Archaeological Science | Obsidian | New Zealand | Innov-X Alpha | 434 samples | Covers the range of color and structure + references to increase sample size, more than 1g | # | # | 180, 180 | # | # | # | Face | # | Yes | Soil mode | LEAP package | # | Lithium ion batteries | Not Bruker | 180s w/ standard analysis and 180s w/ LEAP package
Shoval & Gilboa (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Israel | Bruker Tracer III-V | 14 ceramic bodies | # | # | # | 60 | 40 | 9mA | 5 (at least) | Where the paint was best preserved | # | # | # | Bruker HH Programs | 4mm | # | # | Uses a vacuum
Smith et al. (2011) | 2011 | Case study | Journal of Archaeological Science | Wooden shovel | United Kingdom | Bruker | 1 shovel | Well preserved specimen | None | 59.4cm long and 33.4 wide | 60 | 20.216 | # | 35 | Front and back, broken portions and handle | Yes | # | # | # | # | # | #
Sorresso & Quinn (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Pottery | United States (Mississippi) | Olympus Innox-X Delta Premium | 63 sherds | # | # | # | 120 | 40 | # | 2+ (averaged results) | # | # | Yes | In-house calibration | Bruker ARTAX software | # | # | 2 Al filter (not Bruker)
Speakman et al. (2011) | 2011 | Experiment | Journal of Archaeological Science | Pottery | American Southwest | Bruker Tracer III-V | 75 pottery sherds | Chemically distinct and clearly defines | Abraded, washed in deionized water, dried | # | 200, 200 | 40, 12 | 15μA | # | # | # | Yes | Obsidian calibration | # | 3mm | # | 0.076mm Cu, 0.0305mm Al | A study in provenancing not chemically identifying
Stapfer et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Ceramics | Switzerland, Germany, and France | Thermo Fisher Scientific Niton XL3t 950 GOLDD+ | 128 fragments | # | # | # | 360, 300 | # | 200μA | Repeated | Fresh fracture surfaces | No | # | Mining, soil, and alloy modes, readjusted mining mode for archaeometry | # | 8mm | # | Not Bruker | 360s for Mining Cu/Zn mode and 300s for TestAllGeo mode
Steiner et al. (2017) | 2017 | Experiment | Chemical Geology | Volcanic rocks | N/A | Bruker Tracer IV GEO® energy-dispersive pXRF | # | # | Milled for 2 min/rough polish | # | 240 | 45 | 25 μA | # | # | # | # | Bruker calibration | Bruker software | # | # | #
Stremtan et al. (2012) | 2012 | Experiment | Proceedings of the 39th International Symposium for Archaeometry | Ceramics | Kuwait | Bruker Tracer III-SD | # | Excluded glazed and painted sherds | Cleaned | # | # | # | # | # | Sampled inner and outer surfaces for an average comp. | # | # | # | # | # | # | #
Stroth et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Obsidian | Honduras | Bruker Tracer III-V | 355 artifacts | # | # | # | 180 | # | # | # | # | # | # | # | JMP software | # | # | #
Sureda el al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Sword | Mallorca | Olympus Vanta M X-ray | 1 sword | # | # | # | 40 | 50 | 0.2mA | # | # | # | # | Calibration with standards | Olympus software | 3mm
Theys et al. (2019) | 2019 | Experiment | Journal of Archaeological Science: Reports | Hornfels artifacts | Tasmania | Olympus DP4050 | 114 tools | Samples too small to cover window excluded, less weathering preferred | Gently cleaned | # | 90 | # | # | 3 | On the flattest surface | # | Yes | Soil mode | JMP software | # | Lithium ion battery | Not Bruker
Toffolo et al. (2013) | 2013 | Experiment | Journal of Archaeological Science | Faience beads | Israel | Bruker Tracer III-V | 5697 beads | # | # | # | 60 | 40, 15 | 22μA, 30.5μA | 2 | # | # | # | # | S1PXRF software | # | # | Al-Ti filter, no filter
Towett et al. (2015) | 2015 | Experiment | X-Ray Spectrometry Wiley Online Library | Plants | # | Bruker III Tracer SD | # | # | Washed with tap water, rinsed with deionized water, 60C oven for 3 days, then milled | # | 180 | 15 | 25μA | # | # | # | Yes | Custom calibration | Bruker Spectra software | # | # | #
Triantafyllou et al. (2021) | 2021 | Experiment | Journal of Archaeological Science | Igneous rocks | Corsica | Bruker Tracer IV | 5 granitoids | Freshness and variability | Cleaned with methanol, drawn grid | # | # | 45 | 30μA | # | # | # | Yes | Soil calibration method | S1PXRF software | 8 x 10 mm | # | No filter
Vettor et al. (2021) | 2021 | Experiment | Archaeometry | Marbles | Greece | Niton XL3 | 22 samples | # | # | # | 120 | 50 | 40μA | # | # | # | Yes | Cu/Zn mining mode | # | 8mm | # | Not Bruker
Vogel et al. (2015) | 2015 | Experiment | Journal of Archaeological Science: Reports | Lead | Peru | Bruker Tracer III-V+ | 82 units | # | Dry sifted artifacts | # | 120 | 40 | 3.5μA | 2 | Top and bottom sides | Yes | Yes | # | Bruker SPXRF software | # | # | 1 mil Ti, 12 mil Al
Wallace et al. (2021) | 2021 | Analysis | Archaeometry | Copper-alloy assemblages | # | Bruker Tracer III SD | # | # | # | # | 200 | 40 | 11μA | # | # | # | Yes | Calibrated to standards | Bruker pXRF software | 5x7mm | # | 0.001 'Ti, 0.012' Al
Williams et al. (2020) | 2020 | Analysis | Archaeometry | Soil | Assorted | Thermo Niton Xl3t GOLDD+ | # | # | Varied, see page 7 of paper for all preperation methods | Varied | 240 | 50, 20, 50, 6 | ≤ 50, 100, 40, 200 μA | 3 | # | # | Yes | Mining mode | # | # | Battery | #
Williams et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Soil | United Kingdom | Thermo Niton XL3t GOLDD + | 60 samples | Sample grid | Dried, homogenized, sieved | # | 30, 30, 30, 60 | 50, 20, 50, 6 | 50, 100, 40, 200μA | 3 | # | # | Yes | Mining setting | # | # | # | Not Bruker
Williams-Thorpe et al. (1999) | 1999 | Experiment | Journal of Archaeological Science | Stone axes | United Kingdom | Spectrace TN9000 | 19 samples | Smooth surface and composition | "Sample preparation is not possible" | # | Less than 360s | 200 | # | Yes | Varied | # | Yes | # | Manufacturer software | # | Batteries | Not Bruker
Williams-Thorpe et al. (2002) | 2002 | Experiment | Journal of Archaeological Science | Stone axes & shaft hole implements | United Kingdom | Spectrace TN9000 | 44 total measurements | Avalibility and distribution | # | # | 240s or 170s | # | # | 2022-02-03 | # | # | Yes | Assessed from internal standard | # | # | # | Not Bruker
Williams-Thorpe et al. (2003) | 2003 | Experiment | Antiquity | Bluestone axe-heads | United Kingdom | # | 23 objects |  | Wiping down w/ deionized water to remove dirt/dust | # | 340 | # | # | 2022-05-10 | Freshest looking implement surfaces | # | # | # | # | # | # | #
Workman et al. (2021) | 2021 | Experiment | Journal of Archaeological Science: Reports | Iron | Israel | Thermo Scientific Niton XL3t 955 Ultra pXRF | 26 (based on table) | # | Ground & homogenized | # | # | # | # | 2 | Base ceramic layer and on vitrified layer | Yes | # | Built in mining calibration | # | # | # | Not Bruker
Worthing et al. (2017) | 2017 | Experiment | Archaeometry | Lava paving stones | Italy | Niton Xlt 792 MZ | 306 stones | Collected | Washed and dried | # | # | 40 | # | # | # | # | Yes | Factory calibrated | MinPet software | 2cm^2 | # | Silver filter, not Bruker
Worthing et al. (2018) | 2018 | Experiment | Archaeometry | Lava paving stones | Italy | Niton XL3t 950 | 355 analyses | # | Cleaned | Supplementary data | 120 | # | # | # | # | # | Yes | Calibrated to standards | MinPet software | 2cm^2 | # | #
Xiao et al. (2020) | 2020 | Experiment | Journal of Archaeological Science: Reports | Brass | China | Bruker Tracer 5i portable | 25 samples (3 pXRF, 22 SEM) | # | # | # | 90 | 40 | 40μA | # | On corroded surfaces | # | # | # | # | 0.8mm | # | #
Xu et al. (2019) | 2019 | Experiment | Journal of Archaeological Science | Porcelains | Java Sea Shipwreck | Thermo Niton XL3t GOLDD + | 60 samples | Flat & unglazed sections | # | # | 120 | 40 | 100μA | # | # | # | Yes | Test All Geo mode | # | # | # | Not Bruker
Yener et al. (2015) | 2015 | Experiment | Antiquity | Tin | Northern Africa | # | 8 samples (based on table) | # | # | # | # | # | # | # | # | # | # | Internal calibration | # | # | # | #