**Appendix 1: Fit test data collection form**

|  |
| --- |
| **1.** Was the staff member clean shaven? Yes      No, stubble/light/close beard        No, full beard |

**\*NOTE:** The 3M Aura 1870+ are only to be used for fit testing (not clinical use)

Respirators should be tested in the order below as those listed first are in higher supply (or have a higher potential of supply) across the state.

The fit test should stop once the individual has achieved a pass on **three different models** (not including the 3M Aura 1870+).

In cases where it is obvious that a respirator will not fit the individual (e.g. it falls off the face), commence the test and allow the mask to fail so that it will be recorded as a failed fit test.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Order** | **Mask** | **Seal Achieved?**= Yes = No | **Fit Achieved?**= Yes = No | **Fit Factor and Comments** | **Fit Tester Initials** |
| 1.   | BYD DE2322 |   |   |   |   |
| 2.   | 3M Aura 1870+\* |   |   |   |   |
| 3.   | 3M Aura 9320A+ |   |   |   |   |
| 4.   | Halyard 46727 (Regular) |   |   |   |   |
| 5.   | Industree Trident P2 |   |   |   |   |
| 6.   | 3M 1860 (Regular) |   |   |   |   |
| 7.   | BSN 72509-10 (Regular) |   |   |   |   |
| 8.   | Halyard 46827 (Small) |   |   |   |   |
| 9.   | 3M 1860s (Small) |   |   |   |   |
| 10.    | BSN 72509-09 (Small) |   |   |   |   |

 Last updated: 01\_Eastern Health Consent - Fit Testing (updated based on DHHS changes)\_20210503