GEOLOGICAL MAGAZINE

Torellian (c. 640<5>Ma) metamorphic overprint of the Tonian (c. 950 Ma) basement in the Caledonides of southwestern Svalbard

JAROSŁAW MAJKA, YARON BE’ERI-SHLEVIN, DAVID G. GEE, JERZY CZERNY, DIRK FREI & ANNA LADENBERGER

SUPPLEMENTARY MATERIAL

Table S1. LA-SF-ICP-MS U–Th–Pb dating methodology GEUS, Copenhagen

| Laboratory & Sample Preparation |  |
| --- | --- |
| Laboratory name | Geological Survey of Denmark and Greenland (GEUS) |
| Sample type / mineral | Magmatic zircons |
| Sample preparation | Conventional mineral separation, 1 inch resin mount, 1 µm polish to finish |
| Imaging | CL, Hitachi S-4300 SEM |
| Laser ablation system |  |
| Make, Model & type | ESI/New Wave Research, UP213, Nd:YAG |
| Ablation cell & volume | Custom build low volume cell, volume ca.3 cm3 |
| Laser wavelength | 213 nm |
| Pulse width | 3 ns |
| Fluence | 2.5 J/cm-2 |
| Repetition rate | 10 Hz |
| Spot size | 30 µm |
| Sampling mode / pattern | 30 µm single spot analyses |
| Carrier gas | 100% He, Ar make-up gas combined using a T-connector close to sample cell |
| Pre-ablation laser warm-up (background collection) | 30 seconds |
| Ablation duration | 30 seconds |
| Wash-out delay | 30 seconds |
| Cell carrier gas flow | 0.3 l/min He |
| ICP-MS Instrument |  |
| Make, Model & type | Thermo Finnigan Element2 single collector HR-SF-ICP-MS |
| Sample introduction | Via conventional tubing |
| RF power | 1100 W |
| Make-up gas flow | 1.0 l/min Ar |
| Detection system | Single collector secondary electron multiplier |
| Masses measured | 202, 204, 206, 207, 208, 232, 233, 235, 238 |
| Integration time per peak | 4 ms |
| Total integration time per reading | Approx. 1 sec |
| Sensitivity | 20000 cps/ppm Pb |
| Dead time | 16 ns |
| Data Processing |  |
| Gas blank | 30 second on-peak |
| Calibration strategy | GJ-1 used as primary reference material, Plešovice & M127 used as secondary reference material (Quality Control) |
| Reference Material info | M127 (Nasdala et al. 2008; Mattey 2010) Plešovice (Slama et al. 2008) GJ-1 (Jackson et al. 2004) |
| Data processing package used / Correction for LIEF | In-house spreadsheet data processing using intercept method for LIEF correction |
| Mass discrimination | Standard-sample bracketing with 207Pb/206Pb and 206Pb/238U normalized to reference material GJ-1 |
| Common-Pb correction, composition and uncertainty | 204-method, Stacey & Kramers (1975) composition at the projected age of the mineral, 5% uncertainty assigned |
| Uncertainty level & propagation | Ages are quoted at 2 sigma absolute, propagation is by quadratic addition. Reproducibility and age uncertainty of reference material and common-Pb composition uncertainty are propagated. |
| Quality control / Validation | Plešovice: Wtd ave 206Pb/238U age = 338 ± 4 (2SD, MSWD = 0.2) M127: Wtd ave 206Pb/238U age = 522 ± 5 (2SD, MSWD = 0.8) |
| Other information | Detailed method description reported by Frei & Gerdes (2009) |

| Table S2. LA-SF-ICP-MS U-Th-Pb data |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Ratios |  |  |  |  |  |  |  |  | Age |  |  |  |
| Analysis | Commenta | U (ppm) | Pb (ppm) | Th/Ucalc | Th/Umeas. | 207Pb/235U | ±2s | 206Pb/238U | ±2s | Rho | 207Pb/206Pb | ±2s | Conc. %b | 207Pb/235U | ±2s | 206Pb/238U | ±2s | 207Pb/206Pb | ±2s |
| Augen-gneiss SLV-145 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Zircon_sample-007 | Zoned core- Mag. | 77 | 12 | 0.42 | 0.43 | 1.50 | 0.07 | 0.154 | 0.004 | 0.55 | 0.071 | 0.003 | 98 | 932 | 30 | 925 | 24 | 947 | 85 |
| Zircon_sample-008 | Mixed zone | 185 | 22 | 0.27 | 0.29 | 1.15 | 0.04 | 0.118 | 0.004 | 0.85 | 0.071 | 0.001 | 76 | 778 | 21 | 720 | 22 | 946 | 41 |
| Zircon_sample-009 | Zoned dark core- Mag | 394 | 50 | 0.11 | 0.11 | 1.22 | 0.09 | 0.126 | 0.009 | 0.95 | 0.070 | 0.002 | 81 | 812 | 41 | 766 | 51 | 941 | 46 |
| Zircon_sample-010 | Mixed zone | 161 | 34 | 0.35 | 0.32 | 2.45 | 0.13 | 0.212 | 0.010 | 0.85 | 0.084 | 0.002 | 96 | 1258 | 39 | 1239 | 52 | 1290 | 55 |
| Zircon_sample-011 | Mixed zone | 434 | 85 | 0.30 | 0.31 | 2.36 | 0.09 | 0.195 | 0.006 | 0.85 | 0.088 | 0.002 | 84 | 1229 | 27 | 1150 | 33 | 1372 | 38 |
| Zircon_sample-012 | Zoned dark core- Mag | 309 | 46 | 0.40 | 0.43 | 1.48 | 0.04 | 0.151 | 0.003 | 0.72 | 0.071 | 0.001 | 93 | 922 | 15 | 904 | 15 | 967 | 36 |
| Zircon_sample-013 | Mixed zone | 212 | 32 | 0.39 | 0.40 | 1.50 | 0.03 | 0.153 | 0.002 | 0.53 | 0.071 | 0.001 | 94 | 932 | 13 | 915 | 10 | 970 | 37 |
| Zircon_sample-014 | Mixed zone | 262 | 48 | 0.12 | 0.12 | 1.91 | 0.12 | 0.183 | 0.005 | 0.45 | 0.076 | 0.004 | 100 | 1083 | 41 | 1083 | 27 | 1084 | 109 |
| Zircon_sample-015 | Bright rim | 39 | 4 | 0.01 | 0.01 | 0.94 | 0.06 | 0.107 | 0.003 | 0.51 | 0.063 | 0.003 | 91 | 672 | 30 | 658 | 19 | 722 | 111 |
| Zircon_sample-016 | Zoned core- Mag. | 134 | 20 | 0.54 | 0.55 | 1.49 | 0.04 | 0.152 | 0.003 | 0.61 | 0.071 | 0.002 | 94 | 927 | 18 | 910 | 15 | 967 | 48 |
| Zircon_sample-020 | Mixed zone | 30 | 4 | 0.02 | 0.02 | 1.05 | 0.08 | 0.120 | 0.005 | 0.55 | 0.063 | 0.004 | 101 | 727 | 39 | 729 | 28 | 720 | 133 |
| Zircon_sample-021 | Zoned core- Mag. | 216 | 32 | 0.66 | 0.63 | 1.45 | 0.05 | 0.150 | 0.003 | 0.51 | 0.070 | 0.002 | 96 | 910 | 20 | 898 | 14 | 939 | 57 |
| Zircon_sample-022 | Mixed zone | 470 | 64 | 0.06 | 0.06 | 1.32 | 0.04 | 0.137 | 0.003 | 0.89 | 0.070 | 0.001 | 89 | 855 | 16 | 827 | 19 | 928 | 26 |
| Zircon_sample-023 | Mixed zone | 404 | 56 | 0.10 | 0.11 | 1.34 | 0.05 | 0.138 | 0.004 | 0.83 | 0.070 | 0.001 | 89 | 863 | 20 | 835 | 23 | 936 | 40 |
| Zircon_sample-024 | Zoned dark core- Mag | 193 | 30 | 0.33 | 0.30 | 1.51 | 0.04 | 0.156 | 0.003 | 0.68 | 0.070 | 0.001 | 100 | 936 | 16 | 935 | 16 | 938 | 40 |
| Zircon_sample-025 | Mixed zone | 546 | 89 | 0.16 | 0.12 | 1.60 | 0.14 | 0.162 | 0.012 | 0.89 | 0.072 | 0.003 | 100 | 970 | 54 | 969 | 69 | 972 | 80 |
| Zircon_sample-026 | Bright rim | 396 | 44 | 0.20 | 0.20 | 1.09 | 0.07 | 0.112 | 0.007 | 0.95 | 0.070 | 0.002 | 73 | 748 | 36 | 686 | 42 | 940 | 44 |
| Zircon_sample-027 | Zoned core- Mag. | 82 | 13 | 0.66 | 0.65 | 1.54 | 0.06 | 0.157 | 0.003 | 0.50 | 0.071 | 0.002 | 98 | 946 | 22 | 941 | 16 | 956 | 64 |
| Zircon_sample-028 | Mixed zone | 313 | 47 | 0.12 | 0.12 | 1.47 | 0.03 | 0.151 | 0.002 | 0.64 | 0.071 | 0.001 | 96 | 919 | 12 | 907 | 11 | 947 | 31 |
| Zircon_sample-029 | Inner core- Xen. | 537 | 99 | 0.38 | 0.37 | 1.96 | 0.03 | 0.184 | 0.003 | 0.77 | 0.077 | 0.001 | 97 | 1101 | 12 | 1091 | 14 | 1121 | 23 |
| Zircon_sample-033 | Zoned core- Mag. | 241 | 37 | 0.86 | 0.87 | 1.49 | 0.04 | 0.153 | 0.002 | 0.47 | 0.071 | 0.001 | 97 | 927 | 14 | 919 | 9 | 946 | 43 |
| Zircon_sample-034 | Zoned dark core- Mag | 195 | 30 | 0.69 | 0.72 | 1.50 | 0.07 | 0.156 | 0.004 | 0.60 | 0.070 | 0.002 | 100 | 931 | 26 | 933 | 23 | 929 | 71 |
| Zircon_sample-035 | Bright core | 34 | 3 | 0.06 | 0.04 | 0.89 | 0.08 | 0.096 | 0.004 | 0.52 | 0.067 | 0.005 | 69 | 647 | 43 | 590 | 26 | 850 | 158 |
| Zircon_sample-037 | Bright rim; bad signal | 32 | 3 | 0.02 | 0.02 | 0.96 | 0.06 | 0.107 | 0.003 | 0.36 | 0.065 | 0.004 | 84 | 684 | 33 | 655 | 15 | 780 | 129 |
| Zircon_sample-038 | Mixed zone | 301 | 34 | 0.24 | 0.23 | 1.08 | 0.13 | 0.113 | 0.013 | 0.98 | 0.069 | 0.002 | 76 | 745 | 61 | 693 | 74 | 906 | 50 |
| Zircon_sample-039 | Mixed zone | 228 | 34 | 0.40 | 0.31 | 1.48 | 0.11 | 0.151 | 0.008 | 0.66 | 0.071 | 0.004 | 93 | 924 | 46 | 904 | 43 | 970 | 117 |
| Zircon_sample-040 | Zoned core- Mag. | 71 | 11 | 0.46 | 0.47 | 1.58 | 0.05 | 0.161 | 0.003 | 0.62 | 0.071 | 0.002 | 100 | 963 | 21 | 962 | 18 | 963 | 53 |
| Zircon_sample-041 | Mixed zone | 166 | 25 | 0.40 | 0.41 | 1.46 | 0.09 | 0.150 | 0.006 | 0.60 | 0.070 | 0.004 | 96 | 913 | 39 | 903 | 32 | 937 | 105 |
| Zircon_sample-042 | Mixed zone | 126 | 19 | 0.28 | 0.39 | 1.48 | 0.05 | 0.152 | 0.003 | 0.66 | 0.071 | 0.002 | 96 | 921 | 21 | 909 | 19 | 950 | 54 |
| Zircon_sample-046 | Zoned dark core- Mag | 305 | 47 | 0.63 | 0.55 | 1.53 | 0.13 | 0.155 | 0.014 | 0.99 | 0.071 | 0.001 | 96 | 942 | 54 | 930 | 75 | 971 | 21 |
| Zircon_Sample-047 | Zoned core- Mag. | 220 | 33 | 0.52 | 0.56 | 1.51 | 0.06 | 0.152 | 0.006 | 0.88 | 0.072 | 0.001 | 92 | 936 | 26 | 914 | 32 | 989 | 42 |
| Zircon_Sample-048 | Mixed zone;bad signal | 27 | 4 | 0.14 | 0.11 | 1.57 | 0.11 | 0.157 | 0.004 | 0.40 | 0.073 | 0.004 | 93 | 958 | 42 | 938 | 24 | 1006 | 125 |
| Zircon_Sample-049 | Mixed zone | 250 | 38 | 0.39 | 0.42 | 1.52 | 0.04 | 0.154 | 0.004 | 0.88 | 0.072 | 0.001 | 95 | 939 | 17 | 924 | 21 | 975 | 28 |
| Zircon_Sample-050 | Blurred core; bad Pb-Pb | 11 | 1 | 0.02 | 0.04 | 1.17 | 0.14 | 0.123 | 0.011 | 0.76 | 0.069 | 0.005 | 83 | 789 | 64 | 748 | 63 | 906 | 157 |
| Zircon_Sample-051 | Mixed zone | 194 | 29 | 0.25 | 0.25 | 1.42 | 0.03 | 0.147 | 0.002 | 0.72 | 0.070 | 0.001 | 94 | 899 | 11 | 884 | 11 | 938 | 26 |
| Zircon_Sample-052 | Mixed zone | 150 | 21 | 0.04 | 0.04 | 1.36 | 0.08 | 0.140 | 0.008 | 0.91 | 0.070 | 0.002 | 91 | 870 | 35 | 846 | 43 | 931 | 51 |
| Zircon_Sample-053 | Mixed zone | 336 | 93 | 0.23 | 0.24 | 3.96 | 0.24 | 0.277 | 0.015 | 0.89 | 0.104 | 0.003 | 93 | 1626 | 49 | 1576 | 75 | 1690 | 50 |
| Zircon_Sample-054 | Blurred core; bad Pb-Pb | 12 | 2 | 0.01 | 0.02 | 1.23 | 0.17 | 0.130 | 0.010 | 0.53 | 0.069 | 0.008 | 89 | 815 | 79 | 790 | 55 | 884 | 246 |
| Zircon_Sample-055 | Mixed zone | 113 | 15 | 0.21 | 0.22 | 1.26 | 0.05 | 0.133 | 0.003 | 0.60 | 0.069 | 0.002 | 90 | 826 | 21 | 803 | 17 | 888 | 63 |
| Zircon_Sample-059 | Mixed zone | 380 | 73 | 0.37 | 0.37 | 2.19 | 0.04 | 0.192 | 0.002 | 0.68 | 0.083 | 0.001 | 90 | 1178 | 12 | 1135 | 12 | 1259 | 24 |
| Zircon_Sample-060 | Mixed zone | 127 | 19 | 0.10 | 0.10 | 1.43 | 0.05 | 0.150 | 0.002 | 0.42 | 0.069 | 0.002 | 100 | 901 | 23 | 901 | 13 | 900 | 71 |
| Zircon_Sample-061 | Zoned core- Mag. | 314 | 51 | 0.42 | 0.38 | 1.63 | 0.06 | 0.161 | 0.003 | 0.43 | 0.073 | 0.002 | 94 | 982 | 23 | 963 | 14 | 1023 | 67 |
| Zircon_Sample-062 | Inner core- Xen. | 56 | 11 | 0.42 | 0.44 | 2.13 | 0.07 | 0.195 | 0.004 | 0.57 | 0.079 | 0.002 | 97 | 1159 | 23 | 1147 | 20 | 1182 | 54 |
| Zircon_Sample-063 | Zoned core- Mag. | 230 | 33 | 0.38 | 0.29 | 1.41 | 0.12 | 0.145 | 0.011 | 0.86 | 0.070 | 0.003 | 93 | 894 | 50 | 875 | 59 | 942 | 88 |
| Zircon_Sample-064 | Mixed zone; short signal | 379 | 50 | 0.36 | 0.30 | 1.29 | 0.05 | 0.133 | 0.005 | 0.95 | 0.071 | 0.001 | 85 | 842 | 23 | 803 | 29 | 947 | 26 |
| Zircon_Sample-065 | Zoned dark core- Mag | 613 | 94 | 0.29 | 0.29 | 1.51 | 0.04 | 0.154 | 0.003 | 0.70 | 0.071 | 0.001 | 96 | 934 | 16 | 923 | 16 | 958 | 39 |
| Zircon_Sample-066 | Zoned core- Mag. | 97 | 15 | 0.50 | 0.50 | 1.58 | 0.06 | 0.158 | 0.003 | 0.47 | 0.072 | 0.003 | 95 | 961 | 25 | 945 | 17 | 998 | 73 |
| Zircon_Sample-067 | Zoned dark core- Mag | 183 | 26 | 0.18 | 0.20 | 1.33 | 0.06 | 0.140 | 0.005 | 0.84 | 0.069 | 0.002 | 93 | 860 | 26 | 842 | 29 | 904 | 49 |
| Zircon_Sample-068 | Mixed zone | 50 | 6 | 0.03 | 0.03 | 1.10 | 0.06 | 0.123 | 0.003 | 0.45 | 0.065 | 0.003 | 97 | 754 | 29 | 749 | 17 | 769 | 102 |
| Zircon_Sample-072 | Mixed zone | 92 | 14 | 0.38 | 0.38 | 1.51 | 0.06 | 0.154 | 0.004 | 0.61 | 0.071 | 0.002 | 96 | 934 | 24 | 922 | 20 | 960 | 62 |
| Zircon_Sample-073 | Mixed zone | 133 | 20 | 0.37 | 0.37 | 1.48 | 0.08 | 0.154 | 0.004 | 0.47 | 0.070 | 0.003 | 101 | 921 | 32 | 923 | 21 | 914 | 96 |
| Zircon_Sample-074 | Zoned core- Mag. | 79 | 12 | 0.67 | 0.67 | 1.48 | 0.05 | 0.153 | 0.003 | 0.49 | 0.070 | 0.002 | 99 | 922 | 21 | 918 | 15 | 930 | 63 |
| Zircon_Sample-075 | Mixed zone | 130 | 18 | 0.31 | 0.32 | 1.31 | 0.05 | 0.138 | 0.003 | 0.65 | 0.069 | 0.002 | 92 | 852 | 20 | 833 | 18 | 902 | 55 |
| Zircon_Sample-076 | Zoned dark core- Mag | 205 | 31 | 0.72 | 0.75 | 1.46 | 0.06 | 0.152 | 0.004 | 0.58 | 0.070 | 0.002 | 99 | 913 | 25 | 910 | 21 | 920 | 70 |
| Zircon_Sample-077 | Zoned dark core- Mag | 342 | 44 | 0.35 | 0.33 | 1.31 | 0.06 | 0.129 | 0.006 | 0.89 | 0.074 | 0.002 | 75 | 849 | 28 | 780 | 32 | 1035 | 45 |
| Zircon_Sample-078 | Mixed zone | 236 | 35 | 0.05 | 0.05 | 1.46 | 0.03 | 0.150 | 0.002 | 0.58 | 0.070 | 0.001 | 96 | 913 | 14 | 903 | 12 | 937 | 40 |
| Zircon_Sample-079 | Mixed zone | 234 | 35 | 0.26 | 0.27 | 1.46 | 0.04 | 0.149 | 0.003 | 0.84 | 0.071 | 0.001 | 95 | 912 | 17 | 898 | 19 | 947 | 30 |
| Zircon_Sample-080 | Zoned dark core- Mag | 144 | 23 | 0.76 | 0.75 | 1.54 | 0.03 | 0.158 | 0.002 | 0.61 | 0.071 | 0.001 | 100 | 947 | 14 | 946 | 12 | 949 | 36 |
| Zircon_Sample-081 | Mixed zone | 118 | 19 | 0.53 | 0.55 | 1.57 | 0.05 | 0.161 | 0.003 | 0.51 | 0.071 | 0.002 | 100 | 960 | 21 | 960 | 16 | 960 | 59 |
| Zircon_Sample-085 | Zoned dark core- Mag | 404 | 61 | 0.22 | 0.22 | 1.50 | 0.03 | 0.152 | 0.002 | 0.78 | 0.071 | 0.001 | 95 | 929 | 10 | 913 | 11 | 966 | 21 |
| Zircon_Sample-086 | Zoned core- Mag. | 275 | 39 | 0.50 | 0.42 | 1.37 | 0.07 | 0.142 | 0.005 | 0.73 | 0.070 | 0.002 | 92 | 876 | 30 | 856 | 30 | 926 | 72 |
| Zircon_Sample-087 | Mixed zone | 105 | 17 | 0.42 | 0.40 | 1.60 | 0.06 | 0.162 | 0.003 | 0.57 | 0.072 | 0.002 | 99 | 969 | 22 | 966 | 18 | 975 | 59 |
| Zircon_Sample-088 | Zoned core- Mag. | 142 | 22 | 0.59 | 0.64 | 1.49 | 0.05 | 0.151 | 0.004 | 0.76 | 0.071 | 0.002 | 94 | 926 | 20 | 909 | 21 | 966 | 43 |
| Zircon_Sample-089 | Zoned dark core- Mag | 184 | 28 | 0.32 | 0.32 | 1.51 | 0.04 | 0.154 | 0.002 | 0.64 | 0.071 | 0.001 | 96 | 933 | 15 | 923 | 14 | 958 | 39 |
| Zircon_Sample-090 | Mixed zone | 111 | 17 | 0.62 | 0.64 | 1.46 | 0.06 | 0.151 | 0.004 | 0.63 | 0.070 | 0.002 | 98 | 915 | 23 | 908 | 20 | 931 | 62 |
| Zircon_Sample-091 | Bright rim | 27 | 3 | 0.02 | 0.02 | 0.97 | 0.05 | 0.113 | 0.004 | 0.71 | 0.062 | 0.002 | 102 | 689 | 27 | 692 | 25 | 678 | 80 |
| Zircon_Sample-092 | Bright rim | 32 | 4 | 0.03 | 0.03 | 1.09 | 0.03 | 0.114 | 0.003 | 0.84 | 0.069 | 0.001 | 77 | 750 | 14 | 699 | 15 | 907 | 30 |
| Zircon_Sample-093 | Mixed zone | 38 | 4 | 0.03 | 0.03 | 1.03 | 0.05 | 0.117 | 0.004 | 0.62 | 0.064 | 0.003 | 98 | 719 | 26 | 715 | 22 | 731 | 85 |
| Zircon_Sample-094 | Zoned core- Mag. | 41 | 5 | 0.01 | 0.01 | 1.01 | 0.06 | 0.112 | 0.003 | 0.49 | 0.065 | 0.003 | 88 | 710 | 30 | 687 | 19 | 784 | 108 |
| Zircon_Sample-098 | Zoned core- Mag. | 310 | 48 | 0.17 | 0.13 | 1.52 | 0.08 | 0.156 | 0.006 | 0.79 | 0.071 | 0.002 | 99 | 938 | 31 | 935 | 35 | 943 | 64 |
| Zircon_Sample-099 | Zoned core- Mag. | 165 | 26 | 0.57 | 0.58 | 1.55 | 0.05 | 0.156 | 0.004 | 0.77 | 0.072 | 0.001 | 96 | 950 | 18 | 937 | 20 | 980 | 38 |
| Zircon_Sample-100 | Zoned dark core- Mag | 286 | 44 | 0.14 | 0.14 | 1.51 | 0.04 | 0.153 | 0.003 | 0.79 | 0.071 | 0.001 | 95 | 933 | 16 | 918 | 18 | 967 | 34 |
| Zircon_Sample-101 | Zoned core- Mag. | 112 | 17 | 0.70 | 0.71 | 1.53 | 0.06 | 0.156 | 0.004 | 0.77 | 0.071 | 0.002 | 97 | 941 | 23 | 932 | 25 | 962 | 49 |
| Zircon_Sample-102 | Zoned core- Mag. | 139 | 22 | 0.35 | 0.34 | 1.58 | 0.06 | 0.157 | 0.004 | 0.64 | 0.073 | 0.002 | 92 | 963 | 22 | 939 | 20 | 1018 | 55 |
| Zircon_Sample-103 | Zoned core- Mag. | 97 | 15 | 0.46 | 0.45 | 1.48 | 0.06 | 0.154 | 0.003 | 0.44 | 0.070 | 0.003 | 99 | 924 | 26 | 922 | 16 | 930 | 78 |
| Zircon_Sample-106 | Zoned dark core- Mag | 473 | 73 | 0.38 | 0.47 | 1.50 | 0.04 | 0.153 | 0.003 | 0.70 | 0.071 | 0.001 | 96 | 932 | 15 | 920 | 15 | 960 | 37 |
| Zircon_Sample-107 | Bright rim | 34 | 4 | 0.01 | 0.01 | 0.96 | 0.05 | 0.111 | 0.003 | 0.55 | 0.063 | 0.003 | 97 | 681 | 28 | 676 | 20 | 698 | 101 |
| Zircon_Sample-111 | Zoned core- Mag. | 75 | 11 | 0.44 | 0.44 | 1.23 | 0.05 | 0.153 | 0.003 | 0.60 | 0.058 | 0.002 | 169 | 816 | 21 | 919 | 19 | 543 | 65 |
| Zircon_Sample-112 | Mixed zone | 49 | 8 | 0.40 | 0.42 | 1.52 | 0.09 | 0.160 | 0.005 | 0.55 | 0.069 | 0.003 | 105 | 940 | 36 | 954 | 29 | 905 | 101 |
| Zircon_Sample-113 | Zoned dark core- Mag | 414 | 63 | 0.33 | 0.33 | 1.49 | 0.03 | 0.153 | 0.002 | 0.67 | 0.071 | 0.001 | 96 | 928 | 14 | 917 | 13 | 954 | 34 |
| Zircon_Sample-114 | Zoned dark core- Mag | 246 | 38 | 0.89 | 0.87 | 1.50 | 0.04 | 0.154 | 0.002 | 0.43 | 0.071 | 0.002 | 97 | 932 | 15 | 923 | 9 | 952 | 44 |
| Zircon_Sample-115 | Bright rim | 515 | 35 | 0.12 | 0.10 | 0.64 | 0.04 | 0.067 | 0.004 | 0.90 | 0.069 | 0.002 | 46 | 502 | 27 | 419 | 25 | 902 | 63 |
| Zircon_Sample-116 | Bright rim | 54 | 6 | 0.11 | 0.25 | 1.05 | 0.07 | 0.113 | 0.006 | 0.75 | 0.068 | 0.003 | 81 | 731 | 35 | 692 | 33 | 854 | 91 |
| Zircon_Sample-117 | Mixed zone | 140 | 23 | 0.25 | 0.24 | 1.61 | 0.07 | 0.161 | 0.004 | 0.65 | 0.073 | 0.002 | 96 | 976 | 26 | 965 | 24 | 1001 | 63 |
| Zircon_Sample-118 | Zoned dark core- Mag | 125 | 19 | 0.67 | 0.68 | 1.51 | 0.05 | 0.154 | 0.004 | 0.68 | 0.071 | 0.002 | 97 | 934 | 21 | 926 | 20 | 955 | 53 |
| Zircon_Sample-119 | Zoned dark core- Mag | 207 | 32 | 0.69 | 0.69 | 1.52 | 0.04 | 0.156 | 0.003 | 0.62 | 0.071 | 0.001 | 98 | 940 | 16 | 934 | 15 | 954 | 43 |
| Zircon_Sample-120 | Mixed zone | 147 | 23 | 0.05 | 0.05 | 1.52 | 0.08 | 0.155 | 0.007 | 0.87 | 0.071 | 0.002 | 96 | 940 | 34 | 929 | 41 | 964 | 56 |
| Zircon_Sample-124 | Mixed zone | 75 | 11 | 0.28 | 0.30 | 1.44 | 0.07 | 0.146 | 0.006 | 0.82 | 0.071 | 0.002 | 91 | 904 | 31 | 878 | 35 | 967 | 61 |
| Zircon_Sample-125 | Zoned dark core- Mag | 188 | 29 | 0.56 | 0.56 | 1.53 | 0.06 | 0.155 | 0.004 | 0.60 | 0.072 | 0.002 | 94 | 944 | 26 | 926 | 22 | 986 | 68 |
| Zircon_Sample-126 | Mixed zone | 164 | 25 | 0.39 | 0.38 | 1.49 | 0.05 | 0.153 | 0.004 | 0.75 | 0.071 | 0.002 | 97 | 926 | 20 | 917 | 21 | 947 | 44 |
| Zircon_Sample-127 | Zoned core- Mag. | 92 | 15 | 0.67 | 0.67 | 1.69 | 0.12 | 0.165 | 0.004 | 0.38 | 0.074 | 0.005 | 94 | 1003 | 45 | 984 | 24 | 1046 | 132 |
| Zircon_Sample-128 | Mixed zone | 594 | 84 | 0.35 | 0.35 | 1.38 | 0.05 | 0.142 | 0.005 | 0.83 | 0.071 | 0.002 | 91 | 882 | 23 | 857 | 26 | 947 | 45 |
| Zircon_Sample-129 | Mixed zone; bad signal | 30 | 4 | 0.00 | 0.01 | 1.13 | 0.11 | 0.123 | 0.007 | 0.60 | 0.067 | 0.005 | 90 | 768 | 50 | 748 | 39 | 827 | 156 |
| Zircon_Sample-130 | Inner core- Xen. | 258 | 44 | 0.27 | 0.27 | 1.77 | 0.06 | 0.172 | 0.005 | 0.84 | 0.075 | 0.001 | 96 | 1036 | 21 | 1023 | 26 | 1064 | 35 |
| Zircon_Sample-131 | Mixed zone | 246 | 36 | 0.66 | 0.66 | 1.40 | 0.04 | 0.144 | 0.003 | 0.63 | 0.070 | 0.002 | 93 | 888 | 19 | 869 | 17 | 935 | 51 |
| Zircon_Sample-132 | Mixed zone | 109 | 17 | 0.68 | 0.71 | 1.50 | 0.06 | 0.153 | 0.004 | 0.65 | 0.071 | 0.002 | 94 | 931 | 26 | 916 | 23 | 969 | 66 |
| Zircon_Sample-133 | Mixed zone | 51 | 7 | 0.35 | 0.37 | 1.32 | 0.04 | 0.136 | 0.003 | 0.80 | 0.070 | 0.001 | 89 | 853 | 18 | 823 | 19 | 930 | 38 |
| Zircon_Sample-137 | Zoned dark core- Mag | 210 | 33 | 0.30 | 0.31 | 1.56 | 0.04 | 0.156 | 0.003 | 0.69 | 0.072 | 0.001 | 93 | 953 | 16 | 932 | 15 | 999 | 37 |
| Zircon_Sample-138 | Mixed zone | 38 | 5 | 0.25 | 0.26 | 1.21 | 0.07 | 0.132 | 0.005 | 0.61 | 0.067 | 0.003 | 96 | 805 | 34 | 797 | 27 | 830 | 100 |
| Zircon_Sample-139 | Inner core- Xen. | 382 | 83 | 0.31 | 0.30 | 2.61 | 0.09 | 0.217 | 0.006 | 0.81 | 0.087 | 0.002 | 93 | 1303 | 26 | 1265 | 33 | 1365 | 40 |
| Zircon_Sample-140 | Bright rim; bad Pb-Pb | 26 | 3 | 0.01 | 0.01 | 0.79 | 0.09 | 0.118 | 0.005 | 0.38 | 0.049 | 0.005 | 515 | 592 | 52 | 717 | 30 | 139 | 252 |
| Zircon_Sample-141 | Bright rim; bad Pb-Pb | 18 | 2 | 0.00 | 0.00 | 0.98 | 0.09 | 0.111 | 0.004 | 0.39 | 0.064 | 0.006 | 90 | 694 | 48 | 676 | 24 | 753 | 184 |
| Zircon_Sample-142 | Mixed zone | 254 | 39 | 0.44 | 0.43 | 1.50 | 0.04 | 0.153 | 0.002 | 0.49 | 0.071 | 0.001 | 96 | 931 | 14 | 918 | 10 | 960 | 42 |
| Zircon_Sample-143 | Mixed zone | 354 | 33 | 0.22 | 0.23 | 0.91 | 0.04 | 0.093 | 0.004 | 0.84 | 0.071 | 0.002 | 60 | 655 | 23 | 572 | 22 | 952 | 53 |
| Zircon_Sample-144 | Mixed zone | 130 | 20 | 0.47 | 0.48 | 1.47 | 0.06 | 0.151 | 0.004 | 0.61 | 0.070 | 0.002 | 97 | 916 | 26 | 909 | 22 | 934 | 70 |
| Zircon_Sample-145 | Zoned core- Mag. | 503 | 42 | 0.26 | 0.26 | 0.81 | 0.12 | 0.083 | 0.012 | 0.97 | 0.070 | 0.002 | 55 | 600 | 67 | 514 | 71 | 940 | 71 |
| Zircon_Sample-146 | Zoned core- Mag. | 124 | 20 | 0.35 | 0.33 | 1.64 | 0.08 | 0.165 | 0.007 | 0.85 | 0.072 | 0.002 | 99 | 985 | 32 | 982 | 40 | 993 | 54 |
| Zircon_Sample-150 | Blurred core; bad Pb-Pb | 29 | 3 | 0.05 | 0.05 | 1.12 | 0.11 | 0.120 | 0.007 | 0.60 | 0.068 | 0.006 | 85 | 764 | 55 | 731 | 42 | 863 | 170 |
| Zircon_Sample-151 | Inner core- Xen. | 325 | 87 | 0.23 | 0.23 | 3.74 | 0.10 | 0.268 | 0.006 | 0.82 | 0.101 | 0.002 | 93 | 1580 | 21 | 1530 | 29 | 1648 | 28 |
| Zircon_Sample-152 | Mixed zone | 560 | 85 | 0.08 | 0.08 | 1.49 | 0.03 | 0.152 | 0.003 | 0.79 | 0.071 | 0.001 | 95 | 926 | 13 | 912 | 14 | 958 | 27 |
| Zircon_Sample-154 | Zoned dark core- Mag | 516 | 73 | 0.13 | 0.11 | 1.34 | 0.06 | 0.141 | 0.005 | 0.80 | 0.069 | 0.002 | 96 | 862 | 26 | 852 | 28 | 890 | 54 |
| Zircon_Sample-155 | Zoned core- Mag. | 72 | 11 | 0.53 | 0.53 | 1.56 | 0.08 | 0.158 | 0.005 | 0.63 | 0.072 | 0.003 | 97 | 956 | 30 | 947 | 27 | 976 | 77 |
| Zircon_Sample-156 | Bright rim | 31 | 4 | 0.01 | 0.01 | 1.11 | 0.05 | 0.125 | 0.003 | 0.46 | 0.065 | 0.003 | 99 | 759 | 26 | 757 | 16 | 765 | 92 |
| Zircon_Sample-157 | Mixed zone | 529 | 67 | 0.05 | 0.05 | 1.24 | 0.05 | 0.126 | 0.004 | 0.92 | 0.071 | 0.001 | 80 | 817 | 22 | 767 | 26 | 958 | 32 |
| Zircon_Sample-158 | Zoned dark core- Mag | 752 | 112 | 0.56 | 0.60 | 1.47 | 0.06 | 0.149 | 0.004 | 0.77 | 0.071 | 0.002 | 92 | 918 | 23 | 896 | 25 | 971 | 49 |
| Zircon_Sample-159 | Bright rim; bad Pb-Pb | 31 | 4 | 0.01 | 0.02 | 0.98 | 0.06 | 0.112 | 0.004 | 0.61 | 0.063 | 0.003 | 96 | 694 | 31 | 687 | 25 | 717 | 105 |
| Zircon_Sample-163 | Inner core- Xen. | 225 | 67 | 0.39 | 0.40 | 4.41 | 0.27 | 0.297 | 0.015 | 0.82 | 0.108 | 0.004 | 95 | 1714 | 50 | 1677 | 74 | 1759 | 63 |
| Zircon_Sample-164 | Blurred core | 33 | 4 | 0.01 | 0.01 | 1.04 | 0.09 | 0.115 | 0.006 | 0.59 | 0.065 | 0.004 | 89 | 725 | 43 | 705 | 33 | 788 | 141 |
| Zircon_Sample-165 | Mixed zone | 150 | 20 | 0.33 | 0.31 | 1.29 | 0.09 | 0.133 | 0.006 | 0.61 | 0.071 | 0.004 | 85 | 843 | 39 | 803 | 31 | 948 | 111 |
| Zircon_Sample-166 | Zoned core- Mag. | 184 | 28 | 0.73 | 0.75 | 1.53 | 0.07 | 0.154 | 0.003 | 0.52 | 0.072 | 0.003 | 94 | 942 | 26 | 925 | 19 | 983 | 74 |
| Zircon_Sample-167 | Zoned core- Mag. | 114 | 18 | 0.53 | 0.59 | 1.54 | 0.05 | 0.157 | 0.003 | 0.55 | 0.071 | 0.002 | 97 | 947 | 22 | 938 | 17 | 969 | 61 |
| Zircon_Sample-168 | Zoned core- Mag. | 59 | 9 | 0.79 | 0.85 | 1.46 | 0.06 | 0.149 | 0.003 | 0.47 | 0.071 | 0.002 | 93 | 913 | 23 | 893 | 15 | 961 | 68 |
| Zircon_Sample-169 | Zoned core- Mag. | 114 | 16 | 0.23 | 0.22 | 1.39 | 0.12 | 0.141 | 0.011 | 0.87 | 0.072 | 0.003 | 87 | 886 | 52 | 851 | 61 | 975 | 88 |
| Zircon_Sample-170 | Zoned core- Mag.;bad Pb-Pb | 79 | 12 | 0.78 | 0.82 | 1.56 | 0.16 | 0.157 | 0.007 | 0.40 | 0.072 | 0.007 | 96 | 954 | 65 | 941 | 37 | 982 | 195 |
| Zircon_Sample-171 | Zoned dark core- Mag | 1825 | 92 | 0.02 | 0.02 | 0.45 | 0.02 | 0.050 | 0.002 | 0.91 | 0.065 | 0.001 | 41 | 377 | 14 | 317 | 13 | 768 | 40 |
| Zircon_Sample-172 | Zoned core- Mag. | 218 | 33 | 0.65 | 0.68 | 1.50 | 0.05 | 0.153 | 0.003 | 0.54 | 0.071 | 0.002 | 97 | 929 | 18 | 920 | 14 | 949 | 52 |
| Zircon_Sample-176 | Zoned core- Mag.;bad Pb-Pb | 78 | 12 | 0.50 | 0.48 | 1.50 | 0.16 | 0.154 | 0.003 | 0.18 | 0.071 | 0.007 | 97 | 930 | 66 | 922 | 17 | 948 | 217 |
| Zircon_Sample-177 | Bright rim; bad signal | 36 | 4 | 0.01 | 0.01 | 0.98 | 0.08 | 0.109 | 0.002 | 0.29 | 0.065 | 0.005 | 86 | 696 | 39 | 669 | 14 | 782 | 157 |
| Zircon_Sample-178 | Zoned core- Mag. | 252 | 41 | 0.45 | 0.47 | 1.62 | 0.06 | 0.164 | 0.005 | 0.81 | 0.071 | 0.002 | 101 | 976 | 23 | 979 | 27 | 971 | 43 |
| Zircon_Sample-179 | Zoned dark core- Mag | 178 | 28 | 0.48 | 0.53 | 1.54 | 0.06 | 0.157 | 0.004 | 0.68 | 0.071 | 0.002 | 97 | 948 | 26 | 940 | 25 | 968 | 63 |
| Zircon_Sample-180 | Mixed zone | 250 | 41 | 0.26 | 0.26 | 1.72 | 0.07 | 0.165 | 0.005 | 0.77 | 0.075 | 0.002 | 91 | 1016 | 27 | 987 | 30 | 1080 | 55 |
| Zircon_Sample-181 | Zoned core- Mag. | 87 | 14 | 0.70 | 0.72 | 1.54 | 0.08 | 0.157 | 0.005 | 0.71 | 0.072 | 0.002 | 96 | 948 | 30 | 938 | 30 | 973 | 71 |
| Zircon_Sample-182 | Zoned core- Mag. | 100 | 16 | 0.60 | 0.63 | 1.54 | 0.06 | 0.156 | 0.003 | 0.53 | 0.072 | 0.002 | 96 | 946 | 24 | 935 | 18 | 972 | 66 |
| Zircon_Sample-183 | Mixed zone | 80 | 12 | 0.68 | 0.71 | 1.53 | 0.05 | 0.155 | 0.002 | 0.43 | 0.071 | 0.002 | 96 | 941 | 20 | 929 | 12 | 969 | 61 |
| Zircon_Sample-184 | Bright rim | 29 | 3 | 0.01 | 0.01 | 1.01 | 0.06 | 0.113 | 0.003 | 0.39 | 0.065 | 0.003 | 89 | 710 | 29 | 690 | 15 | 774 | 111 |
| Zircon_Sample-185 | Mixed zone | 309 | 59 | 0.43 | 0.45 | 2.02 | 0.07 | 0.189 | 0.004 | 0.62 | 0.077 | 0.002 | 98 | 1122 | 22 | 1117 | 21 | 1134 | 51 |
| Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Abbreviations: Conc = concordance; Mag = magmatic; Xen = xenocryst |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| a – Comments reflect both location of the analysis within the grain and the U and Pb signals and associated ratios. Bad Pb-Pb signifies a jumpy 207Pb/206Pb ratio over the laser drill time. Bad signal signifies that both 207Pb/206Pb as well as U/Pb ratios were jumpy. |
| b – Conc%. is the % age discordance between 207Pb/206Pb and 206Pb/238U ages as defined =100-( [(238U/206Pb date)–(207Pb/206Pb date)]/(207Pb/206Pb date) x 100). |  |  |  |  |  |  |  |  |  |

Figure S1. Tera-Wasserburg Concordia diagram of LA-SF-ICP-MS analyses from sample SVL 145. Analyses of mixed domains have been omitted from this figure.

Figure S2. Combined histogram and age probability diagram of for 90–110 % concordant LA-SF-ICP-MS analyses from sample SVL 145, using AgeDisplay (Sircombe, 2004). Analyses of mixed domains have been omitted from this figure. The bin width is 25 Ma and the data are reported as 207Pb–206Pb ages for analyses older than 900 Ma and 206Pb–238U ages for analyses younger than 900 Ma.