| Description | Value |
| --- | --- |
| MC-ICPMS (Neptune Plus, Thermo Fisher Scientific) |
| Cool Gas | 16 L/min |
| Auxiliary Gas | ̴0.7 L/min |
| Sample Gas | ̴0.931 L/min |
| RF Power | 1350 W |
| Guard Electrode | Off |
| Detector Mode | Faraday + ICs |
| Integration Time | 0.5 s |
| Scan Mode | Static |
| Laser Ablation System (analyte G2; Photon Machines) |
| Laser | Excimer 193 nm |
| Repetition Rate | 5 Hz |
| Energy Density | 4 Jcm-2 |
| Spot Size | 15-35 µm |
| MFC1 | 0.6 L/min |
| MFC2 | 0.4 L/min |
| MFC3(N2) | 5 mL/min |
| Shot Count | 175 |

Cup Configuration

| Masses measured | Detector: Mass: | IC5 202Hg | IC4 204Pb+204Hg | IC2 206Pb | IC1B 207Pb | IC6 208Pb | H3 232Th | H4 238U |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |