## SIMS std reproducibility
SIMS standards reproducibility
Date | Time | No | Y | X | PB(Start) | PB(end) | non corrected d18O | corrected d18O | Date | Time | No | Y | X | PB(Start) | PB(end) | non corrected d18O | d18O
session 1 | BARYTE | [5 empty] | (‰) | (‰) | session 1 | CALCITE | [5 empty] | (‰) | (‰)
2018-11-16 | 9:12 | baryte-standard-1 | 1500 | 3164 | 4.6367e-09 | 4.6079e-09 | 10.5565 | 11.0232 | 2018-11-16 | 13:16 | calcite-standard-1 | -2572 | 2620 | 4.8859e-09 | 4.8739e-09 | 23.1798 | 23.2651
2018-11-16 | 9:16 | baryte-standard-2 | 1465 | 3166 | 4.6282e-09 | 4.6119e-09 | 10.6252 | 11.0681 | 2018-11-16 | 13:19 | calcite-standard-2 | -2607 | 2620 | 4.901e-09 | 4.8907e-09 | 23.2085 | 23.2853
2018-11-16 | 9:19 | baryte-standard-3 | 1430 | 3164 | 4.6314e-09 | 4.5928e-09 | 10.576 | 10.9951 | 2018-11-16 | 13:23 | calcite-standard-3 | -2642 | 2620 | 4.8895e-09 | 4.8862e-09 | 23.1974 | 23.2657
2018-11-16 | 9:23 | baryte-standard-4 | 1430 | 3130 | 4.6269e-09 | 4.5911e-09 | 10.571 | 10.9662 | 2018-11-16 | 13:27 | calcite-standard-4 | -2642 | 2586 | 4.873e-09 | 4.847e-09 | 23.2459 | 23.3056
2018-11-16 | 9:27 | baryte-standard-5 | 1465 | 3130 | 4.5966e-09 | 4.5562e-09 | 10.6207 | 10.9921 | 2018-11-16 | 13:30 | calcite-standard-5 | -2607 | 2584 | 4.8774e-09 | 4.8394e-09 | 23.3034 | 23.3546
2018-11-16 | 9:30 | baryte-standard-6 | 1500 | 3130 | 4.5807e-09 | 4.5501e-09 | 10.398 | 10.7455 | 2018-11-16 | 14:50 | calcite-standard-6 | -2793 | 2592 | 4.693e-09 | 4.7306e-09 | 23.3387 | 23.2875
2018-11-16 | 9:34 | baryte-standard-7 | 1500 | 3096 | 4.564e-09 | 4.5409e-09 | 10.3528 | 10.6765 | 2018-11-16 | 14:53 | calcite-standard-7 | -2828 | 2594 | 4.7154e-09 | 4.7551e-09 | 23.5471 | 23.4873
2018-11-16 | 9:38 | baryte-standard-8 | 1465 | 3094 | 4.5556e-09 | 4.536e-09 | 10.8735 | 11.1736 | 2018-11-16 | 14:57 | calcite-standard-8 | -2863 | 2592 | 4.7386e-09 | 4.7441e-09 | 23.4305 | 23.3622
2018-11-16 | 9:41 | baryte-standard-9 | 1430 | 3096 | 4.557e-09 | 4.5349e-09 | 10.6072 | 10.8833 | 2018-11-16 | 15:01 | calcite-standard-9 | -2863 | 2558 | 4.7311e-09 | 4.7433e-09 | 23.3659 | 23.2891
2018-11-16 | 9:45 | baryte-standard-10 | 1430 | 3060 | 4.5693e-09 | 4.5469e-09 | 10.6538 | 10.9062 | 2018-11-16 | 15:04 | calcite-standard-10 | -2828 | 2558 | 4.7401e-09 | 4.7132e-09 | 23.1828 | 23.0975
2018-11-16 | 11:17 | baryte-standard-11 | 1342 | 3028 | 4.3002e-09 | 4.2772e-09 | 11.2985 | 11.2889 | [6 empty] | Avg | 23.3 | 23.3
2018-11-16 | 11:21 | baryte-standard-12 | 1307 | 3030 | 4.2963e-09 | 4.2848e-09 | 11.466 | 11.4327 | [6 empty] | Stdev | 0.12199 | 0.097677
2018-11-16 | 11:25 | baryte-standard-13 | 1272 | 3028 | 4.3093e-09 | 4.3051e-09 | 11.2704 | 11.2132 | session 2
2018-11-16 | 11:28 | baryte-standard-14 | 1272 | 2994 | 4.3189e-09 | 4.3085e-09 | 10.9729 | 10.8919 | 2018-11-19 | 8:58 | calcite-standard-11 | -2677 | 2856 | 4.4177e-09 | 4.4185e-09 | 23.0372 | 23.126
2018-11-16 | 11:32 | baryte-standard-15 | 1307 | 2994 | 4.2999e-09 | 4.2671e-09 | 10.998 | 10.8932 | 2018-11-19 | 9:02 | calcite-standard-12 | -2712 | 2856 | 4.4387e-09 | 4.4135e-09 | 23.1831 | 23.2654
2018-11-16 | 12:24 | baryte-standard-16 | 1393 | 3128 | 4.2538e-09 | 4.1855e-09 | 11.5423 | 11.3184 | 2018-11-19 | 9:06 | calcite-standard-13 | -2747 | 2856 | 4.4358e-09 | 4.4165e-09 | 23.3159 | 23.3917
2018-11-16 | 12:27 | baryte-standard-17 | 1358 | 3126 | 4.1883e-09 | 4.1784e-09 | 11.5212 | 11.2735 | 2018-11-19 | 9:10 | calcite-standard-14 | -2782 | 2856 | 4.4168e-09 | 4.3974e-09 | 23.3381 | 23.4074
2018-11-16 | 12:31 | baryte-standard-18 | 1323 | 3128 | 4.1959e-09 | 4.1894e-09 | 11.4294 | 11.1579 | 2018-11-19 | 9:14 | calcite-standard-15 | -2817 | 2856 | 4.4132e-09 | 4.4258e-09 | 23.4159 | 23.4787
2018-11-16 | 12:35 | baryte-standard-19 | 1288 | 3126 | 4.2043e-09 | 4.2002e-09 | 11.5879 | 11.2926 | 2018-11-19 | 10:04 | calcite-standard-16 | -2677 | 2788 | 4.3101e-09 | 4.2773e-09 | 23.1952 | 23.2061
2018-11-16 | 12:38 | baryte-standard-20 | 1288 | 3092 | 4.199e-09 | 4.2018e-09 | 11.2192 | 10.9002 | 2018-11-19 | 10:08 | calcite-standard-17 | -2712 | 2786 | 4.2965e-09 | 4.2688e-09 | 23.1453 | 23.1496
2018-11-16 | 12:42 | baryte-standard-21 | 1323 | 3092 | 4.2003e-09 | 4.1827e-09 | 11.1284 | 10.7856 | 2018-11-19 | 10:12 | calcite-standard-18 | -2747 | 2788 | 4.2791e-09 | 4.277e-09 | 23.173 | 23.1709
2018-11-16 | 12:46 | baryte-standard-22 | 1358 | 3092 | 4.1878e-09 | 4.1649e-09 | 11.0361 | 10.6695 | 2018-11-19 | 10:16 | calcite-standard-19 | -2782 | 2786 | 4.2849e-09 | 4.2809e-09 | 23.3896 | 23.381
2018-11-16 | 12:49 | baryte-standard-23 | 1393 | 3092 | 4.1817e-09 | 4.1872e-09 | 11.1725 | 10.7821 | 2018-11-19 | 10:20 | calcite-standard-20 | -2817 | 2788 | 4.287e-09 | 4.2939e-09 | 23.3821 | 23.3669
2018-11-16 | 12:53 | baryte-standard-24 | 1393 | 3058 | 4.167e-09 | 4.153e-09 | 11.2448 | 10.8306 | 2018-11-19 | 10:55 | calcite-standard-21 | -2647 | 2898 | 4.1433e-09 | 4.1724e-09 | 23.3624 | 23.3017
2018-11-16 | 12:57 | baryte-standard-25 | 1358 | 3056 | 4.1599e-09 | 4.1394e-09 | 11.2779 | 10.8399 | 2018-11-19 | 10:59 | calcite-standard-22 | -2682 | 2896 | 4.1865e-09 | 4.0999e-09 | 23.3457 | 23.2786
[6 empty] | Avg | 11 | 11 | 2018-11-19 | 11:03 | calcite-standard-23 | -2717 | 2898 | 4.1214e-09 | 4.1676e-09 | 23.4977 | 23.424
[6 empty] | Stdev | 0.38863 | 0.21615 | 2018-11-19 | 11:07 | calcite-standard-24 | -2752 | 2896 | 4.1743e-09 | 4.1909e-09 | 23.2902 | 23.21
session 2 | [8 empty] | 2018-11-19 | 11:11 | calcite-standard-25 | -2787 | 2898 | 4.1923e-09 | 4.1659e-09 | 23.4285 | 23.3419
2018-11-19 | 11:21 | baryte-standard-1 | 1193 | 2994 | 4.1748e-09 | 4.1433e-09 | 10.861 | 23.1792 | [6 empty] | Avg | 23.3 | 23.3
2018-11-19 | 11:25 | baryte-standard-2 | 1158 | 2992 | 4.174e-09 | 4.1717e-09 | 10.8811 | 23.1981 | [6 empty] | Stdev | 0.12687 | 0.10962
2018-11-19 | 11:29 | baryte-standard-3 | 1123 | 2994 | 4.1807e-09 | 4.183e-09 | 11.2178 | 23.5375
2018-11-19 | 11:33 | baryte-standard-4 | 1088 | 2992 | 4.2005e-09 | 4.1942e-09 | 11.0329 | 23.3489
2018-11-19 | 11:37 | baryte-standard-5 | 1053 | 2994 | 4.2022e-09 | 4.2048e-09 | 11.2634 | 23.5808
2018-11-19 | 12:42 | baryte-standard-6 | 1079 | 2956 | 4.1331e-09 | 4.1427e-09 | 10.9121 | 23.2125
2018-11-19 | 12:26 | baryte-standard-7 | 1219 | 2956 | 4.1147e-09 | 4.1022e-09 | 10.6906 | 22.9869
2018-11-19 | 12:30 | baryte-standard-8 | 1184 | 2954 | 4.1158e-09 | 4.1104e-09 | 11.0104 | 23.3091
2018-11-19 | 12:34 | baryte-standard-9 | 1149 | 2956 | 4.1035e-09 | 4.0821e-09 | 10.8274 | 23.1225
2018-11-19 | 12:38 | baryte-standard-10 | 1114 | 2954 | 4.1111e-09 | 4.1391e-09 | 10.9552 | 23.2504
2018-11-19 | 13:17 | baryte-standard-11 | 1219 | 2886 | 4.12e-09 | 4.1045e-09 | 11.0063 | 23.2937
2018-11-19 | 13:21 | baryte-standard-12 | 1184 | 2886 | 4.1247e-09 | 4.1422e-09 | 11.0229 | 23.309
2018-11-19 | 13:25 | baryte-standard-13 | 1149 | 2886 | 4.1426e-09 | 4.1336e-09 | 10.9387 | 23.2223
2018-11-19 | 13:29 | baryte-standard-14 | 1114 | 2886 | 4.134e-09 | 4.1106e-09 | 11.1467 | 23.4314
2018-11-19 | 13:33 | baryte-standard-15 | 1079 | 2886 | 4.1238e-09 | 4.1259e-09 | 11.2334 | 23.5178
[6 empty] | Avg | 11 | 23.3
[6 empty] | Stdev | 0.1619 | 0.16328

## 4Litho
Bulk rock: 4Litho - Lithium Metaborate/Tetraborate Fusion - ICP and ICP/MS method |  |  |  |  | DL = Detection Limit
On calcite carbonatites and country rock samples
Method from Activations Laboratories Ltd.
A combination of packages Code 4B (lithium metaborate/tetraborate fusion ICP whole rock) and Code 4B2 (trace element ICP/MS). The fused samples are diluted and analysed by Perkin Elmer Sciex ELAN 6000, 6100 or 9000 ICP/MS. Three blanks and five controls (three before sample group and two after) are analysed per group of samples. The duplicates are fused and analysed every 15 samples. The instrument is recalibrated every 40 samples.
| Oxide | DL (%)
| Al2O3 | 0.01
| CaO | 0.01
| Fe2O3 | 0.01
| K2O | 0.01
| MgO | 0.01
| MnO | 0.001
| Na2O | 0.01
| P2O5 | 0.01
| SiO2 | 0.01
| TiO2 | 0.001
| Loss on Ignition | 0.01
| Element | DL (ppm) | Upper Limit (ppm) | Reported By
| Ag | 0.5 | 100 | ICP/MS
| As | 5 | 2000 | ICP/MS
| Ba | 2 | 500000 | ICP
| Be | 1 | empty cell | ICP
| Bi | 0.4 | 2000 | ICP/MS
| Ce | 0.1 | 3000 | ICP/MS
| Co | 1 | 1000 | ICP/MS
| Cr | 20 | 10000 | ICP/MS
| Cs | 0.5 | 1000 | ICP/MS
| Cu | 10 | 10000 | ICP/MS
| Dy | 0.1 | 1000 | ICP/MS
| Er | 0.1 | 1000 | ICP/MS
| Eu | 0.05 | 1000 | ICP/MS
| Ga | 1 | 500 | ICP/MS
| Gd | 0.1 | 1000 | ICP/MS
| Ge | 1 | 500 | ICP/MS
| Hf | 0.2 | 1000 | ICP/MS
| Ho | 0.1 | 1000 | ICP/MS
| In | 0.2 | 200 | ICP/MS
| La | 0.1 | 2000 | ICP/MS
| Lu | 0.01 | 1000 | ICP/MS
| Mo | 2 | 100 | ICP/MS
| Nb | 1 | 1000 | ICP/MS
| Nd | 0.1 | 2000 | ICP/MS
| Ni | 20 | 10000 | ICP/MS
| Pb | 5 | 10000 | ICP/MS
| Pr | 0.05 | 1000 | ICP/MS
| Rb | 2 | 1000 | ICP/MS
| Sb | 0.5 | 200 | ICP/MS
| Sc | 1 | empty cell | ICP
| Sm | 0.1 | 1000 | ICP/MS
| Sn | 1 | 1000 | ICP/MS
| Sr | 2 | 10000 | ICP
| Ta | 0.1 | 500 | ICP/MS
| Tb | 0.1 | 1000 | ICP/MS
| Th | 0.1 | 2000 | ICP/MS
| TI | 0.1 | 1000 | ICP/MS
| Tm | 0.05 | 1000 | ICP/MS
| U | 0.1 | 1000 | ICP/MS
| V | 5 | 10000 | ICP
| W | 1 | 5000 | ICP/MS
| Y | 1 | 10000 | ICP
| Yb | 0.1 | 1000 | ICP/MS
| Zn | 30 | 10000 | ICP/MS
| Zr | 2 | 10000 | ICP

## 4F-ISE
Bulk rock: 4F-Total sulphur method |  |  |  | DL = Detection Limit
On calcite carbonatites and country rock samples
Method from Activations Laboratories Ltd.
Accelerator material is added to a 0.2 g sample. The inductive elements of the sample and accelerator couple with the high frequency field of the induction furnace. The pure oxygen environment and the heat generated by this coupling cause the sample to combust. During combustion, sulphur-bearing elements are reduced, releasing sulphur, which binds with oxygen to form SO2. Sulphur is measured as sulphur dioxide in the infrared cell. Sulphur dioxide absorb IR energy at precise wavelengths within the IR spectrum. Energy from the IR source is absorbed as the gas passes through the cell, preventing it from reaching the IR detector. All other IR energy is prevented from reaching the IR detector by a narrow bandpass filter. Because of the filter, the absorption of IR energy can be attributed only sulphur dioxide (SO2). The concentration of SO2 is detected as a reduction in the level of energy at the individual detectors. An Eltra CS-800 or CS-2000 is used for the analysis
| Analysis | Method | DL
| Total S | IR | 0.01%