Appendix A: PCR sensitivity assay

Ten strains, representative of six Leishmania species, were used to evaluate the sensitivity of our PCR assay (see Table below). Double-stranded DNA quantification was performed by fluorimetric analysis using the Qubit 2.0 Fluorometer (Invitrogen, Carlsbad, CA, USA). Each DNA sample was first diluted to 0.5 ng/μl and then serially ten-fold down to 0.05 fg/μl (to assess the detection capacity of the primers from 1 ng to 0.1 fg of template DNA).

List of the strains used for the PCR sensitivity assay

| Short code | WHO code | Species | Country |
| --- | --- | --- | --- |
| 2007-24 | MHOM/GF/2007/2007-24 | L. amazonensis | Guyane |
| LV78 | RAT/BR/72/LV78 | L. amazonensis | Brésil |
| LH754 | MHOM/PE/89/LH754 | L. braziliensis | Pérou |
| M2904 | MHOM/BR/75/M2904 | L. braziliensis | Brésil |
| LC2288 | MHOM/PE/91/LC2288 | L. lainsoni | Pérou |
| TD2008 | MHOM/GF/2008/TD2008 | L. guyanensis | Guyane |
| ITMAP263 | MHOM/MA/67/ITMAP263 | L. infantum | Maroc |
| LEM417 | MHOM/DZ/1982/LIPA59 | L. infantum | Algérie |
| LEM2204 | MDAS/BR/79/M5533 | L. naiffi | Brésil |
| LEM5108 | MHOM/GF/2005/LEM5108 | L. naiffi | Guyane |

A PCR assay was then conducted with leishmini primers. Amplification was performed in 20 μL mixtures containing 2 μL of DNA template, 10 μL of AmpliTaq Gold PCR Master Mix® (5U.μL-1; Applied Biosystems, Foster City, CA, USA), 2.5 μL of each primer (5 μM), and nuclease-free water (Promega, Madison, WI, USA). The PCR mixture was denatured at 95°C (10 min) and followed by 35 cycles of 30s at 95 °C, 30s at 60°C and 15s at 72 °C, completed at 72 °C for 5 mins.

PCR product were subjected to electrophoresis in a 2% agarose gel containing SYBR Safe stain (Invitrogen), and visualized under UV light (see Figure below).

Agarose gel analysis of PCR products obtained with leishmini primers on a serial dilution of DNA from six Leishmania species