Supplementary Table S1: Raw data of the faecal egg counts (eggs per gram) of 3 bovine faecal samples (A, B & C), using 3 different devices (McMaster, Mini-FLOTAC, Telenostic). For the Telenostic device faecal egg counts was calculated using both a manual and automated method. Each replicate was repeated 3 times.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sample code | McMaster | Mini-FLOTAC | Telenostic manual | Telenostic automated |
| Aliquot1 | Aliquot2 | Aliquot3 | Aliquot1 | Aliquot2 | Aliquot3 | Aliquot1 | Aliquot2 | Aliquot3 | Aliquot1 | Aliquot2 | Aliquot3 |
| Sample A.1 | 100 | 100 | 50 | 60 | 60 | 90 | 96 | 80 | 120 | 96 | 98 | 130 |
| Sample A.2 | 50 | 100 | 50 | 38 | 60 | 53 | 132 | 86 | 43 | 155 | 86 | 43 |
| Sample A.3 | 50 | 50 | 150 | 60 | 75 | 53 | 69 | 56 | 55 | 77 | 63 | 47 |
| Sample B.1 | 250 | 500 | 250 | 353 | 375 | 315 | 478 | 448 | 260 | 494 | 474 | 283 |
| Sample B.2 | 650 | 900 | 700 | 398 | 458 | 428 | 762 | 520 | 439 | 849 | 568 | 500 |
| Sample B.3 | 600 | 600 | 700 | 375 | 368 | 420 | 490 | 398 | 476 | 514 | 438 | 597 |
| Sample C.1 | 100 | 150 | 150 | 53 | 38 | 75 | 101 | 66 | 65 | 109 | 74 | 73 |
| Sample C.2 | 50 | 50 | 100 | 83 | 98 | 90 | 98 | 144 | 110 | 106 | 136 | 110 |
| Sample C.3 | 100 | 100 | 50 | 68 | 60 | 83 | 140 | 132 | 79 | 140 | 139 | 87 |