Supplementary Information – OSL dating methods

The suitability of the SAR De determination procedure used in this study (Table S1) was evaluated by undertaking a series of multi-grain aliquot and single-grain dose-recovery tests on sample RB12-1. Multi-grain aliquot dose-recovery tests were first used to ascertain optimal preheating conditions for bulk grain populations. These tests were performed on ~450-grain aliquots using a series of different regenerative dose preheat (PH1) conditions (ranging between 200 oC for 10 s and 260 oC for 10 s) and different test dose preheat (PH2) combinations (160 oC for 10 s, 200 oC for 10 s or 220 oC for 10 s). A known laboratory dose of 80 Gy was applied to groups of 4 aliquots after optically bleaching their natural OSL signals using two 1,000 s blue LED stimulations separated by a 10,000 s pause (to ensure complete decay of any phototransferred charge in the 110 oC TL trap). The administered dose was treated as a surrogate natural dose and subsequently measured using a multi-grain version of the SAR sequence shown in Table S1 (replacing 125°C green laser stimulations with 125°C blue LED stimulations for 60 s, and inserting a 50°C IR bleach for 40 s prior to each OSL measurement to remove any feldspar signal contamination). Figure S1 summarises the results of the multi-grain aliquot dose-recovery tests performed on sample RB12-1. The most suitable dose-recovery results were obtained using a PH1 of 220 oC for 10 s and a PH2 of 200 oC for 10 s. This preheat combination yielded a weighted mean measured-to-given dose ratio of 0.98 ± 0.02, low inter-aliquot De scatter, low-dose and high-dose mean recycling ratios in agreement with unity at 1σ (0.99 ± 0.02 and 1.02 ± 0.01, respectively) and a mean recuperation ratio of less than 1%.

To confirm the suitability of the SAR procedure at the single-grain scale, we repeated the dose-recovery test on 900 individual quartz grains from sample RB12-1 using the optimum multi-grain preheat conditions. A higher dose of 120 Gy was administered to these quartz grains after bleaching their natural signals using the same procedure described above. This higher administered dose was chosen as being closer to the expected mean natural dose of RB12-1, as determined from preliminary De measurements made on 100 grains of this sample. The single-grain OSL dose recovery test yielded a mean measured-to-given dose ratio of 1.02 ± 0.02 (n = 93 accepted grains) and an overdispersion value of 6 ± 3%, confirming the suitability of the chosen preheat combination for this sample (Figure 6A).

Between 1000 and 1100 single-grain De measurements were made for each sample. Single-grain OSL De estimates were rejected from further consideration if they exhibited one or more of the following properties: (i) weak OSL signals (i.e., the net intensity of the natural test-dose signal (Tn) was less than three times the standard deviation of the late-light background signal); (ii) poor recycling ratios (i.e., the ratios of sensitivity-corrected luminescence responses (Lx/Tx) for two identical regenerative doses were not consistent with unity at 2σ); (iii) high levels of signal recuperation / charge transfer between SAR cycles (i.e., the sensitivity-corrected luminescence response of the 0 Gy regenerative dose point amounted to >5% of the sensitivity-corrected natural signal response (Ln/Tn) at 2σ); (iv) anomalous dose-response curves (i.e., those displaying a zero or negative response with increasing dose) or dose-response curves displaying very scattered Lx/Tx values (i.e., those that could not be successfully fitted with the Monte Carlo procedure and, hence, did not yield finite De values and uncertainty ranges); (v) saturated or non-intersecting natural OSL signals (i.e., Ln/Tn values equal to, or greater than, the Imax saturation limit of the dose-response curve at 2σ); (vi) extrapolated natural signals (i.e. Ln/Tn values lying more than 2σ beyond the Lx/Tx value of the largest regenerative-dose administered in the SAR procedure); (vii) contamination by feldspar grains or inclusions (i.e., the ratio of the Lx/Tx values obtained for two identical regenerative doses measured with and without prior IR stimulation (OSL IR depletion ratio; Duller, 2003) was less than unity at 2σ). The OSL grain classification statistics obtained for each sample after applying these SAR quality assurance criteria are summarised in Table S2.

Individual and sample-averaged De estimates are presented in Table 2, Figure 6 and Figures  S1-S2 with their 1σ uncertainties, which are derived from three sources of uncertainty: (i) a random uncertainty term arising from photon counting statistics for each OSL measurement, calculated using Eq. 3 of Galbraith (2002); (ii) an empirically determined instrument reproducibility uncertainty of 1.6% for each single-grain measurement (calculated for the specific Risø reader used in this study according to the approach outlined in Jacobs et al., 2006); and (iii) a dose-response curve fitting uncertainty determined using 1000 iterations of the Monte Carlo method described by Duller (2007) and implemented in Analyst.

Representative OSL dose-response and decay curve for grains that passed the quality assurance criteria are shown in Figure S2. The majority of accepted grains display rapidly decaying OSL curves (reaching background levels within 0.5 s), which are characteristic of quartz signals dominated by the most readily bleached (so-called ‘fast’) OSL component (Figure S2 – compare OSL decay curve shape for a fast-dominated Risø calibration quartz grain; Hansen et al., 2015). The single-grain OSL dose-response curves are generally well-represented by either a single saturating exponential function or a saturating exponential plus linear function, as has been widely reported for quartz grains with fast-dominated OSL signals (e.g., Yoshida et al., 2000; Jacobs et al., 2008; Arnold et al., 2011, 2016). On average, 36% of accepted grains per sample display moderately bright Tn (20 Gy) OSL signals of 100-1000 cts/0.08 s (e.g., Fig. 2a), and 17% of accepted grains per sample have relatively bright Tn OSL signals of >1000 cts/0.08 s (e.g., Fig. 2b). Three of the five OSL samples also contain a small number (1-3%) of very bright accepted grains displaying Tn OSL signal intensities >10,000 counts/0.08 s (e.g., Fig. 2c). The average Tn OSL signal intensities range between 300 and 1500 counts/0.08 s for each sample.

The environmental dose rates of the RB OSL samples have been calculated using a combination of in situ field gamma-ray spectrometry and low-level beta counting. In situ gamma dose rate measurements were performed in the OSL sample holes using a Canberra NaI:Tl spectrometer to assess spatial heterogeneity in the surrounding gamma radiation field of each sample. Elemental concentrations of K, U and Th were determined from the field gamma-ray spectra using the ‘energy windows’ method described in Arnold et al. (2012). Additional sediment samples were collected from each luminescence dating sample position for beta dose rate assessments and water content evaluations. Low-level beta counting was performed on dry and homogenised sediment sub-samples using a Risø GM-25-2 beta counter (Bøtter-Jensen and Mejdahl, 1988). Background-subtracted count rates were measured for three aliquots of each sample and compared with net count rates obtained simultaneously for a loess sediment standard with known U, Th and K concentrations (Potts et al., 2003). Final beta dose rate estimates were calculated after making allowance for beta dose attenuation due to grain-size effects and HF etching (Brennan, 2003). Cosmic-ray dose rates were calculated using the approach described in Prescott and Hutton (1994), after taking into consideration site altitude, geomagnetic latitude, and density / thickness of sediment and bedrock overburden. A small, assumed internal (alpha plus beta) dose rate of 0.03 ± 0.01 Gy / ka has been included in the final dose rate calculations based on published 238U and 232Th measurements for etched quartz grains from a range of locations (e.g., Mejdahl, 1987; Bowler et al., 2003; Jacobs et al., 2006; Pawley et al., 2008) and an alpha efficiency factor (a-value) of 0.04 ± 0.01 (Rees-Jones, 1995; Rees-Jones and Tite, 1997).

Radionuclide concentrations and specific activities have been converted to dose rates using the conversion factors given in Guérin et al. (2011), making allowance for beta-dose attenuation (Mejdahl, 1979; Brennan, 2003) and long-term sediment water contents (Aitken, 1985; Readhead, 1987). The present-day sediment water contents of the RB samples are very low (1-2% dry sediment weight) and are not considered to be representative of the moisture conditions prevailing throughout the sample burial period because the excavation trenches had been exposed for several years prior to sampling. The long-term water contents of these four samples are calculated as being equivalent to 60% of their present-day saturated water values on the basis of comparative proportional saturation assessments made in similar depositional and climatic contexts across the Iberian Peninsula (e.g., Arnold et al., 2013, 2014, 2015; Demuro et al., 2019a, 2019b). A relative uncertainty of 20% has been assigned to the long-term moisture estimates to accommodate any minor variations in hydrologic conditions during burial.

References

Aitken, M.J., 1985. Thermoluminescence Dating. Academic Press, London, 359 p.

Arnold, L. J., Roberts, R. G., MacPhee, R. D. E., Haile, J. S., Brock, F., Möller, P., Froese, D. G., Tikhonov, A. N., Chivas, A. R., Gilbert, M. T. P., Willerslev, E., 2011. Paper II – Dirt, dates and DNA: OSL and radiocarbon chronologies of perennially frozen sediments in Siberia and their implications for sedimentary ancient DNA studies. Boreas 40, 417–445.

Arnold, L.J., Duval, M., Falguères, C., Bahain, J.-J., Demuro, M. 2012. Portable gamma spectrometry with cerium-doped lanthanum bromide scintillators: Suitability assessments for luminescence and electron spin resonance dating applications. Radiation Measurements 47, 6-18.

Arnold, L.J., Demuro, M., Navazo Ruiz, M., Benito-Calvo, A., Pérez-González, A., 2013. OSL dating of the Middle Palaeolithic Hotel California site, Sierra de Atapuerca, north-central Spain. Boreas 42, 285–305.

Arnold, L.J., Demuro, M., Parés, J.M., Arsuaga, J.L., Aranburu, A., Bermúdez de Castro, J.M., Carbonell, E., 2014. Luminescence dating and palaeomagnetic age constraint on hominins from Sima de los Huesos, Atapuerca, Spain. Journal of Human Evolution 67, 85-107.

Arnold, L.J., Demuro, M., Parés, J.M., Pérez-González, A., Arsuaga, J.L., Bermúdez de Castro, J.M., Carbonell, E., 2015. Evaluating the suitability of extended-range luminescence dating techniques over early and Middle Pleistocene timescales: Published datasets and case studies from Atapuerca, Spain. Quaternary International 389, 167-190.

Arnold, L.J., Duval, M., Demuro, M., Spooner, N.A., Santonja, M., Pérez-González, A., 2016. OSL dating of individual quartz 'supergrains' from the Ancient Middle Palaeolithic site of Cuesta de la Bajada, Spain. Quaternary Geochronology 36, 78-101.

Bøtter-Jensen, L., Mejdahl, M., 1988. Assessment of beta dose-rate using a GM multicounter system. Nuclear Tracks and Radiation Measurements 14, 187-191.

Bowler, J.M., Johnston, H., Olley, J.M., Prescott, J.R., Roberts, R.G., Shawcross, W., Spooner, N.A., 2003. New ages for human occupation and climate change at Lake Mungo, Australia. Nature 421, 837–840.

Brennan, B.J., 2003. Beta doses to spherical grains. Radiation Measurements 37, 299-303.

Demuro, M., Arnold, L.J., Aranburu, A., Sala, N., Arsuaga, J.-L., 2019a. New bracketing luminescence ages constrain the Sima de los Huesos hominin fossils (Atapuerca, Spain) to MIS 12. Journal of Human Evolution 131, 76-95.

Demuro, M., Arnold, L.J., Aranburu, A., Gómez-Olivencia, A., Arsuaga, J.L., 2019b. Single-grain OSL dating of the Middle Palaeolithic site of Galería de las Estatuas, Atapuerca (Burgos, Spain) Quaternary Geochronology 49, 138-145.

Duller, G.A.T., 2003. Distinguishing quartz and feldspar in single grain luminescence measurements. Radiation Measurements 37, 161–165.

Duller, G.A.T., 2007. Assessing the error on equivalent dose estimates derived from single aliquot regenerative dose measurements. Ancient TL 25, 15–24.

Galbraith, R.F., 2002. A note on the variance of a background-corrected OSL count. Ancient TL 20, 49–51.

Guérin, G., Mercier, M., Adamiec, G., 2011. Dose-rate conversion factors: update. Ancient TL 29, 5-8.

Hansen, V., Murray, A., Buylaert, J.-P., Yeo, E.-Y., Thomsen, K., 2015. A new irradiated quartz for beta source calibration. Radiation measurements 81, 123-127.

Jacobs, Z., Duller, G.A.T., Wintle, A.G., 2006. Interpretation of single-grain De distributions and calculation of De. Radiation Measurements 41, 264–277.

Jacobs, Z., Wintle, A.G., Roberts, R.G., Duller, G.A.T., 2008. Equivalent dose distributions from single grains of quartz at Sibudu, South Africa: context, causes and consequences for optical dating of archaeological deposits. Journal of Archaeological Science 35, 1808-1820.

Mejdahl, V., 1979. Thermoluminescence dating: beta-dose attenuation in quartz grains. Archaeometry 21, 61-72.

Mejdahl, V., 1987. Internal radioactivity in quartz and feldspar grains. Ancient TL 5, 10–17.

Pawley, S.M., Bailey, R.M., Rose, J., Moorlock, B.S.P., Hamblin, R.J.O., Booth, S.J., Lee, J.R., 2008. Age limits on Middle Pleistocene glacial sediments from OSL dating, north Norfolk, UK. Quaternary Science Reviews 27, 1363-1377.

Potts, P.J., Thompson, M., Chenery, S.R.N., Webb, P.C., Kasper, H.U., 2003. Geopt13 - An International Proficiency Test for Analytical Geochemistry Laboratories - Report on Round 13 / July 2003 (Köln Loess). International Association of Geoanalysts.

Prescott, J.R., Hutton, J.T., 1994. Cosmic ray contributions to dose rates for luminescence and ESR dating: large depths and long-term time variations. Radiation Measurements 23, 497–500.

Readhead, M.L., 1987. Thermoluminescence dose rate data and dating equations for the case of disequilibrium in the decay series. Nuclear Tracks and Radiation Measurements 13, 197-207.

Rees-Jones, J., 1995. Optical dating of young sediments using fine-grain quartz. Ancient TL 13, 9-14.

Rees-Jones, J., Tite, M.S., 1997. Optical dating results for British archaeological sediments. Archaeometry 39, 177-187.

Yoshida, H., Roberts, R. G., Olley, J. M., Laslett, G. M., Galbraith, R. F., 2000. Extending the age range of optical dating using single ‘supergrains’ of quartz. Radiation Measurements 32, 439–446.

|  | Single-grain OSL SAR procedure |
| --- | --- |
|  | Step | Treatment | Symbol |
|  | 1 | Dose (Natural or laboratory) | N or D |  |
|  | 2 a | IRSL stimulation (50ºC for 60 s) |  |  |
| . | 3 | Preheat 1 (220ºC for 10 s) | PH1 | . |
|  | 4 | Single-grain OSL stimulation (125ºC for 2 s) | Ln or Lx |  |
|  | 5 | Test dose (20 Gy) | Td |  |
|  | 6 | Preheat 2 (200ºC for 10 s) | PH2 |
|  | 7 | Single-grain OSL stimulation (125ºC for 2 s) | Tn or Tx |
|  | 8 | Repeat measurement cycle for different |  |
|  |  | sized regenerative doses |  |

a Step 2 is only included in the single-grain SAR procedure when measuring the OSL IR depletion ratio (Duller 2003).

Table S1 Single-aliquot regenerative-dose (SAR) procedures used for dose-recovery measurements and De determination. Each of these SAR measurement cycles was repeated for the natural dose, 5 different sized regenerative doses and a 0 Gy regenerative-dose (to measure OSL signal recuperation). Both the smallest and largest non-zero regenerative-dose cycles were repeated at the end of the SAR procedure to assess the suitability of the test-dose sensitivity correction. In the case of the single-grain OSL SAR procedure, the smallest regenerative-dose cycle was also repeated a second time with the inclusion of step 2 to check for the presence of feldspar contaminants using the OSL IR depletion ratio of Duller (2003). Lx = regenerative dose signal response; Ln = natural dose signal response; Tx = test dose signal response for a laboratory dose cycle Tn = test dose signal response for the natural dose cycle.

| Sample name | RB12-01 | RB12-01 | RB12-02 | RB12-03 | RB12-04 | RB12-05 |
| --- | --- | --- | --- | --- | --- | --- |
| SAR measurement type | De | Dose-recovery | De | De | De | De |
| Total measured grains (n) | 1100 | 900 | 1000 | 1100 | 1000 | 1000 |
| Grains rejected for failing SAR quality assurance criteria (%) |  |  |  |  |  |  |
| Tn <3σ background | 68 | 66 | 66 | 49 | 66 | 53 |
| Low-dose recycling ratio ≠ 1 at ±2σ | 6 | 7 | 6 | 11 | 7 | 7 |
| High-dose recycling ratio ≠ 1 at ±2σ | 5 | 4 | 5 | 12 | 4 | 9 |
| OSL-IR depletion ratio <1 at ±2σ | 3 | 4 | 3 | 5 | 5 | 4 |
| 0 Gy Lx/Tx >5% Ln/Tn | 1 | 1 | 1 | 4 | 1 | 2 |
| Non-intersecting grains (Ln/Tn > dose response curve saturation) | 1 | <1 | <1 | <1 | 1 | 2 |
| Saturated grains (Ln/Tn ≥ dose response curve Imax at ±2σ) | <1 | 1 | 2 | <1 | <1 | 1 |
| Extrapolated grains ( Ln/Tn values >2σ beyond largest Lx/Tx value) | <1 | <1 | <1 | 0 | <1 | <1 |
| Anomalous dose response / unable to perform Monte Carlo fit | 6 | 6 | 5 | 6 | 6 | 8 |
| Sum of rejected grains (%) | 91 | 90 | 89 | 88 | 91 | 87 |
| Sum of accepted grains (%) | 9 | 10 | 11 | 12 | 9 | 13 |

Table S2 Single-grain OSL classification statistics for the dose recovery and natural De measurements of the RB samples. The proportion of grains that were rejected from the final De estimation after applying the various SAR quality assurance criteria are shown in rows 5-12. These criteria were applied to each single-grain measurement in the order listed. Tn = natural test dose signal response; Ln/Tn = sensitivity-corrected natural signal response; Lx/Tx = sensitivity-corrected regenerative-dose signal response; Imax = saturation OSL intensity of the fitted dose response curve.

Figure S1 OSL dose-recovery test results for sample RB12-1. Measured-to-given dose ratios versus regenerative dose preheat (PH1) and test dose preheat (PH2) temperature (held for 10 s) for ~450-grain aliquots. The natural OSL signals of the multi-grain aliquots were optically bleached with two 1000 s blue LED illuminations at ambient temperature, each separated by a 10 000 s pause. A known dose of 80 Gy was then administered to each aliquot and a multi-grain aliquot version of the SAR procedure shown in Table S1 was subsequently used to estimate this dose (replacing 125°C green laser stimulations with 125°C blue LED stimulations for 60 s, and inserting a 50°C IR bleach for 40 s prior to each OSL measurement to remove any feldspar signal contamination).

Figure S2 Representative single-grain OSL decay and dose-response curves for quartz grains from sample RB12-5. The decay curve of a fast-component dominated calibration quartz grain is shown for comparison (Risø calibration quartz standard from Rømø, batch #98; Hansen et al., 2015). In the insets, the open circle denotes the sensitivity-corrected natural OSL signal, and filled circles denote the sensitivity-corrected regenerated OSL signals. The D0 value characterises the rate of signal saturation with respect to administered dose and equates to the dose value for which the saturating exponential dose-response curve slope is 1/e (or ~ 0.37) of its initial value. (a) grain with moderate OSL signal brightness (Tn intensity = 100–1,000 counts / 0.08 s). (b) grain with bright OSL signal (Tn intensity = ~1,000–10,000 counts / 0.08 s). (c) grain with very bright OSL signal (Tn intensity = >10,000 counts / 0.08 s). (d) grain with relatively dim OSL signal (Tn intensity = <100 counts / 0.08 s).

# Text boxes

Measured / given dose ratio

Preheat conditions (oC, 10s)

D0 = 137 ± 10 Gy

De = 169 ± 21 Gy

D0 = 139 ± 5 Gy

De = 170 ± 10 Gy

(b)

(a)

D0 = 134 ± 6 Gy

De = 143 ± 5 Gy

D0 = 180 ± 28 Gy

De = 100 ± 19 Gy

(c)

(d)