Powder Diffraction ???, p. ??? (2014)

## Rietveld Texture Analysis from Synchrotron Diffraction Images: II. Complex multiphase materials and diamond anvil cell experiments

Hans-Rudolf Wenk1), Luca Lutterotti2), Pamela Kaercher1), Waruntorn Kanitpanyacharoen1), Lowell Miyagi3), Roman Vasin1,4)

1) Department of Earth and Planetary Science, University of California, Berkeley CA 94720

2) Department of Industrial Engineering, University of Trento, Italy

3) Department of Geology and Geophysics, University of Utah, Salt Lake City

4) Frank Laboratory of Neutron Physics, Joint Institute for Nuclear Research, Dubna, Russia

Figure numbers and references refer to main paper. See also Lutterotti et al. (2013) and corresponding Appendices for an introductory description of the general analysis.

Download data files from the internet:

PD??? or http://www.ing.unitn.it/~maud/Tutorial/ImagesPowderDiffraction or

http://eps.berkeley.edu/~wenk/TexturePage/MAUD.htm

Shale.zip

Diffraction image for CeO2 standard: CeO2-00010.tif

Diffraction patterns for CeO2 standard (no rotation): CeO2.esg

Instrument calibration for shale with CeO2 standard: CeO2_noRotation.ins

7 diffraction images for shale: Hornby-long--00135+45.tif, Hornby-long--00134+30.tif, Hornby-long--00133+15.tif, Hornby-long- -00132-0.tif, Hornby-long- -00131-15.tif, Hornby-long--00130-30.tif, Hornby-long -00129-45.tif

7 sets of diffraction patterns for shale: Hornby-long-00135+45.esg, Hornby-long-00134+30.esg, Hornby-long-00133+15.esg, Hornby-long-00132-0.esg, Hornby-long --00131-15.esg, Hornby-long-00130-30.esg, Hornby-long-00129-45.esg

MAUD parameter file for shale (for test):  Shale-axial.par

MAUD parameter file for shale (for test):  Shale-nosym.par

Illite-mica.cif

Illite-smectite.cif

Kaolinite.cif

CeO2.cif

DAC-Magnesiowuestite.zip

Diffraction image for LaB6 standard (original): LaB6_25keV _003.mar3450

Diffraction image for LaB6 standard (converted): LaB6_25keV _003.tiff16

Diffraction patterns for LaB6 standard: LaB6_25keV _003.esg

MAUD parameter file for LaB6 standard (for test): LaB6.par

Instrument calibration for shale with LaB6 standard: LaB6.ins

Diffraction image for MgFeO (original): MgFeO_25keV _006.mar3450

Diffraction image for MgFeO (converted): MgFeO_25keV _006.tiff16

Diffraction patterns for MgFeO: MgFeO_25keV_006.esg

MAUD parameter file for MgFeO (axial symmetry, for test):  MgFeO_25keV 006_axial.par

MAUD parameter file for MgFeO (no symmetry, for test):  MgFeO_25keV 006_nosymmetry.par

LaB6.cif

MgFeO.cif

References for Appendices

Bish, D.L., and Von Dreele, R.B. (1989). “Rietveld refinement of non-hydrogen atomic positions in kaolinite,” Clays and Clay Minerals 37, 289-296.

Caglioti, G., Paoletti, A., and Ricci, F.P. (1958). “Choice of collimators for a crystal spectrometer for neutron diffraction,” Nuclear Instruments 3, 223-228.

Gražulis, S., Chateigner, D., Downs, R.T., Yokochi, A.F.T., Quirós, M., Lutterotti, L., Manakova, E., Butkus, J., Moeck, P., and Le Bail, A. (2009). “Crystallography Open Database – an open access collection of crystal structures,” Journal of Applied Crystallography 42, 726-729.

Gualtieri, A.F. (2000). “Accuracy of XRPD QPA using the combined Rietveld-RIR method,” Journal of Applied Crystallography 33, 267-278.

Lutterotti, L. (2005). “Quantitative Rietveld analysis in batch mode with Maud, and new features in Maud 2.037,” Newsletter of the Commission on Powder Diffraction, IUCr, 32, 53-55.

Lutterotti, L., Voltolini, M., Wenk, H.-R., Bandyopadhyay, K., and Vanorio, T. (2010). “Texture analysis of turbostratically disordered Ca-montmorillonite,” American Mineralogist 95, 98-103.

Lutterotti, L., Vasin, R.N. and Wenk, H.-R. (2013). “Rietveld texture analysis from synchrotron diffraction images: I. Basic analysis,” Powder Diffraction (in press).

Marquardt, H., Speziale, S., Reichmann, H.J., Frost, D.J., and Schilling, F. R. (2009). “Single-crystal elasticity of (Mg0.9Fe0.1)O to 81 GPa,” Earth and Planetary Science Letters 287, 345-352.

Matthies, S., and Wenk, H.-R (2009). “Transformations for monoclinic crystal symmetry in texture analysis,” Journal of Applied Crystallography 42, 564-571.

Plançon A., Tsipurski S.I., and Drits V.A. (1985). “Calculation of intensity distribution in the case of oblique texture electron diffraction,” Journal of Applied Crystallography 18, 191-196.

Ufer, K., Roth, G., Kleeberg, R., Stanjek, H., Dohrmann, R., and Bergmann, J. (2004). “Description of X-ray powder pattern of turbostratically disordered layer structures with a Rietveld compatible approach,” Zeitschrift für Kristallographie 219, 519-527.

Wenk, H.-R., Matthies, S., Donovan, J., and Chateigner, D. (1998). “BEARTEX: a Windows-based program system for quantitative texture analysis,” Journal of Applied Crystallography 31, 262-269.

Appendix 1. Step-by-step procedure for analysis of polymineralic shale

A. Instrument/Detector calibration (compare Part I, Appendix 1)

1. This step is similar to the calibration performed with the CeO2 sample for the coin analysis of paper I (Lutterotti et al. 2013). We repeat it here but modify the procedure for automatic loading and integration of the shale images. Such a calibration procedure is advantageous when using several diffraction patterns (Lutterotti, 2005). Also we demonstrate the flexibility of MAUD in setting up the sample/dataset orientations.

Data sets. Start a new analysis in MAUD (“File ( New ( General Analysis” menu). Select and edit the only dataset available. In the opening window locate the “Instrument” panel and click the “Edit” button next to “Diffraction Instrument” to open the instrument editing window. In this window:

- Rename the instrument to “APS-BESSRC 11-ID-C”.

- Adjust “Incident intensity” value to 0.001.

- Check that “none cal” is set for the “Intensity calibration”.

- Choose as “Angular calibration” model: “Flat Image Transmission”; click “Options” button next to it and change the “Detector distance” to 1850 (mm). Switch to the tab “Integration setting” and set 205 mm for “Center X” and 205.15 mm for “Center Y” (you can also set them later in the ImageJ plugin, but we show it this way to set them automatically from the instrument settings). These values are different from those used before as we will not rotate the image by 90° in ImageJ as we did for the coin in Paper I. Press “OK”.

- For “Geometry” choose “Image 2D”.

- For “Measurement choose “2Theta”.

- For “Source” select “Synchrotron”, click “Options” and change default wavelength to 0.10798 (Å).

- In “Instrument Broadening” click “Options” button next to the “Caglioti PV” model (Caglioti et al., 1958) and set the asymmetry parameters to zero. Under “HWHM” tab set the first parameter to 0.00025 and all the others to zero. Set all “Gaussianity” parameters to zero.

- Click “OK” to close the Instrument editing window.

- Switch to “Datafiles” tab and press the button “From images..” to start the ImageJ plugin.

- From the ImageJ menu click “File(Open…” and select the image CeO2-00010.tif (Part I, Appendix 1, step 2).

- From menu “Image(Adjust(Brightness/Contrast” use the “Auto” button to increase the contrast. You may want to push it more than once.

- Select “Image(Properties” menu, change “Unit of length” to mm and “Pixel width” and “Pixel height” to 0.2 for the Perkin-Elmer detector (200 μm/pixel) and press “OK”.

- Pick the “Rectangular” selection (first button in the ImageJ toolbar) and select the ROI (Region Of Interest) to be integrated by dragging the mouse over it.

- Open the “Plugins(Maud plugins(Multi spectra from normal transmission/reflection image” menu. The Sample-Detector distance should be 1850 mm and “Center X (mm)” and “Center Y (mm)” should already be set to 205 mm and 205.15 mm, respectively, as set above in the MAUD calibration model. Verify that they are correct by setting the tracker circle radius to a value of 2° in 2 (click “Update” button afterwards), otherwise adjust it to coincide with a diffraction ring. Set the “Number of Spectra” to 36, i.e. the image will be integrated in 10° sectors and the “Starting angle” and “Final angle” should be 0 and 360°, respectively. Set “Omega angle”, “Chi angle” and “Phi angle” to 0°. Be sure that “Reflection image” and “2-Theta angles calibrated” options are unchecked.

- Hit “OK” to start the integration and save the datafile when asked. You do not need to give a file extension. It will be automatically named “.esg”.

- Close the diffraction image and ImageJ windows. When asked whether you want to save changes to the .tif file, select “No” and return to the MAUD dataset editing window, where the .esg files are now listed in the “Spectra list” panel. Close the dataset editing window.

For the rest of the calibration analysis you can repeat exactly steps 3 to 8 as described in Appendix 1 of Paper I. Save the instrument parameters in the instruments database using a different name to differentiate it from the previous one that used images rotated 90° counter clockwise (e.g., “CeO2-norot.ins”). Since we have not rotated the image, the horizontal goniometer axis in BESSRC 11-ID-C is now not in YM but in ZM of the MAUD coordinate system (Figure 1b).

B. Shale analysis for axial symmetry

2. Start. Open a new analysis in MAUD (“File ( New ( General Analysis”) and save it (“File ( Save analysis as…”) in your data directory (e.g., as Shale2012-axial.par). Alternatively you could start with the CeO2 parameter file, removing the phase and all diffraction patterns in “Datafiles”, and saving the analysis file under a different name. As described in the paper we will start with only one dataset where the sample was not tilted around the horizontal goniometer axis. Since the sample was mounted with the bedding plane normal in the goniometer axis (Figure 1a), the bedding plane normal is now in ZM (in the center of the pole figure) (Figure 1b).

3. Edit the datasets.

- Under General tab: Import instrument “APS-BESSRC 11-ID-C” (e.g., CeO2-norot.ins) from the previous calibration without the 90° image rotation (see Part I, Appendix 2, step 1). It is also possible to import instrument parameters from a previous MAUD analysis file. Restrict the refinement range to 2 = 0.3 – 3.0°.

- Under Datafiles tab: Drag and drop the Shale-00132-0.tif image file into the datafiles list panel. MAUD will automatically generate a file containing the patterns and save it in the same folder as the image with the same name but extension .esg; the datafiles are added to the datafiles list. MAUD stores the most recent image integration parameters and uses them in such a case. Here the image will be integrated in 10( increments to 36 patterns as we did for the calibration. The measurement angles also will be set, based on the last values used in the integration with the ImageJ plugin. Omega, Chi and Phi were set to 0° during the last integration in the instrument/detector calibration (Step 1). If you later need to change orientation angles, select corresponding patterns in the list and use the “Modify Angles” button. You can also change the number of patterns, starting or final angles of integration in MAUD preferences in “Image2D.nSpectraDivision”, “Image2D.StartingAngle” and “Image2D. FinalAngle”. With the Linux operating system the drag and drop feature does not work, but you can instead use the “File(Load datafile…” menu and load the image as an ordinary datafile. Once again, the image integration will be done automatically. In Figure 3 (bottom) the stack of integrated experimental diffraction patterns is displayed.

- Background function tab: Add two more coefficients to the default polynomial background in MAUD for a total of 5 to create a 4th order polynomial background common to all patterns. As explained in section II.B of the paper, we add two symmetrical background peaks at low angles to account for small angle scattering from phyllosilicates. In “Background function” tab go to “Background peaks” and click “Add term” (Figure A1-1). The first peak is assumed to have an intensity (“Height”) of 100,000, width in 2 “HWHM” equal to 0.2°, width in  (“HWHW (eta)”) of 20°, position along 2 (“Position”) of 0°, position along azimuth (“Position (eta)”) of 0°. Use the same parameters for the second peak, but change its “Position (eta)” to 180° to make it symmetrical with respect to the other. Double-click on background peak names to rename them as in the Figure A1-1 to recognize them in the parameter tree-table list.

Figure A1-1. Window in MAUD to define background peaks.

4. Phases. We need to load the crystallographic information files (.cif) for the following phases: quartz, pyrite, kaolinite, illite-mica, and illite-smectite. Quartz and pyrite structures are included in the structures.mdb file in the MAUD directory. We provide the .cif files for triclinic kaolinite (Bish and Von Dreele, 1989), monoclinic illite-mica (Gualtieri, 2000), and monoclinic illite-smectite (Plançon et al., 1985). Refer to section Part I, Appendix 1, step 4 for information on importing .cif files and working with phases. For illite-mica and illite-smectite, the first monoclinic setting has to be used (Matthies and Wenk, 2009). The provided .cif file for illite-smectite is already in the first setting. For illite-mica, after importing, edit this phase and under the “General” tab change the space group from C2/c:b1 to C2/c:c1, which makes c the unique (2-fold) axis. Lattice parameters and atomic positions are changed accordingly by MAUD. Double click on phase names to rename them.

Edit the kaolinite, illite-mica and illite-smectite phases, and under “Advanced models” set the texture model to “E-WIMV”.Use the “Options” button and set the cell size to 10° and change the option “Generate symmetry” to “fiber” which imposes axial symmetry with respect to the axis ZM in the center of the pole figures; Figure 1b). Illite-smectite has very broad peaks due to small crystallites and a high level of defects (microstrain). Therefore we can already change the crystallite size and microstrain in this phase to 200 Å and 0.04 (under “Microstructure” tab click the “Options” button for “Size-strain model-Isotropic”). Quartz and pyrite do not show systematic intensity variations along diffraction lines (Figure 3, bottom) and thus have random orientation distributions. We select in “Advanced models-Texture” the “none tex” variant.

5. Sample. In “Sample” choose for phase refinement model “films” and set approximate initial volume fractions in the “Phase” list: illite-mica 0.2, illite-smectite 0.1, kaolinite 0.2, quartz 0.45 and pyrite 0.05. During the refinement these values will be automatically adjusted so that the total is 1.0. The pole figure coverage for a single image is shown in Figure 1b, but as we did not rotate the image by 90° the originally horizontal pole to the bedding plane is at ZM ( rotation axis). In “Sample position” check that all values for “Sample orientation” and “Sample displacement” are zero.

6. Manual adjustments. Compute the function once (“Calculator” toolbar button). The background may have an initially poor fit, causing peaks to be barely visible. We may need to adjust the initial background and intensity. Compared with the CeO2 measurements, intensity for shale may be several orders of magnitude too low. Also, a significant background is present on diffraction patterns of the shale. Scroll down in the tree-table list in the bottom of the main MAUD window to find the desired parameter, click on the value, set the step size in the box to the right and press the increase or decrease arrows. Check the progress on the “Plot” display. Do it for the beam incident intensity under “Diffraction Instrument” folder (“_pd_proc_intensity_incident” parameter) and for the first background coefficient “_riet_par_background_pol0”. You may notice that the calculated pyrite peaks are shifted from their experimental positions; the unit-cell parameter a should be adjusted to a value near 5.423 Å (“phase_pyrite – cell_length_a”).

7. Refinement. Save the analysis before starting the refinement. We will use the “Wizard” functionality of MAUD, as well as manual control over some parameters. Open the “Wizard” panel (“Analysis(Wizard” menu), select the first step in the left panel (“Background and scale parameters”) and press the button “Go!”. Do first 5 iterations (you can change the number with the slider during the refinement; enlarge the left panel if the numbers are not visibles below the iterations slider). The texture was not calculated in this step using the wizard. When finished, perform 3 more iterations directly without using the “Wizard” (“Analysis(Refine” menu or “Hammer” icon in the toolbar); this time the texture will be calculated. Check the progress in the “Plot 2D” panel.

If you observe curved lines in the Plot2D display it generally indicates that the sample is not exactly in the same center as the standard. Therefore you do need to refine the centering. Edit “Datasets(Diffraction Instrument”, and click “Options” next to “Angular calibration-Flat Image Transmission”. Right-click on values and set to “Refined” both “Center x error” and “Center y error”. You can also set this in the parameter list at the bottom of the main MAUD window (“_inst_ang_calibration_center_x” and “_inst_ang_calibration_center_y”). Perform several refinement cycles and you should observe that lines are now straight (this misorientation is actually minimal for the current sample).

Next we model turbostratic disorder in the smectite phase. Edit the “Illite-smectite” phase and under “Microstructure” tab select “Ufer single layer” for the “Planar defects model”. Press the “Options” button for this model and set the “Stacking direction” as “a” (along the a axis, monoclinic first setting), set the number of layers to 10, and set the two crystallite and microstrain factors equal to 1 (no difference in broadening between the stacking direction and the direction normal to it).

With the Ufer super-cell approach (Ufer et al. 2004, Lutterotti et al. 2010) the number of peaks increases and modeling the texture using E-WIMV causes the computation to run very slowly. Thus, after verifying the texture type and sharpness for illite-smectite (Figure 5a), we can change the texture model from E-WIMV to standard functions and impose a fiber component along the (100) crystal direction in the center of the pole figure. Edit the illite-smectite phase. Under “Advansed models” tab switch texture model to “Standard functions” and click “Options”. In new window set the “ODF background” to 0. Use the “Add term” button in the “Fiber components” panel to add a component. Then set “ThetaY” and “PhiY” to zero (this puts the component fiber axis into the center of the pole figure) and “ThetaH” and “PhiH” to 90° and 0° (this sets the fiber component along the [100] crystallographic direction). Leave the component spread set to 30° (FWHM) and the gaussian weight to 0.5. The component weight is not used if only one component is set. Double-click on the name of the component (“unknown” by default) and rename it to “Fiber 1”. Close all windows.

Next we set the parameters to refine. Open the refinement wizard panel (“Analysis(Wizard” menu) and select the “All parameters for texture” option in the left panel. Press the “Set parameters” button to close the window and set the parameters as needed in “Analysis(Parameters list”. Use the button on the bottom of the window to expand the entire tree. The parameters in the sample and dataset are correctly set to refine (i.e., background, intensity and image center).

Now check the phases, because the wizard refines only parameters for phases that exceed a certain volume fraction (the minimum amount is set in “Analysis(Preferences” menu, “wizard._riet_remove_phases_under”). In this complex sample with many phases, and especially low-symmetry phases, not all phase parameters can be refined. We check and manually set the following parameters:

- Set the B factor (“_atom_site_B_iso_or_equiv”) of the first atom of the first phase to a value of 0.5 and to be “Fixed”. As explained in the paper, B factors are not very sensitive at these low diffraction angles and they may correlate with the texture.

- Pyrite: cell parameter and microstructure parameters “_cell_length_a”, “_riet_par_cryst_size” and “_riet_par_rs_microstrain” should be refined.

- Quartz: “_cell_length_a”, “_cell_length_c”, “_riet_par_cryst_size” and “_riet_par_rs_microstrain” should be refined.

- Kaolinite: “_cell_length_a”, “_cell_length_b”, “_cell_length_c”, “_riet_par_cryst_size” and “_riet_par_rs_microstrain” should be refined. Do not refine cell angles of this triclinic mineral at this stage.

- Illite-mica: “_cell_length_a”, “_cell_length_b”, “_cell_length_c”, “_riet_par_cryst_size” and “_riet_par_rs_microstrain”. Also here do not refine cell angle gamma.

- Illite-smectite: “_cell_length_a”, “_riet_par_cryst_size” and “_riet_par_rs_microstrain’. Do not refine other cell parameters of this strongly disordered mineral. “Fix” all the parameters for the Ufer single layer model; for the fiber component in “Standard functions” set to “Refined” only the width and Gaussian/Lorentzian mixing parameter: “_texture_fiber_component_fwhm” and “_texture_fiber_component_gauss_content”; all the others should be “Fixed”.

Save the analysis again before starting the refinement. Use the “Hammer” icon in the toolbar to start the iterations of the least square algorithm. The refinement should arrive at a Rwp ≈ 13%, otherwise check that you did not miss a step or a setting. The reconstructed pole figures (from “Graphic(Texture plot(Reconstructed intensity”) should resemble those of Figure 5a (The actual pole figures in Figure 5 have been processed with BEARTEX and are slightly different). The experimental and the calculated patterns should agree fairly well in the “Plot” (Figure 4) and “Plot 2D” (Figure 3) displays. There are deviations in relative intensities in the “Plot” display, because this is simply an average over all patterns and does not take into account the relative weights of the orientation distribution.

C. Analysis without imposing texture symmetry

8. As a last step, we add the other six diffraction images to the analysis. Save the refinement under a different name (e.g., save as Shale2012-nosymm.par) so as not to overwrite the analysis done so far.

- Duplicate the existing dataset (“Edit(Duplicate object” menu after selecting the dataset). “Edit” the copy (it may take some time before the selection of the new dataset works) and remove under “Datafiles” tab all datafiles in the list (select them all and click “Remove”), then duplicate this new ‘empty’ dataset five more times (without the datafiles the duplication will be faster).

- Rename the datasets by double click and giving a meaningful name such as “Shale-45”, “Shale-30” etc.

- Load a corresponding image into each of new datasets, as you did in the previous section B.3 by dragging corresponding .tiff images into the empty diffraction patterns display. Next you need to change the φ angle (rotation around ZM) for all patterns in each dataset to the angle specified in the name of the image. Edit dataset, in new window go to “Datafiles” tab, select all patterns and click “Modify Angles” button. Set “New phi” angle to correct value (e.g., for the “Shale-45” dataset set “New phi” = -45 “+ Phi”). The pole figure coverage is now as shown in Figure 1c (Texture plot).

- Compute the model patterns (calculator tool), and review them in the “Plot” and “Plot 2D” displays. The calculated and experimental diffraction patterns should agree fairly well. Since all necessary phase parameters already have good starting values and are set to refine, there are only a few things that we need to adjust before the final refinement.

- Change the texure function of illite-smectite from “Standard Function” to “E-WIMV” and set the cell size to 10°. For each of the phyllosilicate phases, go to “E-WIMV options panel” and change the option “Generate symmetry” to “none” since we now have enough data to proceed without ODF symmetry imposed.

- Since we set the parameters to refine in the previous analysis and duplicated the datasets, we should not need to make any changes to the parameters.

- Start the refinement. This will take some time. On a laptop with Intel Core i7 3840QM and 32 Gb of DDR3 RAM (1600 MHz, CL11) running Microsoft Windows 7 Ultimate x64 and 64-bit Java VM five iterations take about 30 minutes.

9. For the Kimmeridge shale the final Rw factor is ( 12% and Rb is ( 8.6%. A few peaks are missing from the calculated diffraction pattern, some are too intense, and some have wrong shapes (e.g., Figures 3 and 4). The missing peaks are mostly due to feldspar that could be entered into the refinement. Anisotropic crystallite shapes and microstrains could also be imposed for phyllosilicates. Parameters of the Ufer model and some of the cell angles of phyllosilicates could also be refined. As was discussed in the main paper, pole figures are no longer perfectly axisymmetric (Figure 5b), but this may be an artifact due to incomplete coverage (Figure 1c).

10. The same procedure can be used to fit a larger 2θrange, up to 8°. It may be possible to start from the last refined analysis and simply change the computed range in the dataset editing window. The refinement will take longer. It may be necessary to reset the background before starting as the polynomial function has been refined for a smaller range. Just after changing the range, compute the patterns only (no refinement) and adjust manually the background parameters. Refine first these parameters only and then set refined all the parameters as for the last refinement step 8 (Figure 6).

Appendix 2. Step-by-step procedure for analysis of magnesiowuestite in diamond anvil cell.

A. LaB6 calibration

1. Instrument calibration. Before analyzing the MgFeO diffraction pattern, instrument parameters have to be refined with a standard sample as we are now using a different instrument and detector. In this case LaB6 is used (Lab6_25keV_003.mar3450). Start a new general analysis file, and save it as “LaB6_25keV_003.par”. Before using Mar images in MAUD, they have to be converted to 16 bit TIFF images either with the marcvt routine or with Fit2D as explained in PART I, Appendix 1, step 2. For convenience an already converted image (LaB6_25keV_003.tiff) has been provided.

After you prepared the appropriate .tiff image, proceed with the instrumental setup in MAUD. Follow directions in Part I, Appendix 1, step 1 but enter 0.49594 Å for wavelength, 350 mm as sample-detector distance and “ALS beamline 12.2.2” for the instrument name. For the Caglioti HWHM a more appropriate starting value for the first parameter is 0.0025 (10 times larger than for the APS beamline ID-11C).

Follow now Part I, Appendix 1, step 2 but load the LaB6 TIFF image you have converted (or use the one which is already converted). In the ImageJ plugin of MAUD specify the correct Mar3450 image plate pixel size (0.1×0.1 mm) if you converted the image using Fit2D. For conversion with marcvt it is not necessary since the the pixel size is preserved in the format. Note that the image is quite weak and to see the image you have to set brightness and contrast to maximum. For the image integration, you will find a reasonable alignment with the diffraction rings by setting “Center X (mm)” = 181.8 and “Center Y (mm)” = 182.7. Integrate the image in 10° sectors (“Number of spectra” = 36) to better homogenize over the spotty diffraction rings. Make sure that Omega, Chi and Phi angles are all set to zero.

A reasonable 2 range for the refinement is 6-24°. In “Diffraction Instrument” set incident intensity to 0.00001. For “Background function” we use “Polynomial” with five parameters (PART I, Appendix 1, step 3). To start set “_riet_par_background_pol0” to 0.025 and “_riet_par_background_pol1” to -0.001 and all others to 0.

Add a LaB6 phase as described in Part I, Appendix 1, step 4. A LaB6 .cif file is provided (from the COD database, entry 2104736, Gražulis et al., 2009), but you need to edit some parameters after importing: the NIST-recommended cell parameter for LaB6 is a = 4.15689 Å, crystallite size is 7000 Å, and microstrains are close to zero (set to 0).

When you calculate patterns with these parameters, you will notice in the “Plot” display of the MAUD main window some small peaks due to some sample contamination of which the one at 2θ ( 15.78° may influence the refinement. The others are too small and we can neglect them. “Edit” current dataset, go to the “Excluded regions” tab and click “add term” button. One excluded region will appear in the list. Input values for “Min in data units” as 15.5 and for “Max in data units” 16.

First run the refinement refining intensity, backgrounds, and detector distance; then beam center displacement, detector tilt parameters, and Caglioti parameters. Once beam centering and tilts are correct you will notice in the “Plot 2D” display, that the diffraction intensity fluctuates due to the “graininess” of the sample (big grains do not provide good statistics). To deal with this we select “arbitrary tex” as “Texture model” for LaB6 as described in section B of the main paper.

For the refinement of instrument parameters proceed as described in Part I, Appendix 1, steps 5-7. In this case do not refine “Asymmetry” parameters as the measured diffraction peaks are far from the image center and thus do not show any broadening asymmetry. Also in this case there is no eta angle dependent instrumental peak broadening. Repeat the refinement until convergence. Save instrument parameters as LaB6.ins (Part I, Appendix 1, step 8).

B. Magnesiowuestite analysis

2. First convert the diffraction image of magnesiowuestite (MgFeO_006.mar3450) into 16 bit .tiff format (or use the already converted MgFeO_006.tiff). Then start a new MAUD analysis for magnesiowuestite. In the editing dataset window, import the instrument parameters which you have just refined (LaB6.ins).

There are two ways to enter the image. Either use ImageJ and follow step 1 of Appendix 1, A1 or use the drag and drop method usedin Appendix1, B3. For this analysis we need to integrate it in 5° sectors to make 72 patterns. We can do this in ImageJ MAUD plugins. If you use the drag and drop method then go to “Analysis(Preferences” menu and change the “Image2D.nSpectraDivision” value to 72, then click the “Save on disk” button. Now drag and drop the converted tiff image over the plot window to load and automatically integrate the image. Open again the dataset editing window and in the “General” tab in the Datasets window, choose a “Computation range” from 11.9° to 24.4° in order to include the four diffraction peaks (111), (200), (220) and (311) of magnesiowuestite (Figure 9). We also need to remove or disable the pattern number labeled 37 (“Eta” = 185°) that is masked by the beamstop.

3. For this analysis, as explained in the main paper (III.B), we will use an interpolated background. This is done by editing the current dataset and going to the “Background function” tab. Remove all parameters for the “Polynomial” function (select parameters one by one and click “remove parameter” button). Then go to the “Interpolated” tab. Check the “Interpolated background” option and enter 100 in the “Interval for interpolation (in points)” field and 2 for “Number of iterations” (see section III.B of the main paper).

4. Next load the appropriate phase using a provided structure file (MgFeO.cif). MgFeO.cif is a magnesiowuestite with 25 atomic % Fe substituting for Mg, which is specified in atom site occupancies. Calculate model patterns with the “Calculator” icon on the toolbar and review the experimental and calculated diffraction patterns (Figure 9a). Due to the high pressure applied, experimental diffraction peaks are shifted toward higher 2θ values (lower d-spacings). The experimental pattern also displays sinusoidal variations due to elastic deformation by stress (Figure 9a, bottom). Large 2 (low d-spacings) are at Eta=90°, corresponding to the compression direction (arrow in Figure 9a) and to A in the pole figure coverage (Fig. 8d).

5. Sample. Since we are planning to impose fiber symmetry for the texture we have to bring the compression direction into the center (B). This can be done by a Chi rotation around axis XM (Figure 1b). Edit current sample in the MAUD main window “Sample” tab and in “Sample position” tab set the Chi value to 90°. This will bring the compression direction into the center of the MAUD reference pole figure. The “Sample orientation” angles can be refined (not done here).

6. Once the instrument, data files, and phase information are loaded, you will need to manually adjust several parameters to get a closer fit to the data before MAUD can run refinements. This is best done in the parameter list on the main MAUD page and changing “Value” by clicking on arrows. The display will show the new results (be patient, this can take some time). If you want to refresh the background interpolation during the parameter adjustement, you need to force the background re-interpolation by setting the option “Enable background interpolation” in “Analysis(Options” menu). Remember to put it back to “end of iteration” when you have finished.

- Intensity. Adjust the incident intensity (“_pd_proc_intensity_incident” parameter) until it is close to the data. A value near 0.4 should be good.

- Backgrounds. We can now check where the interpolated points are located. Edit the dataset and in “Datafiles” select one pattern and press the view button. In the menu of the window select “Tools(Edit interpolated background points” to see the location. You can remove or add new points using the right mouse button near the point to remove or near the position you want to add one. This is only for the selected pattern. But you do not have to be too concerned about changing them, even if the interpolation point is not located in the actual background. In MAUD the interpolated background works on the residual after subtracting the calculated peaks.

- Unit cell parameters. Since these experiments are at high pressure, you need to decrease the cell parameter “_cell_length_a” until the calculated peak positions roughly correspond to observed peaks.

- Crystallite size and isotropic microstrain. Adjust the crystallite size “_riet_par_cryst_size” and microstrain “_riet_par_rs_microstrain” until the peak width fits. Take into account that in the “Plot” display, broadening of peaks is partially due to peak position variations. In this case, good starting estimates for crystallite size and microstrain are 300 Å and 0.002, respectively.

- Texture. Edit the magnesiowuestite phase and select E-WIMV as texture model. In the E-WIMV options panel choose 10° cell size (as it is sufficient to represent the texture sharpness of the sample and greatly improves the coverage).

7. Macrostress. We will do the analysis using two different models. At this point you can save the analysis, perform the analysis as in the following using one model and then save the final result under a different name. Afterwards, come back to this point and redo the analysis using the other model, saving under the corresponding name. We illustrate how to set the initial parameters for stress model 1 (Moment pole stress) and stress model 2 (Radial diffraction in the DAC). Edit the ferropericlase phase and go to the “Advanced models” tab.

- Moment Pole Stress. Select this model in “Strain” drop-down list and click “Options” button (Figure A2-1). Fix the macrostresses with ij = 0 for i ( j, 11 = 22, and 33 = -211. To set the linear relationship between “Macrostress33” and “Macrostress11”, right click on the “Macrostress33” value field, select “Equal to..”. In the appearing window a tree-list of all parameters will show. Scroll down (almost to the bottom of the list) and select the “_rista_macrostress_11” parameter under the MgFeO phase and enter “-2” in the first field with a “x” in front. Press “Set bound” when finished. Now every time the “Macrostress11” changes, that value will be multiplied by -2 and entered into the “Macrostress33” window. Similarly, set “Macrostress11” equal to “Macrostress22”. Thus, we need only to adjust or refine “Macrostress11”.

- Enter the single crystal stiffnesses (Cij, in two-index Voigt notation) for the material of interest based on the equation of state for the corresponding pressure (Marquardt et al., 2009) since the elastic tensor is pressure-dependent. In the “Stress/strain model” box in the top right choose the desired stress model. Voigt, Reuss, Hill, PathGEO, and BulkPathGEO are available. If you choose the Hill model you can adjust the “Weight (Voigt-Reuss)” value to get arithmetically averaged elastic constants closer to either Voigt or Reuss boundary. We prefer the BulkPathGEO model. You can include the effects of texture by checking the “Use texture ODF” box. Texture effects can only be accounted for if the “E-WIMV” model is used for the texture description. Change the value of the “Macrostress11” (“Macrostress22” and “Macrostress33” have been constrained with the “Equal to..”) using the “live” parameter procedure and looking at the changes in the “Plot 2D” panel in the main MAUD window until you get a similar sinusoidal-like change of calculated diffraction peaks positions as in the experimental data.

Figure A2-1. MAUD window for moment pole figures option to use as a stress/strain model.

- Radial Diffraction in the DAC. If you have selected the “Radial Diffraction in the DAC” as a “Strain” model, click the “Options” button. This will open the “DAC radial diffraction options panel” (Figure A2-2). The first two boxes are titled “Alpha” and “Beta”. “Beta” is the angle between the sample ZM axis and the maximum stress direction. “Alpha” is a rotation around ZM. These two angles allow you to refine the orientation of the maximum stress axis in case it deviates from the sample Z-axis. In this case we leave these set to zero. (Do not refine these angles if you have chosen to refine “Sample orientation” angles!) The boxes “Q(hkl)” are the Q(hkl) factors for each lattice plane given in the parentheses. Q(hkl) should be positive and generally falls in the range of 0.001 to 0.007. A good initial estimate is 0.003. Enter it for the four peaks (111), (200), (220) and (311) in the refinement range. Adjust the starting values of these parameters using the “live” parameters procedure and checking the “Plot 2D” panel as for the “Moment pole stress” model.

Figure A2-2. MAUD radial diffraction option panel for stress-strain refinement.

D. Magnesiowuestite refinement

8. Refine Parameters. We are ready to begin the refinement. The conditions are too complex to use the Wizard directly, and we will proceed with a combination of semi-automatic and manual refinement. We need to include texture from the beginning because preferred orientation is strong, and with the “Strain” model parameters. Open the “Parameter list” window, press the “Fix all parameters” button first and then “Expand all”.

- Intensity and backgrounds. Here we use interpolated backgrounds, so we refine only the intensity. In “Parameter list(Commands” click “Free scale pars”.

- Unit cell. In the case of cubic symmetry such as with magnesiowuestite, we refine only “_cell_length_a”. Set it to “Refined” in the expanded list (“Tree Table”).

- Crystallite size and r.m.s. microstrain. In “Parameter list(Commands” click the “Free microstructure” button.

- Stress model. For “Moment pole stress” refine only the “_rista_macrostress_11” in the expanded list of parameters. For the “Radial Diffraction in the DAC” model set and refine the four parameters after “_smlille_DAC_RDX_offsetBeta” (unfortunately, in current version they all have the same name “_smlille_DAC_RDX_offsetAlpha”).

- Texture model. We use E-WIMV and 10° cell size. In a first cycle, we will refine without imposing texture symmetry. For a cubic mineral, even a single image provides a reasonable fit, with pole figures that are compatible with axial symmetry (Figure 10a) and document that the compression axis is not tilted as sometimes happens and then needs to be corrected by performing additional sample rotations. After the sample symmetry is established we perform a second refinement cycle, imposing fiber symmetry (change the option “Generate symmetry” to “fiber” in E-WIMV options) and obtain axially symmetric pole figures (Figure 10b).

After finishing setting refinable parameters, close the “Parameter list” window and perform 3-5 iterations (“Hammer” icon in the toolbar).

For the “Moment pole stress” model we need to perform several iteration to find the correct elastic tensor cycles, as explained in the main paper (III.C). You can also do the initial refinement with “Radial Diffraction in the DAC” model. Once cell parameters (and thus pressure) are confirmed, you may switch to the “Moment pole stress” model and enter the pressure-corrected Cijs. Use Table 2 from Marquardt et al. (2009) to estimate pressure from the cell parameter value and their Table 3 to get Cij values for this pressure. Note that their composition of ferropericlase is slightly different but it is the best information currently available. Comparison of our refinement results at this point with the equation of state (Marquardt et al., 2009), suggests that our pressure value is close to 39.6 GPa (refined cell parameter is ( 3.9866 Å and corresponding volume is ( 63.36 Å3). Thus appropriate Cij values that should be used for the determination of anisotropic elastic stress tensor are C11 = C22 = C33 = 624.4 GPa, C12 = C13 = C23 = 171.1 GPa, C44 = C55 = C66 = 175.3 GPa, and all others are zero.

9. The final pole figures are displayed in Figure 10a for the case where no sample symmetry is imposed and in Figure 10b where fiber symmetry is imposed. Pole figures can be plotted in the “Graphic(Texture plot” menu. Compare them with the actual experimental data (Figure 8e). The {100} pole figure displays a strong maximum parallel to the compression direction (center of pole figure). For axially symmetric textures inverse pole figures that represent the sample symmetry axis relative to crystal coordinates are most efficient (Figure 10c). For cubic symmetry a sector 001-011-111 is sufficient (it contains all the non-redundant information on orientations). The inverse pole figure has a maximum of compression axes parallel to 001.