## Overall
Author et al., year | Primary study aim | Context coded (Healthcare, managing challenging behvior, general stress detection) | Subjects | Gender (males) | Study population | Mean age (standard deviation, range) in years | EDA wearable used | Location of EDA wearable | Main EDA signals considered | Real-time/Post-processing of EDA parameters | Field or lab EDA measurement | Type of stressor: induced (manipulated) or observed | Type of stress assessment | Self report? | Observation of behaviour? | Reported correlation between stress and EDA | Statistical analysis used (ML, other or none) | Established a relation between EDA and stress? | Studied the independent relationship between EDA and stress? | Reported accuracy of predicted stress (%)
Alinia et al., 2021 | Examine the feasibility of using a wearable sensor device to continuously monitor stress in an ambulatory setting. | Healthcare | 11 | 1 | Adults in Alcohol Use Disorder Recovery | 40.3 (±3.7, 27-60) | Empatica E4 | Wrist | SCR | post | Field | observed stressor | Self-report (Positive and Negative Affect Schedule, Likert scale for pain & discomfort, marking of stress events during the day) | yes | no | Features of the SCR are correlated to self-reported stress | Other | Yes | yes | NA
Anusha et al., 2020 | Pre-surgery stress detection based on EDA | Healthcare | 41 | 24 | Patients undergoing surgery | 54.8 (±16.8, NA) | Wrist sensor (Analog Devices) | Wrist | SCL, SCR | real time | Field | observed stressor | Self-report (STAI) | yes | no | EDA features could, after deleting motion artifacts based upon accelerometry features, classify stress with accuracy up to 85.1% using ML | ML | Yes | no | 85.1
Aqajari et al., 2021 | Predict different pain intensities in postoperative patients | Healthcare | 25 | 11 | Postoperative adult patients | 54.5 (±17.4, 23-89) | Empatica E4 | Wrist | SCR | Post | Lab | induced stressor | Self-report (Numeric Rating Scale for Pain) | yes | no | SCR features could classify pain with accuracy up to 84% using ML, | ML | Yes | yes | 84
Aristizabal et al., 2021 | Examine feasibility of detecting stress events using physiological and self-reported stress, anxiety data, and deep learning methods. | general stress detection | 18 | 7 | Healthy subjects | 26.7 (±4.1, NA) | Empatica E4 | Wrist | EDA | Post | Lab | induced stressor | Self-report (STAI and Likert scale) | yes | no | STAI and perceived stress increased during stress conditions. EDA also increased during stress conditions. STAI, Likert scale and EDA were not directly correlated. | Other | indirectly | no | NA
Baker et al., 2018 | Predicting externalizing behaviour problems in children with ASD | challenging behaviour | 40 | 24 | Children with ASD | 6.4 (NA, 4-11) | Affectiva Q-Sensor | Wrist | SCR | Post | Lab | induced stressor | Parent report of Child Behaviour Checklist | no | yes | EDA was related to externalizing behaviour problems | Other | Yes | yes | NA
Betancourt et al., 2017 | Measuring EDA in children with ASD during speech language therapy | Healthcare | 6 | 4 | Children with neurodevelopmental communication impairments | NA (NA, 2-11) | Affectiva Q Sensor | Wrist or ankle | SCR, SCL | Post | Lab | observed stressor | Video observation of emotional valence on 1-5 Likert scale | no | yes | SCR frequency was related to emotional valence rating | Other | Yes | yes | NA
Bruun et al., 2021 | Examine the robustness of Cued-Recall Debriefing regarding emotional experiences | general stress detection | 45 | 23 | Students | 27.4 (±3.1, NA) | Mindplace ThoughtStream | Little device to carry, palmar surface of the hand | EDA | Post | Lab | Induced stressor | Self-report (Self-Assessment Manikin and Profile of Mood States) | yes | no | In general EDA and perceived stress were not correlated. | Other | Yes | yes | NA
Can et al., 2019 | Automated stress detection system development | general stress detection | 21 | 18 | Students | 20 (NA, NA) | Empatica E4 | Wrist | SCR, SCL | Post | Field | induced stressor | Daily schedule context and NASA-TLX questionnaires | yes | no | Using EDA features, up to 84.3% accuracy was reached when detecting stress using ML | ML | Yes | yes | 84.3
Can et al., 2020 | Examining and automated stress detection system, monitoring session-based, daily and long-term perceived stress | general stress detection | 15 | 9 | Healthy subjects | 28 (NA, NA) | Empatica E4 | Wrist | SCL, SCR | Post | Lab and Field | observed and induced stressor | Self-report (NASA-TLX and Likert scales) | yes | no | Using ML, EDA features could classify stress with accuracies up to 57.4%, 68,9% and 73.6% for session-related, daily and long term (monthly) stress, respectively. | ML | Yes | yes | 73.6
Carreiro et al., 2020 | Detection of drug craving and stress | Healthcare | 30 | 17 | Clients with substance use disorder | 32.3 ( NA, 18-37) | Empatica E4 | Wrist | EDA | Post | Field | observed stressor | Context self-report of periods of stress and craving and through semi-structured interviews | yes | no | EDA features combined with accelerometer and heart rate could detect stress with accuracy up to 81.3% using ML | ML | Yes | no | 81.3
Cella et al., 2020 | Monitoring early psychosis | challenging behaviour | 15 | 12 | Psychotic patients | 28.1(±3.8, NA) | Empatica E4 | Wrist | EDA | Post | Field | observed stressor | Mobile phone self-assessment ClinTouch | yes | no | EDA values were related to distressing experiences | Other | Yes | yes | NA
Chae et al., 2021 | Investigating the relationship between stress levels and rework of engineering drawing tasks | general stress detection | 15 | NA | Students | NA | Empatica E4 | Wrist | EDA | Post | Lab | induced stressor | Self-report (survey of occupational stress) | yes | no | EDA increased during under the same circumstance perceived occupational stress increased. EDA and occupational stress were not directly correlated. | Other | indirectly |  | NA
Choi et al., 2012 | Develop an ambulatory stress monitor | general stress detection | 10 | NA | NA | NA | AgCl electrodes, E243 InVivo metric systems corp | Wrist (device) and Fingers (electrodes) | SCL, SCR | Post | Lab | induced stressor | Context, distinguish stress/non-stress, perceived stress rating by using the Likert scale after each task | yes | no | Average SCL and the standard deviation of SCR were related to stress | Other | Yes | yes | NA
Christian et al., 2022 | Investigating the relationship between physiological measurements and symptoms of eating disorder and social anxiety disorder | Healthcare | 109 | 29 | Undergraduate students | 19.5 (±2.9, 18-38) | Empatica E4 | Wrist | SCR | Post | Lab | Induced stressor | Self-report (Subjective Units of Distress scale) | yes | no | Combined with features of heart activity, features of EDA were a strong predictor of subjective units of distress, using ML. | ML | Yes | no | NA
Clevers et al., 2020 | Study associations between lifestyle factors, stress physiology, and Gastrointestinal symptoms. | Healthcare | 1002 | 531 | Office employees | 39 (±10, NA) | Chill band (imec) | Wrist | EDA | Post | Field | observed stressor | Self-report (Self-Assessment Manikin) | yes | no | No correlation between EDA and distress was found | Other | No | yes | NA
de Arriba Perez et al., 2018 | Protocol for the evaluation of stress measured by a wrist wearable | general stress detection | 12 | NA | Students | NA | Microsoft Band 2 | wrist | EDA | post | Lab and field | induced stressor | Self-report (Likert scale) | yes | no | EDA features combined with features of skin temperature and heart rate could detect stress with accuracy up to 99.9% (laboratory) and 97.6% (field) using ML | ML | Yes | no | 99.9
De looff et al., 2019 | Predict aggressive behaviour of inpatients in forensic psychiatry | challenging behaviour | 100 | 68 | Forensic psychiatric patients | 32 (±9, 18 – 57) | Empatica E4 | Wrist | SCL | Post | Field | observed stressor | Ward assessment of Modified Overt Aggression Scale (MOAS+) | no | yes | SCL and PPM values correlated to measures of aggression, 20 minutes before its onset | Other | Yes | yes | NA
Debard et al., 2020 | Accuracy assessment of stress detection algorithms in real life through comparisons with comprehensive annotated data | general stress detection | 6 | 2 | University students | 20.5 (±0.8, NA) | Empatica E4 | Wrist | SCR | Post | Field | observed stressor | Self-report (proprietary questionnaire regarding subjective experience) | yes | no | EDA features combined with features of heart activity and movement, could classify stress with a sensitivity up to 70% using ML | ML | Yes | no | NA
Deutsch et al., 2021 | Exploring whether EDA could warn of outbursts of combative behaviour in dementia patients | challenging behaviour | 2 | 2 | Veterans with dementia | NA (NA,67-83) | Empatica E4 | Wrist | EDA | Post | Field | observed stressor | Observation (combative behaviour) | no | yes | No statistical analysis was done. EDA increased after the onset of combative outburst | None | qualitatively | yes | NA
Dissanayake et al., 2022 | Understand users’ perspectives on AI-based emotion recognition systems in real-time use cases | general stress detection | 12 | 9 | Healthy subjects | 30.1 (±4.15, 18-45) | Empatica E4 | Wrist | EDA | real time | Field | observed stressor | Self-report (categorical representation of emotions) | yes | no | EDA features combined with features of heart activity, skin temperature and movement could predict the emotional label with a sensitivity up to 52.9% using ML | ML | Yes | no | NA
Durán-Acevedo et al., 2021 | Studying the development and implementation of devices for measuring signals during stress situations in academic context | general stress detection | 25 | 18 | Academic students | 23.1 (±2.6, 18-30) | Grove 1.2 GSR sensor (Seeed Technology) | Fingers | EDA | Post | Lab | Induced stressor | Self-report (SISCO inventory of academic stress) | yes | no | A feature of EDA (‘sensitivity’) matches 92% of categorized self-reported academic stress) | Other | Yes | yes | 92
Elsadek et al., 2020 | Evaluate the physio-psychological relaxation effects of viewing the green space from high-rise buildings on stressed people | general stress detection | 30 | 0 | Subjects dealing with work-related stress in financial services industry | 29.6 (±2.6, NA) | ErgoLab sensors | Fingers | EDA | Post | Lab | Induced stressor | Self-report (semantic differential and the profile of mood states questionnaires). | yes | no | EDA increased during conditions where negative feelings increased. Self-report and EDA were not directly correlated. | Other | indirectly | no | NA
Georgiou et al., 2019 | Measure stress parameters in surgical simulation tasks | general stress detection | 21 | NA | Novice surgeons and medical students | NA (NA, 23 – 26) | Empatica E4 | Wrist | EDA | Post | Lab | induced stressor | Self-report (STAI) | yes | no | EDA was correlated with STAI | Other | Yes | yes | NA
Giorgi et al., 2021 | Investigate the capability of two consumer wearable devices in assessing mental and emotional states | general stress detection | 17 | 10 | Healthy subjects | 31.1 (±3.7, NA) | Empatica E4 and Shimmer 3 sensor | Wrist and Fingers | SCL | Post | Lab | Induced stressor | Self-report (NASA-TLX) | yes | no | SCL changed significantly in situations subjects did not reported changes in perceived stress | Other | indirectly | no | NA
Goodwin et al., 2019 | Predicting aggression in ASD patients | challenging behaviour | 20 | 15 | Psychiatric inpatients with ASD | 10.8 (±3.1, 6 - 17) | Empatica E4 | Wrist | EDA | Post | field | observed stressor | Observation of aggression | no | yes | EDA combined with Blood Volume Pulse and Interbeat intervals could predict aggression in the upcoming minute | Other | Yes |  | NA
Granato et al., 2020 | Predicting the players’ emotions during video games sessions using physiological data | general stress detection | 33 | 29 | Healthy subjects | 24.7 (±5.15, 18-40) | Electrodes (Fiab F9053N) with custom built (wireless) device | Fingers | EDA, SCL, SCR | Post | Lab | Induced stressor | Self-report (SAM and affective slider) | yes | no | EDA features combined with features of ECG, EMG and respiration could predict valence and arousal using ML. SCL was one of the most important features | ML | Yes | no | NA
Hewgill et al., 2020 | Investigating the relationship between physiological parameters and self-reported level of stress | general stress detection | 1 | 1 | Healthy subject | 25 (NA, NA) | Custom built (wearable) garment | Torso (front and back) | EDA | Post | Lab | Induced stressor | Self-report (modified Cohen Perceived Stress Scale) | yes | no | EDA significantly correlated with daily perceived stress | Other | Yes | yes | NA
Hollis et al., 2018 | Study the framing of emotions by sensor feedback | general stress detection | 64 | 16 | University students | 19.5 (±1.4, 18-22) | EmVibe (device to hold) | Wrist (device) and Fingers (electrodes) | EDA | post | Lab | induced stressor | Perceived stress rating by using the Likert scale after each task | yes | no | No quantitative analysis was done. Subjects perceived the increase of EDA as moderately accurate when detecting stress | None | qualitatively | yes | NA
Hosseini et al., 2022 | Creating a wearable biometric nursing stress dataset in a real-world hospital setting | general stress detection | 15 | 0 | Nurses | NA (NA, 30-55) | Empatica E4 | Wrist | EDA, SCL, SCR | real time | Field | observed stressor | Self-report (survey) | yes | no | EDA features, combined with features of heart activity and skin temperature, can predict stress using ML. | ML | Yes | no | NA
Iaboni et al., 2022 | Develop personalized machine learning models to identify moments of agitation in people with dementia | challenging behaviour | 17 | 7 | Subjects with advanced dementia and challenging behaviours | 78.9 (±8.9, 65-93) | Empatica E4 | Wrist | EDA, SCL, SCR | Post | Field | observed stressor | Observations by nurses (agitation events) combined with video observations, using the Behavioural Supports Ontario Dementia Observation System | no | yes | EDA features combined with features of heart activity, movement and skin temperature could predict agitation with a median area under the receiver operating curve (AUC) of 0.87 using ML. | ML | Yes | no | NA
Ihmig et al., 2020 | Studying automated anxiety level detection based on bio signals using AI | general stress detection | 80 | NA | Spider-fearful individuals | NA (NA, 18-40) | BITalino (Plux) | palmar surface of the hand | EDA, SCR | Post | Lab | Induced stressor | Self-report (Likert-scale) | yes | no | EDA features combined with features of heart activity could classify anxiety with an accuracy of 89.9%, using ML. | ML | Yes | no | 89.9
Jambhale et al., 2022 | Identify optimal biomarkers that can best assist in the accurate detection of stress | general stress detection | 15 | 12 | NA | 27.5 (±2.4, NA) | RespiBAN Professional | Chest | EDA | Post | Lab | Induced stressor | Self-report (PANAS, STAI, SAM and a Short Stress State Questionnaire) | yes | no | EDA features combined with features of heart activity, movement, EMG, respiration and skin temperature could predict agitation with a median area under the receiver operating curve (AUC) of 0.87 using ML. | ML | Yes | no | NA
Khan, 2015 | evaluation of mental stress using adaptive wavelet packets filtering techniques | general stress detection | 22 | 11 | healthy subjects | 23 (NA, 18-35) | AgCl electrodes with custom built (wireless) device | Wrist (device) and Fingers (electrodes | SCL, SCR | post | Lab | induced stressor | Self-report (Likert scale) | yes | no | SCL and SCR features combined with features extracted from heart rate and respiration can detect stress up to an 82% accuracy using ML. | ML | Yes | no | 82
Kuijpers et al., 2012 | Predicting aggression during psychiatric admission | challenging behaviour | 1 | 0 | Patient with schizophrenia | ‘early 20s’ | Wrist wearable (not specified) | Wrist | SCL | post | Field | observed stressor | Self-report (diary) and Social dysfunction and aggression scale (SDAS) by caregiver | yes | yes | No quantitative analysis was done. SCL increased before onset of aggressive behaviour | None | qualitatively | yes | NA
Kyriakou et al., 2019 | Testing a stress detection algorithm in real world settings | general stress detection | 129 | NA | NA | NA | Empatica E4 | Wrist | SCL , SCR | post | Lab and field | observed stressor | Video observation and self-report | yes | yes | EDA combined with skin temperature could detect stress with an accuracy of 84% | Other | Yes | no | 84
Lai Kwan et al., 2019 | Detection of significant moments in individuals with dementia | Healthcare | 6 | NA | Three dyads: a person with dementia and caregiver. | NA | Triple point sensor of Thought Technology Ltd. | Finger (electrodes) with handheld device | EDA | post | Field | observed stressor | Video observation and interview | yes | yes | EDA combined with skin temperature and heart rate could detect stress with a true positive rate of 70% | Other | Yes | no | NA
Lee et al., 2016 | Predicting driver's stress level by evaluating movement pattern of the steering wheel | general stress detection | 8 | 6 | Healthy subjects | 29.8 (± 3.2, 25-35) | Glove (prototype) | Hand (palm) | EDA | post | Lab | induced stressor | Video observation (facial expression), and self-report (Likert scale) | yes | yes | EDA correlated with facial expression and self-report of stress. | Other | Yes | yes | NA
Lee et al., 2020 | Studying the accuracy of stress level classification models trained based on denoised EDA | general stress detection | 25 | 4 | Healthy subjects | 68.4 (±4.8, NA) | Wearable wristband (not specified) | Wrist | SCR | Post | Field | Induced stressor | Self-report (questionnaire) and observed with video observation | yes | no | EDA features could predict stress with an accuracy of 63.4% using ML. | ML | Yes | yes | 63.4
Lee et al., 2020 | Explore different bio-signals to analyse anxiety during driving | general stress detection | 31 | 16 | University students | 23.3 (±1.9, NA) | Empatica E4 | Wrist | EDA | post | Lab | induced stressor | Self-report (level of anxiety) | yes | yes | Using ML, EDA features could classify anxiety with an 42% accuracy. | ML | Yes | yes | 42
Li et al., 2020 | Studying early versus late fusion of automatically learned wearable sensor features for predicting future wellbeing | general stress detection | 239 | NA | Students | NA | Wearable wristband (not specified) | Wrist | EDA | Post | Field | observed stressor | Self-report (0-100 scale) | yes | no | EDA combined with skin temperature and movement can predict stress, using ML | ML | Yes | no | NA
Marko, 2016 | Assessment of a protocol for induction of psychosocial stress | general stress detection | 56 | 16 | University students | 21.5 (±3.7, 18 - 23) | neurobit optima 4 | little device to carry, electrodes on Finger | SCL | post | Lab | induced stressor | Self-report (STAI and Likert scale) | yes | no | SCL was significantly influenced by a situation experienced as stressful. SCL and STAI were not correlated directly. | Other | indirectly | yes | NA
Masood et al., 2019 | Evaluating a deep learning framework modelling mental stress | general stress detection | 24 | NA | NA | NA | E243 electrodes (Vivo Metric Systems Corp) | Fingers | SCL, SCR | post | Lab | induced stressor | Self-report (Likert scale) | yes | no | SCL and SCR features combined with features extracted from heart rate and respiration, can detect stress with an 84% accuracy using ML. | ML | Yes | no | 84
Melander et al., 2017 | Identification of agitation in people with dementia | challenging behaviour | 9 | NA | Subjects with advanced dementia and challenging behaviours | NA | Discrete tension indicator 2 (Philips) | Wrist | SCL | post | Field | observed stressor | Observation of agitation by the nurses | no | yes | Personalized SCL values correlated with moments of and prior to agitation | Other | Yes | yes | NA
Miranda et al., 2016 | Collect physiological signals from caregivers during stressful conditions | challenging behaviour | 10 | 5 | Students | 24.7 (±1.1, NA) | Empatica E3 | Wrist | SCR | post | Lab | induced stressor | Observation of anxiety-related behaviour and self-report (level of perceived anxiety) | yes | yes | Using ML, SCR features could identify 31% of anxiety (recall). 77% of anxiety detection based upon GSR-features were correct (precision) . | ML | Yes | yes | NA
Oh et al., 2021 | Developing a deep learning-based algorithm to recognize car drivers’ real emotions | general stress detection | 13 | 6 | NA | NA | Biopac: wireless version | Fingers | EDA | post | Lab | Induced stressor | Self-report (Survey categorizing 8 emotions) | yes | no | EDA combined with facial expression can predict the emotional category with an accuracy of 89% using ML. | ML | Yes | no | 89
Parent et al., 2020 | Studying physiological stress monitoring in the presence of physical activity | general stress detection | 48 | NA | Healthy subjects | NA | Empatica E4 | Wrist | EDA, SCL, SCR | Post | Lab | Induced stressor | Self-report (BORG, NASA-TLX questionnaire with two extra stress questions (Likert-scale)) | yes | no | EDA features were not significantly affected by situations which affected self-reported stress. | Other | No | no | NA
Phitayakorn et al., 2015 | Comparing physiological and psychological signals in operating rooms teams during simulated events | general stress detection | 121 | NA | Operating Room Teams (e.g. nurses, residents, anaesthesiologists, technicians). | NA | Wrist sensor by Neumitra | Wrist | EDA | post | Lab | induced stressor | Self-report (STAI) | yes | no | EDA showed no correlation with state or trait anxiety | Other | no | yes | NA
Rahma et al., 2021 | EDA for monitoring Cognitive and Emotional Stress using AI | general stress detection | 18 | 8 | Healthy subjects | NA (NA,18-22) | surface electrode Ag-AgCl | Hand palm | SCR | Post | Lab | Induced stressor | Self-report (questionnaire) | yes | no | SCR-features can predict the stress level with an 94% accuracy using ML | ML | Yes | yes | 94
Redd at al., 2020 | Studying a wearable sensor system for continuous monitoring of physiological signals to predict emotional changes in school-aged children | general stress detection | 5 | NA | Children | 9.4 (NA, 8-12) | Empatica E4 | Wrist | EDA | Post | Field | observed stressor | Behavioural observations (categorized) | no | yes | EDA features combined with features of heart activity, skin temperature and movement could predict the emotional label with a sensitivity up to 85% using ML | ML | Yes | no | 85
Reetz et al., 2021 | Studying affective and physiological responses to gameplay in virtual nature and urban settings | general stress detection | 20 | 10 | Healthy students | median age 23 (NA, 19-33) | BioPac 2-channel BioNomadix module | Fingers | EDA | Post | Lab | Induced stressor | Self-report (Zuckerman Inventory of Personal Reactions) | yes | no | EDA increased in a situation in which negative affect increased, but did not decrease when negative affect decreased. No direct correlation between EDA and affect was studied. | Other | indirectly | no | NA
Rodriguez et al., 2020 | Measure Anxiety and stress recognition system for academic environments based on physiological features | general stress detection | 21 | 12 | Healthy students | NA (NA, 18-21) | GSR sensor (not specified) | Fingers | EDA | Post | Lab | Induced stressor | Self-report (STAI questionnaire) | yes | no | EDA features combined with features of skin temperature, heart rate, oxygen saturation and breathing rate could predict anxiety with an accuracy of 98.9% using ML. | ML | Yes | no | 98.9
Romaniszyn-Kania et al., 2021 | Using physiological parameters to classify the subjects’ intensity and diversification of experienced emotions | general stress detection | 49 | 25 | Healthy students | NA, (NA, 19-26) | Empatica E4 | Wrist | EDA, SCL, SCR | Post | Lab | Induced stressor | Self-report (Job-Related Affective Well-Being Scale) | yes | no | EDA features combined with features of heart activity and movement could classify the subjects’ intensity and diversification of emotions up to 81.6% using ML | ML | Yes | no | 81.6
Salkevicius et al., 2019 | Measuring anxiety levels through physiological signals used in the field of virtual reality exposure therapy | Healthcare | 30 | 17 | Healthy subjects | 27.5 (±4.2, 21-34) | Empatica E4 | wrist | EDA, SCR | post | Lab | induced stressor | Self-report (subjective unit of distress scale) | yes | no | Using ML, EDA and SCR features could classify anxiety with an 76.6% accuracy. | ML | Yes | yes | 76.6
Sano et al., 2018 | Examine how accurately mobile devices could identify stress | general stress detection | 201 | 129 | Students | NA (NA, 18 – 25) | Affectiva Q Sensor | Wrist | EDA, SCR | post | Field | observed stressor | Self-report (perceived stress scale) | yes | no | EDA features combined with features of skin temperature and accelerometry could classify stress with accuracy up to 78% using ML | ML | Yes | no | 78
Schlier et al., 2019 | Identify stress-response over the course of psychosis-spectrum exercises | challenging behaviour | 62 | 17 | People with psychotic experiences | 23 (±4.6, NA) | Movisens edaMove | Wrist | SCL | post | Field | observed stressor | Self-report (perceived stress on11- point scale ) | yes | no | During paranoia phases, self-perceived stress increased along with SCL, SCL and self-perceived stress were not directly correlated | Other | indirectly | no | NA
Sciaraffa et al., 2022 | Validate brain activity as a measure for monitoring stress levels in real-time without any calibration | general stress detection | 20 | 12 | Healthy subjects | 29.3 (±5.12, NA) | Shimmer3 sensor | Fingers | SCL | Post | Lab | Induced stressor | Self-report (NASA-TLX questionnaire) | yes | no | SCL was able to predict conditions which were associated with different frustration levels, using ML. No direct correlation between EDA and affect was studied. | ML | Yes | no | NA
Seoane et al., 2014 | Assess stress level in combatants with wearables | general stress detection | NA |  | NA | NA | Glove and upper arm strap (proprietary) | Fingers and upper arm | EDA | post | Lab | induced stressor | Self-report (Self-Assessment Manikin and Profile of Mood States) | yes | no | EDA features could classify stress with accuracy of 51.5% (fingers) and 42.2% (upper arm) using ML | ML | Yes | yes | 51.5
Shao et al., 2020 | Investigate psychological and physiological relaxation impacts of horticultural activity | general stress detection | 26 | 15 | Healthy elementary school students | 8.1 (±0. 2, NA) | ergoLAB sensors | Fingers | EDA | post | Lab | induced stressor | Self-report (Semantic Differential Questionnaire (SD) and STAI) | yes | no | Decreased EDA was observed along with a decrease in STAI and increase in positive emotions (SD questionnaire). EDA was not directly correlated to STAI or SD | Other | indirectly | no | NA
Studer et al., 2018 | Explore relation between accidents on the road and psychological and physiological state | general stress detection | > 7 | NA | Healthy subjects | NA (NA, 20 - 35) | Wrist sensor (MAXREFDES73#) | Wrist | EDA | post | Field | observed stressor | Self-report (perceived stress on a scale from 1 to 5) | yes | no | No quantitative analysis was done. A good correspondence was recorded between stress score and EDA. | None | qualitatively | yes | NA
Tao et al, 2022 | Automated Stress Recognition Using Supervised Learning Classifiers by Virtual Reality Scenes | general stress detection | 57 | 19 | Health students | 20.9 (±1.9, NA) | B4RealTime (custom build?) | Wrist | EDA | post | Lab | Induced stressor | Self-report (Short State Anxiety Inventory) | yes | no | EDA values increase when stress increased. EDA features combined with features of heart activity and eye-blinking could predict stress scores with an accuracy up to 74.2% using ML. | ML | Yes | no | 74.2
Torku et al., 2022 | Develop and test an approach to detect older adults’ stressful environmental interactions | general stress detection | 10 | 3 | Healthy subjects | 68 (±3.5, 65-75) | Empatica E4 | Wrist | EDA, SCL, SCR | post | Field | Induced stressor | Self-report (categorized no stress, low stress and high stress) | yes | no | EDA features combined with features of heart activity and time of day could predict stress with an accuracy up to 98.3% using ML. | ML | Yes | no | 98.3
Van der Mee et al., 2021 | Study construct, criterion, and predictive validity for wrist-based dry electrode EDA monitoring in response to various mental and physical stressors | general stress detection | 121 | 53 | Healthy subjects (university students and employees) | 22.3 (±3.3, 18-32) | Discrete tension indicator 2 (Philips) and VU-AMS | Wrist and Palm | SCL and SCR | Post | Lab | Induced stressor | Self-report (Maastricht Questionnaire) | yes | no | Features of SCL and SCR significantly correlate with positive and negative affect | Other | Yes | yes | NA
Vila et al., 2019 | Real-life ambulatory monitoring of passenger's stress while travelling | general stress detection | 1 | NA | NA | NA | Empatica E4 | Wrist | SCL, SCR | real time | Field | observed stressor | Self-report (stress level on a 10 point scale) | yes | no | EDA features combined with features of skin temperature, heart rate, skin temperature and accelerometry could classify stress with accuracy of 92.6% to 100%, depending on the level of activity, using ML. | ML | Yes | no | 100
Volonte et al., 2015 | Evaluation of emotional response of participants in a medical virtual reality system | Healthcare | 62 | 36 | Healthy subjects | NA (NA, 18 – 35) | Affectiva Q sensor | Wrist | SCR | post | Lab | induced stressor | Self-report (Differential Emotions Scale, Positive and Negative Affect Schedule) | yes | no | EDA did not differ between conditions with a different negative affect. EDA was not directly related to stress in this research. | Other | no |  | NA
Walas et al., 2020 | Assess the usefulness of Skin Conductance Algesimeter in the assessment of pain in mechanically ventilated infants receiving analgosedation | Healthcare | 30 | NA | Neonates on mechanical ventilation and analgosedation | 0 (NA, 4-23 days) | Skin Conductance Algesimeter (Medstorm) | Palm | SCR | Post | Field | observed stressor | Observation (COMFORT-B scale) | no | yes | SCR significantly correlated to pain related behaviour | Other | Yes | yes | NA
Wang et al., 2020 | Develop a system to recognize emotions | general stress detection | 15 | NA | Healthy subjects | NA (NA, 20-28) | Empatica E4 | Wrist | SCL, SCR | post | Field | Induced stressor | Self-report (questionnaire) | yes | no | Features of EDA combined with features of heart activity and skin temperature can classify emotional states with an accuracy up to 90.7%, using ML. | ML | Yes | no | 90.7
Werner et al., 2019 | investigation of stress sensations of cyclists through physiological measurements | general stress detection | 17 | 8 | Healthy subjects | NA (76% fall within 20 - 29) | Empatica E4 | Wrist | SCR | post | Field | observed stressor | Self-report (questionnaire about perceived stress level) | yes | no | High divergences (up to 100%) were present between the stress algorithm (based upon EDA and skin temperature) and stress self-report | Other | Yes | no | NA
Weyn et al., 2022 | Study whether individual differences in environmental sensitivity at physiological level could be predicted by individual differences at phenotypic level | general stress detection | 101 | 46 | Children | 11.6 (±0.6, NA) | Not specified | Wrist | SCR | Post | Field | Induced stressor | Self-report (PANAS) | yes | no | Features of SCR did not correlate with positive or negative effect | Other | no | yes | NA
Williams et al., 2020 | Evaluate supervised learning algorithm using self-report and biophysiological measurement of EDA during a music experience | general stress detection | 2 | NA | NA | NA | Shimmer3 sensor | Not described | EDA | Post | Field | Induced stressor | Self-report (questionnaire) | yes | no | EDA correlated with the reported emotions | Other | Yes | yes | NA
Winslow et al., 2015 | measurement of physiological response and performance to stress through exploring of behaviour, sensors and subjective experience | general stress detection | 40 | 33 | Students | 25.5 (NA, 21 - 35) | Biopac MP150: wireless version | Fingers | SCL and SCR | post | Lab | induced stressor | Self-report (STAI) | yes | no | STAI increased during stress conditions. SCL and SCR count per minute also increased during stress conditions. STAI and SCL or SCR were not directly correlated. | Other | indirectly | no | NA
Wulvik et al., 2020 | measurement of physiological signals during a ship bridge simulation | general stress detection | 31 | 18 | students | 24 (±2.7, NA) | Shimmer 3 sensor | Fingers | EDA, SCL, SCR | post | Lab | induced stressor | Self-report (Likert scale) | yes | no | EDA, SCL and SCR are correlated to perceived stress | Other | Yes | yes | NA
Xu et al., 2015 | Cluster-based method to measure perceived stress by using physiological signals | general stress detection | 44 | 44 | Healthy subjects | 28.6 (±7.2, NA) | Shimmer Sensor | Fingers | EDA | post | Lab | induced stressor | Self-report (STAI) | yes | no | EDA features combined with features of EEG, EMG, ECG could classify stress with accuracy of 85% using ML. | ML | Yes | no | 85
Yin et al., 2018 | stress response in a non-biophilic environment (office building) | general stress detection | 28 | NA | Healthy | NA, average age>26 | Empatica E4 | Wrist | EDA | post | Lab | induced stressor | Self-report (not specified) | yes | no | EDA increased in a non-biophilic environment, along with the negative emotions. Emotions and EDA were not directly correlated | Other | indirectly | no | NA
Yin et al., 2020 | Evaluate a biophilic indoor environment in VR for the reduction of the perceived stress level | general stress detection | 100 | 37 | Students and university staff | 29 (±12, NA) | Movisens edaMove | Wrist | SCL | post | Lab | induced stressor | self-report (STAI) | yes | no | SCL did not change under circumstances STAI decreased. SCL and STAI were not directly correlated. | Other | no | no | NA

## Full references
Alinia P. Sah RK. McDonell M. Pendry P. Parent S. Ghasemzadeh H. Clevel MJ (2021). Associations Between Physiological Signals Captured Using Wearable Sensors and Self-reported Outcomes Among Adults in Alcohol Use Disorder Recovery: Development and Usability Study. JMIR formative research., 5, e27891.
Anusha A. Sukumaran P. Sarveswaran V. Surees Kumar S. Shyam A. Tony JA. Preejith SP. Mohanasankar S (2020). Electrodermal Activity Based Pre-surgery Stress Detection Using a Wrist Wearable. IEEE journal of biomedical and health informatics., 24, 92–100.
Aqajari SAH. Cao R. Kasaeyan Naeini E. Calderon MD. Zheng K. Dutt N. Liljeberg P. Salanterä S. Nelson AM. Rahmani AM (2021). Pain Assessment Tool With Electrodermal Activity for Postoperative Patients: Method Validation Study. JMIR Mhealth Uhealth., 9, e25258.
Aristizabal S. Byun K. Wood N. Mullan AF. Porter PM. Campanella C. Jamrozik A. Nenadic IZ. Bauer BA (2021). The Feasibility of Wearable and Self-Report Stress Detection Measures in a Semi-Controlled Lab Environment. Ieee Access., 9, 102053–102068.
Baker JK. Fenning RM. Erath SA. Baucom BR. Moffitt J. Howland MA (2018). Sympathetic Under-Arousal and Externalizing Behavior Problems in Children with Autism Spectrum Disorder. J Abnorm Child Psychol., 46, 895–906.
Betancourt MA. Dethorne LS. Karahalios K. Kim JG (2017). Skin Conductance as an In Situ Marker for Emotional Arousal in Children with Neurodevelopmental Communication Impairments: Methodological Considerations and Clinical Implications. ACM Trans. Access. Comput., 9, Article 8.
Bruun A. Law ELC. Nielsen TD. Heintz M (2021). Do You Feel the Same? On the Robustness of Cued-Recall Debriefing for User Experience Evaluation. ACM Trans. Comput.-Hum. Interact., 28.
Can YS. Chalabianloo N. Ekiz D. Ersoy C (2019). Continuous Stress Detection Using Wearable Sensors in Real Life: Algorithmic Programming Contest Case Study. Sensors., 19.
Can YS. Chalabianloo N. Ekiz D. Fern. ez-Alvarez J. Repetto C. Riva G. Iles-Smith H. Ersoy C (2020). Real-Life Stress Level Monitoring Using Smart Bands in the Light of Contextual Information. Ieee Sensors Journal., 20, 8721–8730.
Carreiro S. Chintha KK. Shrestha S. Chapman B. Smelson D. Indic P (2020). Wearable sensor-based detection of stress and craving in patients during treatment for substance use disorder: A mixed methods pilot study. Drug and alcohol dependence., 209, 107929.
Cella M. He ZM. Killikelly C. Okruszek L. Lewis S. Wykes T (2019). Blending active and passive digital technology methods to improve symptom monitoring in early psychosis. Early intervention in psychiatry., 13, 1271–1275.
Chae J. Hwang S. Seo W. Kang Y (2021). Relationship between rework of engineering drawing tasks and stress level measured from physiological signals. Automation in Construction., 124.
Choi J. Ahmed B. Gutierrez-Osuna R (2012). Development and evaluation of an ambulatory stress monitor based on wearable sensors. IEEE Trans Inf Technol Biomed., 16, 279–286.
Christian C. Cash E. Cohen DA. Trombley CM. Levinson CA (2022). Electrodermal Activity and Heart Rate Variability During Exposure Fear Scripts Predict Trait-Level and Momentary Social Anxiety and Eating-Disorder Symptoms in an Analogue Sample. Clinical Psychological Science.
Clevers E. Lutin E. Cornelis J. Van Oudenhove L (2020). Gastrointestinal symptoms in office workers are predicted by psychological distress and short sleep duration. Journal of psychosomatic research., 138, 110230.
de Arriba Pérez F. Santos-Gago JM. Caeiro-Rodríguez M. Iglesias MJF (2018). Evaluation of Commercial-Off-The-Shelf Wrist Wearables to Estimate Stress on Students. Journal of Visualized Experiments., 57590.
de Looff P. Noordzij ML. Moerbeek M. Nijman H. Didden R. Embregts P (2019). Changes in heart rate and skin conductance in the 30 min preceding aggressive behavior. Psychophysiology., 56, e13420.
Debard G. De Witte N. Sels R. Mertens M. Van Daele T. Bonroy B (2020). Making Wearable Technology Available for Mental Healthcare through an Online Platform with Stress Detection Algorithms: The Carewear Project. Journal of Sensors., 2020.
Deutsch CK. Patnaik PP. Greco FA (2021). Is There a Characteristic Autonomic Response During Outbursts of Combative Behavior in Dementia Patients? J Alzheimers Dis Rep., 5, 389–394.
Dissanayake V. Tang V. Elvitigala DS. Wen E. Wu M. Nanayakkara S (2022). Troi: Towards Understanding Users Perspectives to Mobile Automatic Emotion Recognition System in Their Natural Setting. Proc. ACM Hum.-Comput. Interact., 6.
Duran-Acevedo CM. Carrillo-Gomez JK. Albarracin-Rojas CA (2021). Electronic Devices for Stress Detection in Academic Contexts during Confinement Because of the COVID-19 Pandemic. Electronics., 10.
Elsadek M. Liu BY. Xie JF (2020). Window view and relaxation: Viewing green space from a high-rise estate improves urban dwellers’ wellbeing. Urban Forestry & Urban Greening., 55.
Georgiou KE. Dimov RK. Boyanov NB. Zografos KG. Larentzakis A V. Marinov BI (2019). Feasibility of a New Wearable Device to Estimate Acute Stress in Novices During High-fidelity Surgical Simulation. Folia medica., 61, 49–60.
Giorgi A. Ronca V. Vozzi A. Sciaraffa N. di Florio A. Tamborra L. Simonetti I. Aricò P. Di Flumeri G. Rossi D. Borghini G (2021). Wearable Technologies for Mental Workload, Stress, and Emotional State Assessment during Working-Like Tasks: A Comparison with Laboratory Technologies. Sensors (Basel, Switzerland)., 21.
Goodwin MS. Mazefsky CA. Ioannidis S. Erdogmus D. Siegel M (2019). Predicting aggression to others in youth with autism using a wearable biosensor. Autism Res., 12, 1286–1296.
Granato M. Gadia D. Maggiorini D. Ripamonti LA (2020). An empirical study of players’ emotions in VR racing games based on a dataset of physiological data. Multimedia Tools and Applications., 79, 33657–33686.
Hewgill B. McGinnis RS. Frolik J (2020). A Modular Open Source Health Monitoring Garment. Annual International Conference of the IEEE Engineering in Medicine and Biology Society. IEEE Engineering in Medicine and Biology Society. Annual International Conference., 2020, 4510–4513.
Hollis V. Pekurovsky A. Wu E. Whittaker S (2018). On Being Told How We Feel: How Algorithmic Sensor Feedback Influences Emotion Perception. Proc. ACM Interact. Mob. Wearable Ubiquitous Technol., 2, Article 114.
Hosseini S. Gottumukkala R. Katragadda S. Bhupatiraju RT. Ashkar Z. Borst CW. Cochran K (2022). A multimodal sensor dataset for continuous stress detection of nurses in a hospital. Scientific data., 9, 255.
Iaboni A. Spasojevic S. Newman K. Schindel Martin L. Wang A. Ye B. Mihailidis A. Khan SS (2022). Wearable multimodal sensors for the detection of behavioral and psychological symptoms of dementia using personalized machine learning models. Alzheimer’s & dementia (Amsterdam, Netherlands)., 14, e12305.
Ihmig FR. H AG. Neurohr-Parakenings F. Schäfer SK. Lass-Hennemann J. Michael T (2020). On-line anxiety level detection from biosignals: Machine learning based on a randomized controlled trial with spider-fearful individuals. PloS one., 15, e0231517.
Jambhale K. Mahajan S. Riel B. Banerjee N. Dutt A. Kadiyala SP. Vinjamuri R (2022). Identifying Biomarkers for Accurate Detection of Stress. Sensors (Basel)., 22.
Khan KM (2015). Adaptive wavelet packets for minimization of error in computation of mental stress. International Journal of Wavelets Multiresolution and Information Processing., 13.
Kuijpers E. Nijman H. Bongers IMB. Lubberding M. Ouwerkerk M (2012). Can mobile skin conductance assessments be helpful in signalling imminent inpatient aggression? Acta Neuropsychiatrica., 24, 56–59.
Kyriakou K. Resch B. Sagl G. Petutschnig A. Werner C. Niederseer D. Liedlgruber M. Wilhelm F. Osborne T. Pykett J (2019). Detecting Moments of Stress from Measurements of Wearable Physiological Sensors. Sensors., 19.
Lai Kwan C. Mahdid Y. Ochoa RM. Lee K. Park M. Blain-Moraes S (2019). Wearable Technology for Detecting Significant Moments in Individuals with Dementia. BioMed research international.
Lee BG. Chung WY (2016). Wearable Glove-Type Driver Stress Detection Using a Motion Sensor. Ieee Transactions on Intelligent Transportation Systems., 18, 1835–1844.
Lee G. Choi B. Jebelli H. Ahn CR. Lee S (2020)a. Noise Reference Signal-Based Denoising Method for EDA Collected by Multimodal Biosensor Wearable in the Field. Journal of Computing in Civil Engineering., 34.
Lee S. Lee T. Yang T. Yoon C. Kim SP (2020)b. Detection of Drivers’ Anxiety Invoked by Driving Situations Using Multimodal Biosignals. Processes., 8.
Li B. Sano A (2020). Early versus Late Modality Fusion of Deep Wearable Sensor Features for Personalized Prediction of Tomorrow’s Mood, Health, and Stress. Annual International Conference of the IEEE Engineering in Medicine and Biology Society. IEEE Engineering in Medicine and Biology Society. Annual International Conference., 2020, 5896–5899.
Marko M (2016). Development of a Protocol for Simultaneous Assessment of Cognitive Functioning Under Psychosocial Stress. J Psychol., 150, 916–929.
Masood K. Alghamdi MA (2019). Modeling Mental Stress Using a Deep Learning Framework. Ieee Access., 7, 68446–68454.
Melander C. Martinsson J. Gustafsson S (2017). Measuring Electrodermal Activity to Improve the Identification of Agitation in Individuals with Dementia. Dementia and geriatric cognitive disorders extra., 7, 430–439.
Miranda D. Favela J. Ibarra C. Cruz N (2016). Naturalistic Enactment to Elicit and Recognize Caregiver State Anxiety. Journal of medical systems., 40, 192.
Oh G. Ryu J. Jeong E. Yang JH. Hwang S. Lee S. Lim S (2021). DRER: Deep Learning-Based Driver’s Real Emotion Recognizer. Sensors., 21.
Parent M. Albuquerque I. Tiwari A. Cassani R. Gagnon JF. Lafond D. Tremblay S. Falk TH (2020). PASS: A Multimodal Database of Physical Activity and Stress for Mobile Passive Body/ Brain-Computer Interface Research. Frontiers in neuroscience., 14, 542934.
Phitayakorn R. Minehart RD. Hemingway MW. Pian-Smith MCM. Petrusa E (2015). Relationship between physiologic and psychological measures of autonomic activation in operating room teams during a simulated airway emergency. American journal of surgery., 209, 86–92.
Rahma ON. Putra AP. Rahmatillah A. Putri YSKA. Fajriaty ND. Ain K. Chai R (2022). Electrodermal Activity for Measuring Cognitive and Emotional Stress Level. Journal of medical signals and sensors., 12, 155–162.
Redd CB. Silvera-Tawil D. Hopp D. berg D. Martiniuk A. ra. Dietrich C. Karunanithi MK (2020). Physiological Signal Monitoring for Identification of Emotional Dysregulation in Children. Annual International Conference of the IEEE Engineering in Medicine and Biology Society. IEEE Engineering in Medicine and Biology Society. Annual International Conference., 2020, 4273–4277.
Reetz A. Valtchanov D. Barnett-Cowan M. Hancock M. Wallace JR (2021). Nature vs. Stress: Investigating the Use of Biophilia in Non-Violent Exploration Games to Reduce Stress. Proc. ACM Hum.-Comput. Interact., 5.
Rodríguez-Arce J. Lara-Flores L. Portillo-Rodríguez O. Martínez-Méndez R (2020). Towards an anxiety and stress recognition system for academic environments based on physiological features. Computer methods and programs in biomedicine., 190, 105408.
Romaniszyn-Kania P. Pollak A. Bugdol MD. Bugdol MN. Kania D. Manka A. Danch-Wierzchowska M. Mitas AW (2021). Affective State during Physiotherapy and Its Analysis Using Machine Learning Methods. Sensors., 21.
Salkevicius J. Damasevicius R. Maskeliunas R. Laukiene I (2019). Anxiety Level Recognition for Virtual Reality Therapy System Using Physiological Signals. Electronics., 8.
Sano A. Taylor S. McHill AW. Phillips AJK. Barger LK. Klerman E. Picard R (2018). Identifying Objective Physiological Markers and Modifiable Behaviors for Self-Reported Stress and Mental Health Status Using Wearable Sensors and Mobile Phones: Observational Study. Journal of medical Internet research., 20.
Schlier B. Krkovic K. Clamor A. Lincoln TM (2019). Autonomic arousal during psychosis spectrum experiences: Results from a high resolution ambulatory assessment study over the course of symptom on- and offset. Schizophrenia research., 212, 163–170.
Sciaraffa N. Di Flumeri G. Germano D. Giorgi A. Di Florio A. Borghini G. Vozzi A. Ronca V. Varga R. van Gasteren M. Babiloni F. Aricò P (2022). Validation of a Light EEG-Based Measure for Real-Time Stress Monitoring during Realistic Driving. Brain sciences., 12.
Seoane F. Mohino-Herranz I. Ferreira J. Alvarez L. Buendia R. Ayllón D. Llerena C. Gil-Pita R (2014). Wearable biomedical measurement systems for assessment of mental stress of combatants in real time. Sensors., 14, 7120–7141.
Shao YH. Elsadek M. Liu BY (2020). Horticultural Activity: Its Contribution to Stress Recovery and Wellbeing for Children. International journal of environmental research and public health., 17.
Studer L. Paglino V. Gandini P. Stelitano A. Triboli U. Gallo F. Andreoni G (2018). Analysis of the Relationship between Road Accidents and Psychophysical State of Drivers through Wearable Devices. Applied Sciences., 8.
Tao K. Huang Y. Shen Y. Sun L (2022). Automated Stress Recognition Using Supervised Learning Classifiers by Interactive Virtual Reality Scenes. IEEE transactions on neural systems and rehabilitation engineering : a publication of the IEEE Engineering in Medicine and Biology Society., 30, 2060–2066.
Torku A. Chan APC. Yung EHK. Seo J (2022). Detecting stressful older adults-environment interactions to improve neighbourhood mobility: A multimodal physiological sensing, machine learning, and risk hotspot analysis-based approach. Building and Environment., 224.
van der Mee DJ. Gevonden MJ. Westerink J. de Geus EJC (2021). Validity of electrodermal activity-based measures of sympathetic nervous system activity from a wrist-worn device. Int J Psychophysiol., 168, 52–64.
Vila G. Godin C. Sakri O. Labyt E. Vidal A. Charbonnier S. Ollander S. Campagne A (2019). Real-Time Monitoring of Passenger’s Psychological Stress. Future Internet., 11.
Volonte M. Babu S V. Chaturvedi H. Newsome N. Ebrahimi E. Roy T. Daily SB. Fasolino T (2016). Effects of Virtual Human Appearance Fidelity on Emotion Contagion in Affective Inter-Personal Simulations. IEEE transactions on visualization and computer graphics., 22, 1326–1335.
Walas W. Halaba Z. Kubiaczyk A. Piotrowski A. Latka-Grot J. Szczapa T. Romul M. Maroszynska I. Malinowska E. Rutkowska M. Skrzypek M. Smigiel R (2020). Skin conductance measurement for the assessment of analgosedation adequacy in infants treated with mechanical ventilation: A multicenter pilot study. Advances in Clinical and Experimental Medicine., 29, 1117–1121.
Wang Z. Yu Z. Zhao B. Guo B. Chen C. Yu Z (2020). EmotionSense: An Adaptive Emotion Recognition System Based on Wearable Smart Devices. ACM Trans. Comput. Healthcare., 1.
Werner C. Resch B. Loidl M (2019). Evaluating Urban Bicycle Infrastructures through Intersubjectivity of Stress Sensations Derived from Physiological Measurements. Isprs International Journal of Geo-Information., 8, 265.
Weyn S. Van Leeuwen K. Pluess M. Goossens L. Claes S. Bosmans G. Van Den Noortgate W. Lutin E. Bröhl AS. Chubar V. Geukens F. Bijttebier P (2022). Individual differences in environmental sensitivity at physiological and phenotypic level: Two sides of the same coin? International journal of psychophysiology : official journal of the International Organization of Psychophysiology., 176, 36–53.
Williams D. Hodge VJ. Wu CY (2020). On the use of AI for Generation of Functional Music to Improve Mental Health. Front Artif Intell., 3, 497864.
Winslow BD. Carroll MB. Martin JW. Surpris G. Chadderdon GL (2015). Identification of resilient individuals and those at risk for performance deficits under stress. Frontiers in neuroscience., 9, 328.
Wulvik AS. Dybvik H. Steinert M (2020). Investigating the relationship between mental state (workload and affect) and physiology in a control room setting (ship bridge simulator). Cognition Technology & Work., 22, 95–108.
Xu Q. Nwe TL. Guan C (2015). Cluster-based analysis for personalized stress evaluation using physiological signals. IEEE journal of biomedical and health informatics., 19, 275–281.
Yin J. Zhu SH. MacNaughton P. Allen JG. Spengler JD (2018). Physiological and cognitive performance of exposure to biophilic indoor environment. Building and Environment., 132, 255–262.
Yin J. Yuan J. Arfaei N. Catalano PJ. Allen JG. Spengler JD (2020). Effects of biophilic indoor environment on stress and anxiety recovery: A between-subjects experiment in virtual reality. Environment international., 136, 105427.