**Supplemental Table:** Size chart of Amplatzer Piccolo PDA Occluder.

|  |  |  |  |
| --- | --- | --- | --- |
| Device Type | Retention disk diameter | Waist diameter | Length between retention disks |
| 3-2 mm | 4 mm | 3 mm | 2 mm |
| 3-4 mm | 4 mm | 3 mm | 4 mm |
| 3-6 mm | 4 mm | 3 mm | 6 mm |
| 4-2 mm | 5.25 mm | 4 mm | 2 mm |
| 4-4 mm | 5.25 mm | 4 mm | 4 mm |
| 4-6 mm | 5.25 mm | 4 mm | 6 mm |
| 5-2 mm | 6.5 mm | 5 mm | 2 mm |
| 5-4 mm | 6.5 mm | 5 mm | 4 mm |
| 5-6 mm | 6.5 mm | 5 mm | 6 mm |