**Supplementary Figure 1. Flow chart of study inclusion**

**Supplementary Figure 1.** Flow chart of study inclusion of all eligible patients including reasons that patients were not included. Abbreviations: N: number

**Supplementary Figure 2. Bland-Altman plot Kardia 6L versus 12-lead ECG for QTc**

**Supplementary Figure 2.**  The Bland-Altman plot illustrates the difference in milliseconds of the QTc interval between Kardia 6L and 12-lead ECG plotted against the mean of the Kardia 6L and 12-lead ECG. Kardia 6L QTc-interval showed bias of 12.6 msec and 2s agreement range of ± 37.4msec (from -60.6 msec to 85.8 msec). Abbreviations: ECG: electrocardiogram, msec: milliseconds