## FIG_platser
IVA enkät brand. 2013
Fråga 1.
1. Hur många platser finns på er avdelning ?
|  | 75 |  | 1. Hur många platser finns på er avdelning ?
| Platser | antal | %
| 1 | 1 | 1.3333
| 2 | 1 | 1.3333
| 3 | 1 | 1.3333
| 4 | 4 | 5.3333
| 5 | 3 | 4
| 6 | 10 | 13.3333
| 7 | 3 | 4
| 8 | 13 | 17.3333
| 9 | 9 | 12
| 10 | 9 | 12
| 11 | 5 | 6.6667
| 12 | 4 | 5.3333
| 13 | 4 | 5.3333
| 14 | 6 | 8
| 15 |  | 0
| 16 |  | 0
| 17 |  | 0
| 18 |  | 0
| 19 |  | 0
| 20 | 1 | 1.3333
| 21 |  | 0
| 22 |  | 0
| 23 |  | 0
| 24 |  | 0
| 25 | 1 | 1.3333

## FIG_Våning
IVA enkät brand. 2013
2. På vilket våningsplan finns er avdelning ?
|  | 75 |  | På vilket våningsplan finns er avdelning ?
| Våning | antal | %
| 0 | 19 | 25.3333
| 1 | 7 | 9.3333
| 2 | 12 | 16
| 3 | 11 | 14.6667
| 4 | 17 | 22.6667
| 5 | 2 | 2.6667
| 6 | 4 | 5.3333
| 7 |  | 0
| 9 | 1 | 1.3333
| 10 | 1 | 1.3333
| 12 |  | 0
| 19 | 1 | 1.3333

## Responses
Supplemental table 1. ICU departments in Sweden- preparedness for fire evacuation | [9 empty] | 2016-09-20 10:30
Results presented as absolute number (Yes/NO/Do not know) . Responses that deviate from the questionaire yes/no responses were 'write in' reponses from participants . Missing data are not included in the % analysis. | [9 empty] | Responders who were ICU section heads
total responses, n = 75 | Yes | (%) | No | (%) | n/a | (%) | Missing | responded
1. How many beds do you have in your ICU? | see figure 1 (n=75)
2. On which hospital floor is your intensive care unit? | see figure 2 (n=75)
3. Does your hospital have a fire evacuation plan? | 74 | 100% |  |  |  |  | 1 | 98.67%
4. Is there a special fire evacuation plan for your intensive care unit? | 66 | 90.4% | 7 | 9.6% |  |  | 2 | 97.33%
5. Are there obligatory fire evacuation training/education for permanent ICU personnel? | 70 | 94.6% | 4 | 5.4% |  |  | 1 | 98.67%
5b. How often is this training/education for permanent personnel?
Annually | 19 | 29.2% |  |  |  |  | 10
Every third year | 17 | 26.2%
Every 5th year | 9 | 13.8%
Every other year | 6 | 9.2%
Every 4th year | 6 | 9.2%
at start employment, and then every 3rd to 5th year | 3 | 4.6%
Every 3rd year, and annual checklist | 3 | 4.6%
at start employment, with introduction | 2 | 3.1%
5c. What is included in this education/training?
Review of the whole ICU evacuation plan | 69 | 100% |  |  |  |  | 6 | 92%
How to activate the fire alarm | 69 | 100% |  |  |  |  | 6 | 92%
Manual fire alarm activation | 54 | 80.6% | 9 | 13.4% | 4 | 6% | 8 | 89.33%
Things that should be done immediately when the alarm is heard? | 68 | 98.6% |  |  | 1 | 1.4% | 6 | 92% | repetition
Specifc activities for the ICU nurse in charge | 61 | 91% | 3 | 4.5% | 3 | 4.5% | 8 | 89.33%
How to use the fire extinguishers | 64 | 95.5% | 3 | 4.5% |  |  | 8 | 89.33%
6. Do you have obligatory fire response exercises/training for temporary ICU personnel? | 14 | 21.5% | 51 | 78.5% |  |  | 10 | 86.67%
6b. How often fire response exercises/training for temporary ICU personnel?
At start employment / introduction | 7 | 50% |  |  |  |  | 61
Annually | 3 | 21.4%
Before the summer period (vacation period) | 2 | 14.3%
Every other year | 1 | 7.1%
Every third year | 1 | 7.1%
6c. What is included in the education/training?
Review of the whole ICU evacuation plan | 14 | 100% |  |  |  |  | 61 | 18.67%
How to activate the fire alarm | 14 | 100% |  |  |  |  | 61 | 18.67%
Manual fire alarm activation | 10 | 76.9% | 3 | 23.1% |  |  | 62 | 17.33%
specific things to do in the event of fire alarm | 13 | 92.9% |  |  | 1 | 7.1% | 61 | 18.67%
Uppgifter till ansvarig sköterska på arbetspasset | 12 | 85.7% | 1 | 1.3% | 1 | 1.3% | 61 | 18.67%
Hur man använder släckutrustning | 11 | 78.6% | 2 | 14.3% | 1 | 7.1% | 61 | 18.67%
7. Are all new personnel shown all the emergency exits for your ICU on their first day of work? | 32 | 46.4% | 37 | 53.6% |  |  | 6 | 92%
8. Are all your personnel informed about their tasks in case of fire before or on their first day of work? | 16 | 24.6% | 49 | 75.4% |  |  | 10 | 86.67%
9. How many evacuation routes are there in the intensive care unit? | se figur 3
10. Are there specific fire-safe areas inside the intensive care unit? | 54 | 79.4% | 14 | 20.6% |  |  | 7 | 90.67%
11. Are there specifically identified ‘fire-doors’? | 65 | 92.9% | 5 | 7.1% |  |  | 5 | 93.33%
11b. Do the ‘fire-doors’ have an automatic closing mechanism? | 59 | 92.2% | 4 | 6.3% | 1 | 1.6% | 11 | 85.33%
11c. Fire-proof windows in the doors? | 46 | 74.2% | 5 | 8.1% | 11 | 17.7% | 13 | 82.67%
11d. Do they have warm-activated molding around the door? | 16 | 26.7% | 1 | 1.7% | 43 | 71.7% | 15 | 80%
12. Is the air-conditioning register and damper in the ICU fitted with an automatic ‘shut-off’ system connected to the smoke-heat detectors? | 34 | 94.4% | 2 | 5.6% |  |  | 39 | 48%
13. Is there a fire alarm indicator in the ICU? | 52 | 78.8% | 14 | 21.2% |  |  | 9 | 88%
14. Is there a smoke detector in every room in the ICU? | 62 | 95.4% | 3 | 4.6% |  |  | 10 | 86.67%
15a. Is the fire alarm audible? | 75 | 100% | [5 empty] | 100%
15b. Is the fire alarm visual? | 67 | 90.5% | 2 | 2.7% | 5 | 6.8% | 1 | 98.67%
15c. Is the fire alarm a verbal message? | 5 | 7.4% | 53 | 77.9% | 10 | 14.7% | 7 | 90.67%
17a. Fire extinguishers in the ICU, are they CO2? | 43 | 72.9% | 12 | 20.3% | 4 | 6.8% | 16 | 78.67%
17b. Fire extinguishers in the ICU, are they foam? | 46 | 71.9% | 15 | 23.4% | 3 | 4.7% | 11 | 85.33%
17c. Fire extinguishers in the ICU, are they powder? | 35 | 56.5% | 24 | 38.7% | 3 | 4.8% | 13 | 82.67%
17d. Fire extinguishers in the ICU, are they an indoor fire hydrant/hose with water? | 57 | 85.1% | 7 | 10.4% | 3 | 4.5% | 8 | 89.33%
18. Is there a policy for prioritizing when there is a decision to evacuate? | 25 | 39.7% | 38 | 60.3% |  |  | 12 | 84%
18b. Which factors are involved in the prioritizing system?
Patient proximity to fire | 10 | 41.7% |  |  |  |  | 51 | 32%
degree of illness | 8 | 33.3%
patient risk related to evacuation | 3 | 12.5%
ICU medical director's instruction | 1 | 4.2%
The responsible nurse with the fire response vest | 1 | 4.2%
Patients are moved to the nearest fire resonse collection area | 1 | 4.2%
19. Who is responsible for making this decision about priority and evacuation?
the ICU doctor | 20 | 26.7% |  |  |  |  | 9 | 88%
the head nurse and the ICU doctor together | 20 | 26.7%
the nurse in charge of the shift | 11 | 14.7%
The fire/rescue leader or the hospital administrator in charge | 6 | 8%
The section head of the Department head | 2 | 2.7%
The nurse responsible that shift for fire safety | 2 | 2.7%
The ICU doctor and the ICU head nurse together with the Fire chief | 1 | 1.3%
Do not know | 1 | 1.3%
The shift nurse leader and the evacuation staff | 1 | 1.3%
The planning group for fire safety in the ICU | 1 | 1.3%
The ICU doctor together with the Fire Chief | 1 | 1.3%
20. If the fire spreads from another part of the hosital, who decides if the ICU should be evacuated?
The Fire/rescue chief | 29 | 38.7% |  |  |  |  | 9 | 88%
the doctor | 8 | 10.7%
the hospital disaster response leader | 7 | 9.3%
the ICU head nurse | 6 | 8%
The ICU doctor and the ICU head nurse together with the Fire chief | 6 | 8%
the ICU doctor and the ICU head nurse together | 4 | 5.3%
the hospital administrator coordinating the hospital response | 4 | 5.3%
| 2 | 2.7%
21. Who has the overal ICU responsibility during a fire incident?
The ICU head nurse and the department head | 18 | 24% |  |  |  |  | 9 | 88%
the ICU doctor and their boss | 16 | 21.3%
the Fire chief and their fire engineer | 13 | 17.3%
the head nurse and the ICU doctor together | 7 | 9.3%
Do not know | 6 | 8%
the hospital disater committeee (activated) | 3 | 4%
the personnel at work in the ICU at the time | 2 | 2.7%
the hospital administrator | 1 | 1.3%
22. Are there reflective vest or other similar available items for the fire ‘control’ leader in the ICU? | 42 | 56.8% | 32 | 42.7% |  |  | 1 | 98.67%
23. Do the ICU personnel know where these following things are located?
23b. The valves for turning of medical gases | 72 | 97.3% | 1 | 1.4% | 1 | 1.4% | 1 | 98.67%
23c. The main ICU circuit breaker | 33 | 47.8% | 18 | 26.1% | 18 | 26.1% | 6 | 92%
23d. The medical gas tubes | 73 | 98.6% | 1 | 1.4% |  |  | 1 | 98.67%
23e. Flammable materials in the ICU | 68 | 91.9% | 1 | 1.4% | 5 | 6.8% | 1 | 98.67%
24. How much time (after the alarm) is expected before the Fire/rescue squad can reach the ICU?
1-5 min | 21 | 31.3% |  |  |  |  | 9 | 88%
6-10 min | 29 | 43.3%
Some minutes | 5 | 7.5%
11-15 min | 8 | 11.9%
16-20 min | 3 | 4.5%
MISSING DATA
25a. Is vertical evacuation a possibility for the ICU? (elevator) ? | 14 | 19.7% | 57 | 80.3% |  |  | 4 | 94.67%
25b. Is vertical evacuation a possibility for the ICU? (stairs) ? | 31 | 43.1% | 41 | 54.7% |  |  | 3 | 96%
25c. To where do you evacuate from your ICU ?
a designated gathering point outside or in another buildning | 27 | 36% |  |  |  |  | 4 | 94.67%
To the PACU/Operating rooms/Emergency department | 22 | 29.3%
Closest ward outside the ICU | 10 | 13.3%
Closeby designated fire safety area within or near the ICU | 7 | 9.3%
Nearest corridor outside the ICU | 2 | 2.7%
Do not know | 2 | 2.7%
It depends on exactly where I think the fire is | 1 | 1.3%
26. Is it part of the evacuation plan to close the oxygen supply valve to the ICU? | 49 | 81.7% | 11 | 18.3% |  |  | 15 | 80%
26a. To the whole ICU ? | 30 | 73.2% | 8 | 19.5% | 3 | 7.3% | 34 | 54.67%
26b. To parts of the ICU ? | 35 | 76.1% | 7 | 15.2% | 4 | 8.7% | 29 | 61.33%
27. Are there specific agreements with nearby hospitals for possible further care of evacuated patients? | 19 | 38.8% | 30 | 61.2% |  |  | 26 | 65.33%
28. Are there special instructions for the following ?
28a. Sedation | 18 | 25.4% | 45 | 63.4% | 8 | 11.3% | 4 | 94.67%
28b. Muscle relaxants | 15 | 21.1% | 48 | 67.6% | 8 | 11.3% | 4 | 94.67%
28c. Inotropi och vasopressorer | 16 | 22.5% | 47 | 66.2% | 8 | 11.3% | 4 | 94.67%
28d. Enteral nutrition | 17 | 24.3% | 45 | 64.3% | 8 | 11.3% | 5 | 93.33%
28e. Parenteral nutrition | 15 | 21.4% | 45 | 64.3% | 10 | 14.3% | 5 | 93.33%
28f. Thorax drainage | 16 | 23.2% | 45 | 65.2% | 8 | 11.6% | 8 | 89.33%
28g. CRRT (dialys) | 11 | 17.2% | 45 | 70.3% | 8 | 12.5% | 11 | 85.33%
28h. IABP (aorta ballongpump) | 4 | 7.8% | 38 | 74.5% | 9 | 17.6% | 24 | 68%
28i. ECMO (extra corporeal oxygenation) | 4 | 8.5% | 36 | 76.6% | 7 | 14.9% | 28 | 62.67%
28j. LVAD (mechanical heart assist) | 2 | 4.3% | 38 | 80.9% | 7 | 14.9% | 28 | 62.67%
29. Is there a checklist for items that should follow each patient in case of evacuation? | 4 | 5.4% | 70 | 94.6% |  |  | 1 | 98.67%
30. Do you have a prepared and ready ‘acute’ kit with, for example, drugs, fluids, and other items? | 37 | 50.7% | 36 | 49.3% |  |  | 2 | 97.33%
31a. Do all ICU infusion pumps have batteries? | 73 | 100% |  |  |  |  | 2 | 97.33%
31b. Are the batteries always fully charged? | 72 | 100% |  |  |  |  | 3 | 96%
31c. How long are the battery charges expected to last?
0.5-1 hr | 10 | 13.3% |  |  |  |  | 14 | 81.33%
2-3 hr | 18 | 24%
4-5 hr | 13 | 17.3%
6-8 hr | 9 | 12%
>9 hr | 1 | 1.3%
Depends on the pump speed | 2 | 2.7%
'A long time, hours' | 5 | 6.7%
Do not know | 3 | 4%
32. Does your ICU have portable suction devices? | 68 | 91.9% | 6 | 8.1% |  |  | 1 | 98.67%
33. Does your ICU have portable monitoring device? | 73 | 98.6% | 1 | 1.4% |  |  | 1 | 98.67%
33a. Portable pulse oximeters, how many ? | 71 | 95.9% | 3 | 4.1% |  |  | 1 | 98.67%
1-5 st | 36 | 48% |  |  |  |  | 9 | 88%
6-10 st | 15 | 20%
11-15 st | 8 | 10.7%
16-20 st | 2 | 2.7%
>20 st | 2 | 2.7%
Do not know | 3 | 4%
33b. Non-invasive blood pressure measurement devices ? | 66 | 93% | 5 | 7% |  |  | 4 | 94.67%
1-5 st | 27 | 36% |  |  |  |  | 12 | 84%
6-10 st | 16 | 21.3%
11-15 st | 9 | 12%
16-20 st | 3 | 4%
>20 st | 2 | 2.7%
Do not know | 6 | 8%
33c. Fully equipped monitoring devices- ECG, invasive blood pressure monitoring, pule oximetry | 71 | 97.3% | 2 | 2.7% |  |  | 2 | 97.33%
1-5 st | 31 | 41.3% |  |  |  |  | 8 | 89.33%
6-10 st | 21 | 28%
11-15 st | 9 | 12%
16-20 st | 3 | 4%
>20 st | 2 | 2.7%
vet ej | 1 | 1.3%
34. Does your ICU have portable defibrillators ? | 68 | 97.1% | 2 | 2.9% |  |  | 5 | 93.33%
1 st | 31 | 41.3% |  |  |  |  | 8 | 89.33%
2 st | 26 | 34.7%
3 st | 9 | 12%
4 st | 1 | 1.3%
35. Does your ICU have transport ventilators ? | 67 | 93.1% | 5 | 6.9% |  |  | 3 | 96%
1 st | 25 | 38.5% |  |  |  |  | 10 | 86.67%
2 st | 18 | 27.7%
3 st | 11 | 16.9%
4 st | 8 | 12.3%
5 st | 1 | 1.5%
8 st | 1 | 1.5%
14 st | 1 | 1.5%
36. Does your ICU have portable oxygen tubes with reduction valves and flow-meters for each bed ? | 27 | 38% | 44 | 62% |  |  | 4 | 94.67%
37. 37. How often are these portable oxygen tubes checked?
each day | 36 | 48% |  |  |  |  | 6 | 92%
once per week | 8 | 10.7%
After each use | 7 | 9.3%
once a month | 6 | 8%
After each use, and according to a schedule each week | 5 | 6.7%
Do not know | 3 | 4%
After use and 2-3 times per week | 2 | 2.7%
3 times per day | 1 | 1.3%
No routine for this | 1 | 1.3%
38. Does each ICU bed have a specific evacuation sheet or similar lifting and moving assistance items? | 33 | 48.5% | 35 | 51.5% |  |  | 7 | 90.67%
40. Have you yourself been directly involved in the evacuation of an intensive care unit with live patients? | 3 | 4.1% | 71 | 95.9% |  |  | 1 | 98.67%
41. Have you ever participated in an evacuation drill in you intensive care unit? | 14 | 18.9% | 60 | 81.1% |  |  | 1 | 98.67%
41b. Was this conducted with mannikins? | 4 | 44.4% | 5 | 55.6% |  |  | 66 | 12%
41c. Live simulated 'patients'? | 11 | 91.7% | 1 | 8.3% |  |  | 63 | 16%
42. Were firemen and rescue staff involved involved in the exercise? | 11 | 34.4% | 21 | 65.6% |  |  | 43 | 42.67%
44a. Are you male? | 20
44b. Are you female? | 57
45a. Are you a section or department head? | 75 | 100%