## Sheet1
| Flight Path |  | mm |  |  | Initial ICF: |  |  |  |  | Calculations
| a |  | nm |  |  | Initial kf:
STEP 1 (ICF Calibration)
| Detector Hitmap |  | Miller Index | [7 empty] | Theoretical D Calc
Pole | X (mm) | Y (mm) | h | k | l | Theo D(nm) | STEP 1 Output |  |  |  | Numerator | Denominator
a | [5 empty] | 0 | ICF | #DIV/0! |  |  | 0 | 0
b | [5 empty] | 0 | kf | 0 |  |  | 0 | 0
c | [5 empty] | 0 |  |  |  |  | 0 | 0
d | [5 empty] | 0 |  |  |  |  | 0 | 0
STEP 2 (kf Calibration iteration #1)
| Pole | Obs. D | Theo D. | Theo/Obs | k correct |  | STEP 2 Output
| a |  | 0 | 0 | 0 |  | ICF | #DIV/0!
| b |  | 0 | 0 | 0 |  | kf | #DIV/0!
| c |  | 0 | 0 | 0 | [5 empty] | ICF Calculation
| d |  | 0 | 0 | 0 |  |  |  | Angle Theo | Angle Obs |  | h | k | l | h | k | l
| STEP 3 (kf Calibration iteration #2) | [7 empty] | 0 | 0 | ab | 0 | 0 | 0 | 0 | 0 | 0
| Pole | Obs. D | Theo D. | Theo/Obs | k correct |  | STEP 3 Output |  | 0 | 0 | ac | 0 | 0 | 0 | 0 | 0 | 0
| a |  | 0 | 0 | 0 |  | ICF | #DIV/0! | 0 | 0 | ad | 0 | 0 | 0 | 0 | 0 | 0
| b |  | 0 | 0 | 0 |  | kf | #DIV/0! | 0 | 0 | bc | 0 | 0 | 0 | 0 | 0 | 0
| c |  | 0 | 0 | 0 |  |  |  | 0 | 0 | bd | 0 | 0 | 0 | 0 | 0 | 0
| d |  | 0 | 0 | 0 |  |  |  | 0 | 0 | cd | 0 | 0 | 0 | 0 | 0 | 0
FINAL OUTPUT
| ICF | #DIV/0! | [9 empty] | Numer | Denom | angle(rad) | ang(deg) |  | D length | ang obs | ICF | ICF-avg
| kf | #DIV/0! | [8 empty] | ab | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | ac | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0!
[11 empty] | ad | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0!
NOTES | [10 empty] | bc | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0!
1) reflectron datasets usually use 40 mm for flight path length | [10 empty] | bd | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0!
2) in instruments with a mapped detector (LEAP5000 software), you must use conversion for the ICF | [10 empty] | cd | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0!
[19 empty] | #DIV/0! | #DIV/0!
CITATION | [18 empty] | avg ICF | residual
Please cite the following articles when publishing calibrated reconstructions using this spreadsheet
[1] | https://dx.doi.org/10.1063/1.3068197 | B. Gault et al., "Advances in the calibration of atom probe tomographic reconstruction," Journal of Applied Physics, vol. 105, no. 3, p. 034913
[2] |  | Ceguerra et al., "Assessing the spatial accuracy of the reconstruction in atom probe tomography and a new calibratable adaptive reconstruction.," Microscopy and Microanalysis, submitted 2018
Put in values for all yellow boxes above using the initial ICF and kf given by IVAS
Alter the ICF in step 2 and measure the D-spacing (SDM)
Alter the kf in step 3 and remeasure the D-Spacing