## Slide 1: Supplementary Figure 1: the HPLC Ultmate 3000 instrument used has a linear dose response to the reference standard, L-DOPA, within the examined range. The correlations between concentration and instrument response, measured by peak height or peak area, was high and positive (peak height r = 0.998, peak area r = 0.999).