**Supplementary Table 1. Three-in-one REBOA deployment kit**

|  |  |  |
| --- | --- | --- |
| Included bundle | Contents | Quantity |
| Femoral pressure monitoring set (Cook Inc., Bloomington, IN) | 18-gauge needle | 1 |
| 50 cm flexible guidewire | 1 |
| 5F arterial blood pressure catheter | 1 |
| 6 cc sterile syringe | 1 |
| Amplatz Extra Stiff Wire Guide (Cook Inc., Bloomington, IN) | 0.035 inch, 260 cm guidewire |  |
| Vascular-sheath introducer kit (Check-Flo Introducer Set, Cook Inc., Bloomington, IN) | 0.38 inch, 50 cm guidewire | 1 |
| 9 Fr vascular dilator | 1 |
| 12 Fr vascular dilator | 1 |
| 14 Fr vascular dilator and sheath | 1 |
| REBOA kit | 46 mm CODA balloon catheter | 1 |
| 20 cc sterile syringe | 1 |
| 2-O straight-needle silk suture | 1 |

REBOA = resuscitative endovascular balloon occlusion of the aorta.