Oxygen and Ventilator Logistics during California’s COVID-19 Surge-

When Oxygen becomes a Scarce Resource

Appendix Materials

Appendix 1

Appendix 2

From ASPR TRACIE14

| Cylinder Size | Capacity (L) | Weight (Lbs.) | Height (In.) | Diameter (In.) |
| --- | --- | --- | --- | --- |
| M2 | 42 | 0.7 | 5.7 | 2.5 |
| A [M4] | 115 | 1.7 | 8.7 | 4.38 |
| B [M6] | 164 | 2.3 | 12 | 3.21 |
| ML6 | 164 | 2.8 | 7.8 | 4.38 |
| C [M9] | 248 | 3.6 | 10.9 | 4.38 |
| D [M15] | 415 | 5.1 | 16.5 | 4.38 |
| E [M24] | 682 | 7.5 | 25.5 | 4.38 |
| M60 | 1762 | 22.3 | 22.9 | 7.25 |
| MM | 3455 | 40.7 | 36.5 | 8 |

Appendix 3

Oxygen Safety Tip Sheet

Following simple DO’s and DON’T’s can reduce the risk of incidents caused by oxygen enrichment. In addition to the practices outlined in any manufacturer’s instructions provided, use the following safe practices where medical oxygen is in use:

AVOID

·        DO NOT allow smoking or flames in the vicinity of oxygen use;

·        DO NOT allow lotions, oils, grease, household lubricants, or other combustible materials to come in contact with oxygen or 	its containers, valves, regulators, gauges, hoses, and fittings. Combustibles and oxygen can combine with explosive 	force;

·        DO NOT handle containers or apparatus immediately after using lotions or moisturizers;

·        DO NOT lubricate hoses, cannulas, valves, regulators, gauges, or fittings with lubricants or any other combustible 	substance;

·        DO NOT use an open flame to detect gas leaks;

·        DO NOT subject any part of a compressed gas container to a temperature greater than 125 °F (51.7 °C);

·        DO NOT place containers where they can become part of an electric circuit;

·        DO NOT let sparks or a flame come in contact with any part of an oxygen container, regulator, tubing, or other equipment;

·        DO NOT deface or remove any markings or labels used to identify the contents of a container;

·        DO NOT modify, replace, or add adaptors to existing connections;

·        DO NOT change, modify, tamper with, or obstruct the discharge ports of pressure relief devices; and

·        DO NOT use containers for any purpose other than to supply medical oxygen as received from the supplier.

DO

·        DO ensure that connections to tubing, regulators, and other equipment are tight to prevent leakage;

·        DO ensure only equipment suitable for medical oxygen use is connected;

·        DO keep hoses, cannulas, and masks in good condition;

·        DO open the cylinder valve slowly and completely after connecting to equipment;

·        DO remove any wrapping from cylinders or valves before use;

·        DO identify the gas content by the label before use. If the container does not have a label or the label is not readable, return 	the unused cylinder to the supplier. If the label does not correctly identify the gas contained in a cylinder, return the 	unused cylinder to the supplier;

·        DO read, understand, and follow all warning and precautionary handling information on the labels;

·        DO follow all signage provided by the oxygen supplier;

·        DO close the valve prior to disconnecting or replacing the cylinder;

·        DO close the valve and ensure that the valve protective cap and outlet caps or plugs, if used, are replaced before returning;

·        DO keep valves closed when the gas is not being used;

·        DO notify the oxygen supplier and isolate the cylinder if a foreign substance is present in or could have entered the valve 	outlet connection;

·        DO provide the oxygen supplier with complete details regarding any complaint or event involving the container or 	product including the container lot and serial number, and then isolate the container to prevent use;

·        DO ensure only experienced and properly instructed persons handle oxygen containers;

·        DO isolate the container and move it to a well ventilated area if a leak is suspected, and it is safe to do so.

Appendix 4

Oxygen Conservation Tips During COVID-19 from a Nursing Perspective

Nurses often spend the most time of any HCW at the bedside of acutely ill patients. This has been particularly true during the COVID-19 pandemic, where the clinical nature of these patients requires close monitoring. Every patient is different, and none of this is in place of clinical expertise at the bedside, or institutional policies.

- Encourage patients to Prone, Turn, Cough, and Deep Breath. Use incentive spirometers if they are available. Chest physiotherapy may also be helpful, particularly for those with secretions.

Although respiratory care recommendations for COVID-19 patients vary widely, observational reports support basic respiratory care for these patients.13 These techniques can reduce the likelihood of increasing oxygen needs. Patients can be educated to do most of these techniques independently, as tolerated, which is especially useful in settings. Patients with paroxysmal coughing with intermittent desaturation limited frequency, and duration at times, but did not preclude these techniques all together.

- For patients with high oxygen requirements, give bed baths, use bedside commodes and promote in-bed PT when the patient is not able to tolerate ambulation. Balancing movement and oxygen demands in COVID-19 patients can be difficult as these patients routinely desaturate to 80% range, and sometimes lower with movement. In pts. with high oxygen demands, decreasing activity events like walking to the bathroom or shower can be helpful until they can be weaned to lower oxygen flow rates. It is particularly important to have these patients turn, prone, and perform in –bed physical therapy exercises.

- Patient education is KEY in COVID-19.

Demonstrating breathing techniques such as pursed lip breathing, inhaling through the nose/open mouth exhale to these patients can help to decrease anxiety and potentially increase oxygenation.